## Constraint Changes
NEM Constraint Library Changes Report for the week 3 March 2025 to 9 March 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-03-07 |  | N>NIL_9R5_9R6, N>NIL_9R6_9R5 | Modified | NSW Generation | ​NSW - system normal - Increased operating margin to 15 for 9R5/9R6 constraints | Constraint Equation
2025-03-07 | T-X_PMTX_PMWA | T::T_PMTX_1, T::T_PMTX_2, T::T_PMWA_110_1, T::T_PMWA_110_2, T^T_PMWA_1, T^T_PMWA_2, T^T_PMWA_4, T^T_PMWA_5, T^T_PMWA_6, T^T_PMWA_7, T>T_PMWA_110_1, T>T_PMWA_110_10, T>T_PMWA_110_6, T>T_PMWA_110_6_1, T>T_PMWA_110_7, T>T_PMWA_110_8, T>T_X_PMTX_PMWA_1, T>T_X_PMTX_PMWA_2, T>T_X_PMTX_PMWA_3, T>T_X_PMTX_PMWA_4 | New Set(s), New Constraint(s) | Tasmanian Generation | ​TAS - New set for multiple outage - Palmerston Tx plus Palmerston - Waddamana 110 kV line | Constraint Equation
2025-03-07 | N-ARDM_8C,N-ARSR_8E,N-ARTW_86,N-ARUL_8U,N-DMSR_8J,N-DPYC-99D-A, N-DPYC-99D-B, N-DPYC-99D-C,N-LDMU_83,N-LDTW_84,N-MUTW_88,N-TWUL_85,N-X_83+84, N-X_8C+8E | N_AVLSF1_124 N_COLEASF1_50 N_COLEASF1_96 N_DPNTB1_GE_11 N_DPNTB1_GE_18 N_DPNTB1_LE_11 N_DPNTB1_LE_18 N_FINLYSF1_108 N_FINLYSF1_66 N_FINLYSF1_96 N_GNNDHSF1_037 N_GNNDHSF1_061 N_GNNDHSF1_077 N_GNNDHSF1_100 N_METZSF_064 N_METZSF_106 N_METZSF_38 N_METZSF_43 N_METZSF_72 N_METZSF_81 N_MOREESF1_020 N_MOREESF1_021 N_MOREESF1_031 N_MOREESF1_035 N_MOREESF1_040 N_MOREESF1_055 N_NEWENSF1+2_139 N_NEWENSF1+2_153 N_NEWENSF1+2_222 N_NEWENSF1+2_279 N_NEWENSF1+2_361 N_RESS1_GE_28 N_RESS1_GE_43 N_RESS1_LE_28 N_RESS1_LE_43 N_RIVNB2_GE_30 N_RIVNB2_GE_47 N_RIVNB2_LE_30 N_RIVNB2_LE_47 N_SAPHWF1_090 N_SAPHWF1_101 N_SAPHWF1_169 N_SAPHWF1_187 N_WRWSF_060 N_WRWSF_066 N_WRWSF_095 N_WRWSF_110 N_WRWSF_121 N_WRWSF_163 | Constraint(s) removed | NSW Generation | ​NSW - removal of MW limits on IBRs for outages | Constraint Equation
2025-03-06 |  | V::S_HYSE_MAXG, V::S_NIL_MAXG_1, V::S_NIL_TBSE_1, V::S_TBCB94_35_SETB, V^^S_HYSE_MAXG, V^^S_NIL_MAXG_1, V^^S_NIL_TBSE_1, V^^S_TBCB94_35_SETB | Modified | SA Generation + Interconnectors | ​SA - Add S_SOUTHEAST term back to PD and ST | Constraint Equation
2025-03-06 |  | V::S_TBCP1_MAXG, V::S_TBCP1_SETB, V^^S_TBCP1_MAXG, V^^S_TBCP1_SETB | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-06 |  | S_TIB_A_NOGEN | Modified | SA Generation | ​SA - Update Torrens Island BESS MSL constraint | Constraint Equation
2025-03-06 |  | S>>HUBG_BGDV_WTWE, S>>HUBG_BLDV_WEWT, S>>HUBG_BLDV_WTTP, S>>HUBG_BWMP_WEWT, S>>HUBG_LKDV_WEWT, S>>HUBG_LKDV_WTTP, S>>HUBG_RBTU_WEWT, S>>HUBG_RBTU_WTTP | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-06 |  | S>>WEWT_RBTU_RBTU, S>>WEWT_RBTU_WTTP | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-06 | Q-X_NESTM+WRVC | Q_STR_7C0K_CLRSF10_I, Q_STR_7C0K_CLRSF_10, Q_STR_7C0K_COLSF10_I, Q_STR_7C0K_COLSF_10, Q_STR_7C0K_DAYSF10_I, Q_STR_7C0K_DAYSF_10, Q_STR_7C0K_HAMSF10_I, Q_STR_7C0K_HAMSF_10, Q_STR_7C0K_HASF_4, Q_STR_7C0K_HASF_4_I, Q_STR_7C0K_HAYSF10_I, Q_STR_7C0K_HAYSF_10, Q_STR_7C0K_KBWF_14, Q_STR_7C0K_KBWF_14_I, Q_STR_7C0K_KEP_10, Q_STR_7C0K_KEP_10_I, Q_STR_7C0K_KIDSF10_I, Q_STR_7C0K_KIDSF_10, Q_STR_7C0K_MEWF_14, Q_STR_7C0K_MEWF_14_I, Q_STR_7C0K_RRSF_10, Q_STR_7C0K_RRSF_10_I, Q_STR_7C0K_RUGSF10_I, Q_STR_7C0K_RUGSF_10, Q_STR_7C0K_SMSF_10, Q_STR_7C0K_SMSF_10_I, Q_STR_7C0K_WHTSF10_I, Q_STR_7C0K_WHTSF_10 | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Created new set for Woree SVC+ feeder 822 | Constraint Equation
2025-03-06 | Q-ALDSF1_ZERO, Q-STR_ALDSF_ZERO, Q-WAMBOWF1_ZERO | Q_ALDSF1_ZERO, Q_STR_ALDSF_I, Q_STR_ALDSF_ZERO, Q_WAMBOWF1_ZERO | New & Modified | Qld Generation | ​QLD - Created new set for 0MW constraint for Aldoga and Wambo and 0MW/inverter system strength constraint for Aldoga | Constraint Equation
2025-03-06 |  | X-CHK_MVAR_ALDSF | New & Modified | Qld Generation | ​QLD - Created new set for 0MW constraint for Aldoga and Wambo and 0MW/inverter system strength constraint for Aldoga | Constraint Function
2025-03-06 | N-BWMP_5A3, N-BWMP_ONE | N::Q_BWMP_KC, N::Q_BWMP_LDMU, N::Q_BWMP_LDTW, N::Q_BWMP_TNT, N>>BWMP_23_22, N>>BWMP_81_31, N>>BWMP_81_82, N>>BWMP_82_81, N_BERYLSF1_36INV, N_BODWF1_20WT, N_CRWF1_22WT, N_GOONSF1_19INV, N_MANSLR1_12INV, N_MOLNGSF1_13INV, N_NYNGANSF_91INV, N_PARSF1_13INV, N_STR_BERYLSF1_36_I, N_STR_BODWF1_20_I, N_STR_CRWF1_22_I, N_STR_GOONSF1_19_I, N_STR_MANSLR1_12_I, N_STR_MOLNGSF1_13_I, N_STR_NYNGANSF_91_I, N_STR_PARSF1_13_I, N_STR_STUBSF_0_I, N_STR_SUNTPSF1_66_I, N_STR_WELLNSF1_62_I, N_STR_WELLSF1_79_I, N_STR_WOLARSF1_0_I, N_STUBSF_0INV, N_SUNTPSF1_66INV, N_WELLNSF1_62INV, N_WELLSF1_79INV, N_WOLARSF1_0INV | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - Added IBR limits 5A4/5A5 outage; new single outage set for 5A3 Line | Constraint Equation
2025-03-06 |  | S>>BGCB6537_38_39_1, S>>BGCB6537_38_39_3, S>>BGCB6537_38_39_4, S>BGCB6537_38_39_2, S>BGCB6537_38_39_5 | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-06 |  | S::V_SEVC1_TBSE, V::S_SEVC1_MAXG, V::S_SEVC1_SETB, V^^S_SEVC1_MAXG, V^^S_SEVC1_SETB | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-06 |  | S>>BWMP_BRTW_WEMWP4, S>>BWMP_BRTW_WTTP, S>>BWMP_CNRB_TWPA, S>>BWMP_CNRB_WEMWP4, S>>BWMP_MKRB_BRTW, S>>BWMP_MKRB_WEMWP4, S>>BWMP_NIL_WEMWP4, S>>BWMP_NIL_WTTP, S>>BWMP_RBTU_BRTW, S>>BWMP_RBTU_RBTU, S>>BWMP_RBTU_TWPA, S>>BWMP_RBTU_WTTP, S>>BWMP_TPDR_TPRS, S>>BWMP_TPRS_TWPA, S>>BWMP_TPRS_WEMWP4, S>>BWMP_TWPA_TPRS, S>>BWMP_TWPA_WEMWP4, S>>BWMP_WTTP_WTWE | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-06 |  | S>>PA6509_BWPA_RBTU, S>>PA6509_BWPA_TWPA, S>>PA6509_BWPA_WTTP | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-06 |  | S::V_PAVC1_TBSE, S:VS_PASVC_570OSC_AT, S:VS_PA_SVC_620, S:V_PASVC_420OSC_AT, S:V_PA_SVC_470, SV_470_DYN, V::S_PAVC1_MAXG, V::S_PAVC1_SETB, V:SS_PA_SVC_920, V:S_PA_SVC_700, V^^S_PAVC1_MAXG, V^^S_PAVC1_SETB | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outages | Constraint Equation
2025-03-05 | Q-TR_1500, Q-TR_1600, Q-TR_1700, Q-TR_1800, Q-TR_1900 | Q_TR_1500, Q_TR_1600, Q_TR_1700, Q_TR_1800, Q_TR_1900 | New & Modified | Tarong Limit | ​QLD - added tarong cutset Discretionary limit sets for 1500,1600,1700,1800 and 1900 | Constraint Equation
2025-03-05 | N-DPWG_63, N-DPWG_63_X5 | N::V_DPWG_BWSW, N::V_DPWG_MSDD, N::V_DPWG_UTMS, N:V_DPWG_BWRG, N:V_DPWG_BYYS, N>>V-DPWG_C, N>>V-DPWG_D, N^^V_DPWG_1, N_AVLSF1_124, N_AVLSF1_36INV, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_LIMOSF21_0INV, N_LIMOSF21_ZERO, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_36_I, N_STR_BHBESS_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, SVML_FLT_130, V>>N-DPWG_A, V>>N-DPWG_B, V>>N-DPWG_J, V>>N-DPWG_K, V>>V-DPWG_01X, V>>V-DPWG_01X_SIPS, V>>V-DPWG_02X, V>>V-DPWG_02X_SIPS, V^^N_DPWG_1, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25, N>>V-DPWG_X5_C, N>>V-DPWG_X5_D, N^^V_DPWG_X5_1, N_AVLSF1_143, N_AVLSF1_42INV, N_STR_AVLSF1_42_I, V>>N-DPWG_X5_A, V>>N-DPWG_X5_B, V>>N-DPWG_X5_J, V>>N-DPWG_X5_K, V>>V-DPWG_X5_01X, V>>V-DPWG_X5_01X_SIP, V>>V-DPWG_X5_02X, V>>V-DPWG_X5_02X_SIP, V>>X5_BABE_SHBE, V>>X5_BEKG_CWBUHO, V>>X5_BUHO_BEKG, V>>X5_KGWE_CWBUHO, V>>X5_MSDD1_MSDD2, V>>X5_MSDD1_MSDD2_S, V>>X5_MSDD2_MSDD1, V>>X5_MSDD2_MSDD1_S, V>>X5_SHBE_NIL, V>>X5_WBBA_KGBE, V>>X5_WERC_CWBUHO, V^SML_BUDP_3, V^^N_DPWG_X5_1 | Modified | NSW Generation | NSW-updated 63 line outage sets to include inverter and MW limits as per advice in OM521 dated 27/2/2025 | Constraint Equation
2025-03-05 |  | V>>KTSM_SMSY_SMSY_R2, V>>KTSM_SMSY_SMSY_R5 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraint to consider PEC1 and Koorangie BESS for upcoming outage of KTSM 500kV line | Constraint Equation
2025-03-04 |  | V_V_HGTR_1, V_V_HGTR_2 | Modified | Vic - SA (Heywood) Interconnector | ​VIC - Updated voltage unbalance constraints to exclude 6F flow | Constraint Equation
2025-03-04 | N-CTMN_4_WG_CLOSE | N^^V_CTMN_1, V^^N_CTMN_1 | New & Modified | NSW Generation + Interconnectors | ​NSW/VIC - update VNI stability limit offsets for 4 Line outage | Constraint Equation
2025-03-03 |  | X_CS_FLOOR, X_CS_FLOW_ERROR, X_CS_STATUS_PD, X_CS_STATUS_ST, XQ^^NIL_TR_CLHA_DS, XQ^^NIL_TR_CLHA_PD, XQ^^NIL_TR_CLHA_ST, XQ^^NIL_TR_TRBK_DS, XQ^^NIL_TR_TRBK_PD, XQ^^NIL_TR_TRBK_ST | Modified | Qld Generation + Interconnectors | ​QLD - Added Aldoga SF and Wambo WF to equations and functions | Constraint Function
2025-03-03 |  | Q:NIL_CS, Q^^CS_-200, Q^^CS_-240, Q^^CS_-280, Q^^CS_-320, Q^^CS_-360, Q^^CS_-400, Q^^CS_-440, Q^^CS_-480, Q^^CS_-520, Q^^CS_-560, Q^^CS_-600, Q^^NIL_CS, Q^^NIL_TR_CLHA, Q^^NIL_TR_TRBK, Q^^TR_CLHA_-050, Q^^TR_CLHA_-100, Q^^TR_CLHA_-150, Q^^TR_CLHA_-200, Q^^TR_CLHA_-250, Q^^TR_CLHA_-300, Q^^TR_CLHA_-350, Q^^TR_CLHA_-400, Q^^TR_CLHA_-450, Q^^TR_CLHA_-500, Q^^TR_CLHA_-550, Q^^TR_CLHA_-570, Q^^TR_CLHA_-600, Q^^TR_TRBK_-050, Q^^TR_TRBK_-100, Q^^TR_TRBK_-150, Q^^TR_TRBK_-200, Q^^TR_TRBK_-250, Q^^TR_TRBK_-300, Q^^TR_TRBK_-350, Q^^TR_TRBK_-400, Q^^TR_TRBK_-450, Q^^TR_TRBK_-500, Q^^TR_TRBK_-550, Q^^TR_TRBK_-580, Q^^TR_TRBK_-600, Q^^TR_TRBK_-650, Q^^TR_TRBK_-700, Q^^TR_TRBK_-750, Q^WOPW_CS_WOSP_O, Q_CS_0200, Q_CS_0300, Q_CS_0400, Q_CS_0500, Q_CS_0600, Q_CS_0700, Q_CS_0800, Q_CS_0900, Q_CS_1000, Q_CS_1050, Q_CS_1100, Q_CS_1150, Q_CS_1200, Q_CS_1225, Q_CS_1250, Q_CS_1275, Q_CS_1300, Q_CS_1325, Q_CS_1350, Q_CS_1375, Q_CS_1400, Q_CS_1425, Q_CS_1450, Q_CS_1475, Q_CS_1500, Q_CS_1525, Q_CS_1550, Q_CS_1575, Q_CS_1600, Q_CS_1650, Q_CS_1700, Q_CS_1750, Q_CS_1800, Q_CS_1850, Q_CS_1900, Q_CS_1950, Q_CS_2000, Q_TR_2000, Q_TR_2100, Q_TR_2200, Q_TR_2300, Q_TR_2400, Q_TR_2500, Q_TR_2600, Q_TR_2700, Q_TR_2800, Q_TR_2900, Q_TR_3000, Q_TR_3100, Q_TR_3200, Q_TR_3250, Q_TR_3300, Q_TR_3350, Q_TR_3400, Q_TR_3450, Q_TR_3500, Q_TR_3550, Q_TR_3600, Q_TR_3650, Q_TR_3700, Q_TR_3750, Q_TR_3800, Q_TR_3850, Q_TR_3900, Q_TR_3950, Q_TR_4000, Q_TR_4050, Q_TR_4100, Q_TR_4150, Q_TR_4200, Q_TR_4250, Q_TR_4300, Q_TR_4350, Q_TR_4400, Q_TR_4450, Q_TR_4500, Q_TR_4550, Q_TR_4600, Q_TR_4650, Q_TR_4700, Q_TR_4750, Q_TR_4800, Q>>MESP_BKSP_TRSP, Q>>MITUM_TRMR_MITUM, Q>>MITUM+TRMR_805_1, Q>>NIL_BCCP_BCRG, Q>>NIL_BCCP_RGLC, Q>>NIL_BCRG_CLWU, Q>>NIL_CLWU_BCCP, Q>>NIL_WOSP_PWSP, Q>>NIL_WOSP_WOPW, Q>>PWSP_WOSP_PWSP, Q>>TRSP_BKSP_MESP, Q>>TUMMR_TRMR_TUMMR, Q>>TUMMR+TRMR_805_1, Q>>WOPW_WOSP_WOGP_1, Q>>WOPW_WOSP_WOGP_2, Q>>WOSP_WOPW_WOGP_1, Q>>WOSP_WOPW_WOGP_2, Q>CPSP_WOSP_PWSP, Q>CYPW_CYPW_WOPW, Q>MRCB_MRTX_MRTX, Q>NIL_MRTX_MRTX_N-2, Q>WOCY_WOGP_WOPW | Modified | Qld Generation + Interconnectors | ​QLD - Added Aldoga SF and Wambo WF to equations and functions | Constraint Equation
2025-03-03 |  | V_VS_LB_CAN_50, V_VS_LB_HY_250 | Modified | Vic - SA (Heywood) Interconnector | ​VIC - Updated constraint description only to reflect Heywood + 6F being V-SA | Constraint Equation
2025-03-03 |  | N>>NIL_BU_PST_ML_E, N>>NIL_BU_PST_ML_W | Modified | NSW Generation + Interconnectors | NSW - updated system normal Buronga PST / Murraylink trip constraints | Constraint Equation
2025-03-03 |  | V>>N_NIL_65_051, V>>N_NIL_66_051 | Modified | NSW Generation + Interconnectors | ​NSW - Updated for revised PEC-1 impedances and Wagga-Yass scheme becoming bi-directional | Constraint Equation
2025-03-03 | I-HYSE, I-HYSE_BC-2CP, I-HYSE_N-2, I-VS_250, I-VS_460, V-CRHG, V-CRML1, V-CRML2, V-CRMO, V-HGTR, V-HYMO, V-HYTR, V-HY_500BUS, V-MLSY_N-2, V-X_CR_HG_TR, V-X_HYCB_210_211, V-X_HYCB_212_213, V-X_HYTX_TWO, V-X_HY_MO_CR, V-X_MLSY, V-X_ML_BUSTIE_500 | VS_250, VS_250_DYN, VS_V-SA_250, VS_V-SA_250_DYN | New & Modified | Vic - SA (Heywood) Interconnector | ​VIC - Updated constraint ID/description for the V-SA 250 MW limit | Constraint Equation
2025-03-03 |  | V>>KMCB_BABE_KMRC, V>>KMCB_BABE_KMRC_1 | Modified | Victorian Generation + Interconnectors | ​VIC - updated constraints for PEC1 and Koorangie BESS for upcoming outage | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines