## Constraint Changes
NEM Constraint Library Changes Report for the week 17 March 2025 to 23 March 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-03-21 | V-MRKM | N_BROKENHSF_FLT_30, V::N_HORC_S1, V::N_HORC_S2, V::N_HORC_SD, V::N_HORC_V1, V::N_HORC_V2, V>>HOKM_BEKG_X3, V>>HOKM_KGWE_X3, V>>HOKM_WERC_X3, V>>HOKM_X3_BEKG, V>>HOMR_DPTX_KGBE, V>>HOMR_X5DP_KGBE, V^SML_HORC_2, V^SML_HORC_3, V_BANNERTSF_FLT_45, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GANWRSF_0INV, V_GANWRSF_FLT_0, V_KARADSF_FLT_45, V_KIAMSF_FLT_40, V_KIATA_ISL_0, V_MURRAWRWF_FLT_15, V_STR_GANWRSF_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_40 | Modified | Victorian Generation | ​VIC - Updated constraint set for Kiamal - Murra Warra outage to remove Kiamal islanding limit as it is not required. | Constraint Equation
2025-03-21 | N-WGWA_63, N-WGWA_63_X5 | N::V_JNWG, N>>6Y_07_1_RADIAL, N>>6Y_07_3_RADIAL, N>>6Y_1_07_RADIAL, N>>6Y_1_6X_RADIAL, N>>6Y_9_2_RADIAL, N>>6Y_9_3_RADIAL, N>>V-6Y_65_07_RADIAL, N>>V-6Y_65_3_RADIAL, N>>V-6Y_65_64_RADIAL, N>>V-6Y_65_6X_RADIAL, N>>V_6Y_65_66, N^^V_BADP_1, N^^V_JNWG_63_X5_1, N_AVLSF1_0INV, N_AVLSF1_ZERO, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BOMENSF1_0INV, N_BOMENSF1_ZERO, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_LIMOSF21_0INV, N_LIMOSF21_ZERO, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_0_I, N_STR_BHBESS_0_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_WAGGNSF1_0INV, N_WAGGNSF1_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, SVML_FLT_125, V::N_JNWG_S1, V::N_JNWG_S2, V::N_JNWG_SD, V::N_JNWG_V1, V::N_JNWG_V2, V>>6Y_67_68_N, V>>6Y_67_68_S, V>>N_6Y_65_66, V>>N_6Y_66_65, V>>V-JNWG_RADIAL_1AS, V>>X5_BABE_SHBE, V>>X5_BEKG_CWBUHO, V>>X5_BUHO_BEKG, V>>X5_KGWE_CWBUHO, V>>X5_SHBE_NIL, V>>X5_WBBA_KGBE, V>>X5_WERC_CWBUHO, V^SML_BUDP_3, V^^N_BADP_1, V^^N_JNWG_1, V_ARARATWF_FLT_0, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_CWWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25, N>>V_6Y+X5_65_66, V>>6Y+X5_67_68_N, V>>6Y+X5_67_68_S, V>>N_6Y+X5_65_66, V>>N_6Y+X5_66_65 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | NSW - Modified set IDs for clarity now there is a X5 in service set for 6Y outage. Added new thermal equations to outage of 6Y line when X5 is in service and archived N-WGWA_RADIAL set. | Constraint Equation
2025-03-21 | N-WGWA_RADIAL |  | Marked for Archival | NSW Generation + Interconnectors | NSW - Modified set IDs for clarity now there is a X5 in service set for 6Y outage. Added new thermal equations to outage of 6Y line when X5 is in service and archived N-WGWA_RADIAL set. | Constraint Equation
2025-03-21 |  | N>>V-BUDP_1S, N>>V-BUDP_2S, V>>N-BUDP_1N, V>>N-BUDP_2N | Marked for Archival | NSW Generation + Interconnectors | NSW - changed constraint equation IDs to match with current naming guidelines for NSW | Constraint Equation
2025-03-21 | N-BABU, N-BADP | N>>V_X3_65_66, N>>V_X3_66_65, N>>V_X5_65_66, N>>V_X5_66_65, V>>N_X3_65_66, V>>N_X3_66_65, V>>N_X5_65_66, V>>N_X5_66_65 | Modified | NSW Generation + Interconnectors | NSW - X5 / X3 outage - update thermals for 65/66; changed constraint equation IDs to match with current naming guidelines for NSW | Constraint Equation
2025-03-21 |  | S>>CNLK_BLDV_RBMWP4, S>>CNLK_BLDV_WEWT, S>>CNLK_BWMP_MKRB, S>>CNLK_BWMP_TWPA, S>>CNLK_BWMP_WEMWP4, S>>CNLK_BWMP_WTTP, S>>CNLK_MKRB_WEMWP4, S>>CNLK_NIL_WEMWP4, S>>CNLK_NIL_WTTP, S>>CNLK_RBTU_WEWT | Modified | SA Generation + Interconnectors | SA - Updated with PEC-1 in service for upcoming outage | Constraint Equation
2025-03-21 |  | S>>CNRB_BRTW_WTTP, S>>CNRB_BWMP_BRTW, S>>CNRB_BWPA_TWPA, S>>CNRB_BWPA_WEMWP4, S>>CNRB_BWPA_WTTP, S>>CNRB_DVBR_WTTP, S>>CNRB_MKRB_WEMWP4, S>>CNRB_MKRB_WTWE, S>>CNRB_NIL_WEMWP4, S>>CNRB_NIL_WTTP, S>>CNRB_RBTU_WTTP | Modified | SA Generation + Interconnectors | SA - Updated with PEC-1 in service for upcoming outage | Constraint Equation
2025-03-21 | N-WGWA_63 | N>>6Y_07_1_RADIAL, N>>6Y_07_3_RADIAL, N>>6Y_1_07_RADIAL, N>>6Y_1_6X, N>>6Y_9_2_RADIAL, N>>6Y_9_3_RADIAL, N>>V_6Y_65_07, N>>V_6Y_65_3, N>>V_6Y_65_64, N>>V_6Y_65_6X, N^^V_WGWA_63_1, V>>6Y_67_68_N, V>>6Y_67_68_S, V>>6Y_67_68_S_SIPS, V>>N_6Y_65_66, V>>N_6Y_66_65, V^^N_WGWA_63_1 | New & Modified | NSW Generation + Interconnectors | ​NSW-Removed X5 OS equations, Added new thermal equations, Modified description and rating calculation in 6Y outage set (N-WGWA_63) | Constraint Equation
2025-03-20 | V-HOMR, V-HO_MR_KM | N_BROKENHSF_FLT_30, V::N_HORC_S1, V::N_HORC_S2, V::N_HORC_SD, V::N_HORC_V1, V::N_HORC_V2, V>>HOMR_BEKG_X3, V>>HOMR_DPTX_KGBE, V>>HOMR_KGWE_X3, V>>HOMR_WERC_X3, V>>HOMR_X3_BEKG, V>>HOMR_X5DP_KGBE, V^SML_HOMR_2, V^SML_HOMR_3, V_BANNERTSF_FLT_45, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GANWRSF_0INV, V_GANWRSF_FLT_0, V_KARADSF_FLT_45, V_KIAMSF_FLT_40, V_KIATA_ISL_0, V_MURRAWRWF_FLT_15, V_STR_GANWRSF_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_40, V>>HOKM_BEKG_X3, V>>HOKM_KGWE_X3, V>>HOKM_WERC_X3, V>>HOKM_X3_BEKG, V^SML_HORC_2, V^SML_HORC_3, V_MURRAWR2_ZERO, V_MURRAWR_ZERO | Modified | Victorian Generation | ​VIC - Updated HOTS-MRTS-KMTS constraint set to remove islanding limits for Kiamal SF | Constraint Equation
2025-03-20 |  | S>>DVBG_BRTW_WEMWP4, S>>DVBG_BRTW_WTTP, S>>DVBG_NIL_WEMWP4, S>>DVBG_RBTU_RBTU, S>>DVBG_RBTU_TWPA, S>>DVBG_RBTU_WEWT, S>>DVBG_RBTU_WTTP | Modified | SA Generation + Interconnectors | SA - Updated with PEC-1 in service for upcoming outage | Constraint Equation
2025-03-20 | N-GFYC-99J-A, N-GFYC-99J-B, N-GFYC-99J-C | N_COLMBSF_60_INV, N_DPESS_G_10INV, N_DPESS_L_10INV, N_FINLEYSF_74INV, N_HILLSTSF1_0INV, N_RESS1_G_35INV, N_RESS1_L_35INV, N_RESS2_G_38INV, N_RESS2_L_38INV, N_STR_COLSF_60_I, N_STR_DPESS_10_I, N_STR_FINLEYSF_74_I, N_STR_HILLSTSF1_0_I, N_STR_RESS1_35_I, N_STR_RESS2_38_I, N_AVLSF1_36INV, N_COLMBSF_30_INV, N_DPESS_G_5INV, N_DPESS_L_5INV, N_FINLEYSF_49_INV, N_RESS1_G_16INV, N_RESS1_L_16INV, N_RESS2_G_18INV, N_RESS2_L_18INV, N_STR_AVLSF1_36_I, N_STR_COLSF_30_I, N_STR_DPESS_5_I, N_STR_FINLYSF1_49_I, N_STR_RESS1_16_I, N_STR_RESS2_18_I, N>>99J_99D_63, N_FINLEYSF_81INV, N_STR_FINLEYSF_81_I | Modified | NSW Generation | ​NSW-Removed MW limits on IBRs for 99J outage. Created Walla Walla SF Transfer Trip Scheme O/S constraint. | Constraint Equation
2025-03-20 | N-WLSF_TTS | N_STR_WLWLSF1_0_I, N_STR_WLWLSF2_0_I, N_WLWLSF1_0INV, N_WLWLSF1_ZERO, N_WLWLSF2_0INV, N_WLWLSF2_ZERO | Modified | NSW Generation | ​NSW-Removed MW limits on IBRs for 99J outage. Created Walla Walla SF Transfer Trip Scheme O/S constraint. | Constraint Equation
2025-03-20 | S-X_CNLK_CNRB | S>>CNLK_BLDV_RBMWP4, S>>CNLK_BLDV_WEWT, S>>CNLK_RBTU_WEWT, S>>CNRB_BRTW_BWMP, S>>CNRB_BRTW_WEMWP4, S>>CNRB_BRTW_WTTP, S>>CNRB_BWMP_BRTW, S>>CNRB_BWPA_BGTX, S>>CNRB_BWPA_HUWT, S>>CNRB_BWPA_MKRB, S>>CNRB_BWPA_RHBR-T, S>>CNRB_BWPA_TWPA, S>>CNRB_BWPA_WEMWP4, S>>CNRB_BWPA_WTTP, S>>CNRB_DVBR_MKRB, S>>CNRB_DVBR_WTTP, S>>CNRB_MKRB_BRTW, S>>CNRB_MKRB_BWMP, S>>CNRB_MKRB_DVBR, S>>CNRB_MKRB_TWPA, S>>CNRB_MKRB_WEMWP4, S>>CNRB_MKRB_WTWE, S>>CNRB_NIL_WEMWP4, S>>CNRB_NIL_WTTP, S>>CNRB_RBTU_WTTP, S>>CNRB_TWPA_TPRS, S>>CNRB_TWPA_WEMWP4, S>>CNRB_WTTP_WEMWP4, S^CNRB_SA_NORTH, S_CNHL_HAL, S_DVRB2_270, S_HALWF_0, S_OUT_STRENGTH_2000, V::S_DVRB2_MG-CP_1, V::S_DVRB2_MG_1, V::S_DVRB2_MG_2-DS, V::S_DVRB2_MG_CP_2, V^^S_DVRB2_MG-CP_1, V^^S_DVRB2_MG_1, V^^S_DVRB2_MG_2-DS, V^^S_DVRB2_MG_CP_2 | New Set(s), New Constraint(s) | SA Generation + Interconnectors | ​SA - Created new set for multiple outage Canowie-Mt Lock 275kV line + Canowie-Robertstown 275kV line | Constraint Equation
2025-03-19 | Q-X_WR_VC+CB4122 | Q^FNQ_8905_-170 | New Set(s), New Constraint(s) | Far North Qld Limit | ​QLD - Create new set for Woree SVC+ Woree CB4122 outage | Constraint Equation
2025-03-19 | Q-X_WR_VC+WR_TX | Q^FNQ_8905_-170 | New Set(s), New Constraint(s) | Far North Qld Limit | ​QLD - Create new set for Woree SVC+ Woree CB4122 outage | Constraint Equation
2025-03-19 | N_966+KK+CH892A+964 | N>966+KK_966/1_NIL, N>966_964_965_87_BYP, N>966_964_965_87_PST, N>966_964_96C_87, N>966_964_96C_87_S | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW- Created new set for upcoming outage of 966+964. Also, Removed MW limits on IBRs for 99J outage. | Constraint Equation
2025-03-19 | N-X_WOMP_BYMP | N::Q_BWMP_KC, N::Q_BWMP_LDMU, N::Q_BWMP_LDTW, N::Q_BWMP_TNT, N>>BYMP_998_5A7, N>>WOMP_BYMP_11_17, N>>WOMP_BYMP_17_11, N>>WOMP_BYMP_23_22, N>>WOMP_BYMP_39_11, N>>WOMP_BYMP_81_31, N>>WOMP_BYMP_81_82, N>>WOMP_BYMP_82_81, N_BERYLSF1_36INV, N_BODWF1_20WT, N_CRWF1_22WT, N_GOONSF1_19INV, N_MANSLR1_12INV, N_MOLNGSF1_13INV, N_NYNGANSF_91INV, N_PARSF1_13INV, N_STR_BERYLSF1_36_I, N_STR_BODWF1_20_I, N_STR_CRWF1_22_I, N_STR_GOONSF1_19_I, N_STR_MANSLR1_12_I, N_STR_MOLNGSF1_13_I, N_STR_NYNGANSF_91_I, N_STR_PARSF1_13_I, N_STR_STUBSF_0_I, N_STR_SUNTPSF1_66_I, N_STR_WELLNSF1_62_I, N_STR_WELLSF1_79_I, N_STR_WOLARSF1_0_I, N_STUBSF_0INV, N_SUNTPSF1_66INV, N_WELLNSF1_62INV, N_WELLSF1_79INV, N_WOLARSF1_0INV | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW-Created new set for 5A5+5A6 outage | Constraint Equation
2025-03-18 | N-BYMP_ONE | N>>BYMP_998_5A7 | New & Modified | NSW Generation + Interconnectors | ​NSW-Added monitor 998 equation to 5A6 outage set | Constraint Equation
2025-03-17 |  | Q>>BCCP_CLWU_LCCP, Q>>CLWU_BCCP_LCCP, Q>>NIL_BCCP_LCCP, Q>>NIL_CLWU_BCRG, Q>>NIL_CLWU_LCCP, Q>>NIL_CLWU_RGLC, Q>>NIL_LCCP_BCCP, Q>HACL2_CLWU_LCCP, Q>NIL_BCST_BCST | Modified | Qld Generation + Interconnectors | ​QLD - Updated constraints with Aldoga SF | Constraint Equation
2025-03-17 |  | S>>HUWT_BWPA_BRTW, S>>HUWT_BWPA_TWPA, S>>HUWT_RBTU_WEWT | Modified | SA Generation + Interconnectors | ​SA - Updated with PEC-1 in service for upcoming outage | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines