## Constraint Changes
NEM Constraint Library Changes Report for the week 31 March 2025 to 6 April 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-04-04 | N-X_23+KCTX | N>>23+KCTX_22_25, N>>23+KCTX_KCTX_22, N>>23+KCTX_KCTX_25, N>>23+KCTX_KCTX_NIL, N>>KCTX_ERTX_KCTX | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - New multiple outage set 23 Line + Kemps Creek 500/330kV txfmr | Constraint Equation
2025-04-04 | Q-COLTX | Q>COLTX | Modified | Qld Generation | ​QLD - Update constraint description for Collinsville North txfmr outage | Constraint Equation
2025-04-03 | N-SUNTPSF1_ZERO | N_SUNTPSF1_ZERO | Modified | NSW Generation | ​NSW - update constraint set description | Constraint Equation
2025-04-01 |  | V_VBB_A_NOGEN, V_VBB_A_NOGEN_SIPS, V_VBB_DISCHARGE, V_VBB_DISCHARGE_SIPS | Modified | Victorian Generation | ​VIC - Update MSL constraints for VIC Big Battery for end of SIPS period | Constraint Equation
2025-04-01 |  | X_AR_LS_LDRELIEF_PD, X_AR_LS_TE_LOAD_PD, X_TAM_LDRELIEF_PD, X_TAM_LOAD_PD | Modified | FCAS Requirements | ​NSW - Updated PD area load calcs used for QNI FCAS constraints | Constraint Function
2025-03-31 |  | V^^V_NIL_KGTS | Modified | Victorian Generation + Interconnectors | ​VIC - Updated Kerang limit to consider impact from Koorangie BESS commissioning | Constraint Equation
2025-03-31 | V-DDMS | N>>V-DDMS_67_051+YS, N>>V_DDMS_051_67, N>>V_DDMS_051_67_N | New & Modified | NSW Generation + Interconnectors | ​NSW - Dederang to Murray outage - add thermal for 051 overload for flow north. PD/ST improvements | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines