## Constraint Changes
NEM Constraint Library Changes Report for the week 14 April 2025 to 20 April 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-04-16 | T-WC_MF_GEN_GT_050, T-WC_MF_GEN_GT_100, T-WC_MF_GEN_GT_150, T-WC_MF_GEN_LT_050, T-WC_MF_GEN_LT_100, T-WC_MF_GEN_LT_150 | T_WC_MF_GEN_GT_050, T_WC_MF_GEN_GT_100, T_WC_MF_GEN_GT_150, T_WC_MF_GEN_LT_050, T_WC_MF_GEN_LT_100, T_WC_MF_GEN_LT_150 | New Set(s), New Constraint(s) | Tasmanian Generation | ​TAS - New discretionary constraints on Total West Coast and Mercey Forth Generations, including non-schedule units | Constraint Equation
2025-04-16 | S-X_HU_MNWT | S>>X_MW_HU_RBTU_TPRS, S>>X_MW_HU_RBTU_WTTP | Marked for Archival | SA Generation + Interconnectors | ​SA - Archive multiple set and equation no longer needed | Constraint Equation
2025-04-15 |  | V>>DDSM_BABE_SMDD, V>>DDSM_DDTX1_DDSM, V>>DDSM_DDTX2_DDSM, V>>DDSM_DDTX3_DDSM, V>>DDSM_EPTT_DDSM, V>>DDSM_SHBE_DDSM | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints for PEC1 and Koorangie BESS for the DDTS-SMTS line outage | Constraint Equation
2025-04-15 |  | S_BLYTH_A_NOGEN, S_BLYTH_B_NOGEN, S_BLYTH_CHARGE, S_BLYTH_DISCHARGE, S_BLYTH_NOCHARGE | New | SA Generation | ​SA - Add Blyth BESS MSL constraints | Constraint Equation
2025-04-15 | S-BESS_MSL_A, S-BESS_MSL_B | S_BLYTH_A_NOGEN, S_BLYTH_CHARGE, S_BLYTH_DISCHARGE, S_HPR_A_NOGEN, S_HPR_CHARGE, S_HPR_DISCHARGE, S_LKB_A_NOGEN, S_LKB_CHARGE, S_LKB_DISCHARGE, S_TB2_A_NOGEN, S_TB2_CHARGE, S_TB2_DISCHARGE, S_TIB_A_NOGEN, S_TIB_CHARGE, S_TIB_DISCHARGE, S_BLYTH_B_NOGEN, S_BLYTH_NOCHARGE, S_HPR_B_NOGEN, S_HPR_NOCHARGE, S_LKB_B_NOGEN, S_LKB_NOCHARGE, S_TB2_B_NOGEN, S_TB2_NOCHARGE, S_TIB_B_NOGEN, S_TIB_NOCHARGE | Modified | SA Generation | ​SA - Add Blyth BESS MSL constraints | Constraint Equation
2025-04-14 | F-S_BESS_RREG_100, F-S_BESS_RREG_35, F-S_BESS_RREG_40, F-S_BESS_RREG_50, F-S_BESS_RREG_60, F-S_BESS_RREG_70, F-S_BESS_RREG_80, F-S_BESS_RREG_90 | F_S+RREG_BESS_100, F_S+RREG_BESS_35, F_S+RREG_BESS_40, F_S+RREG_BESS_50, F_S+RREG_BESS_60, F_S+RREG_BESS_70, F_S+RREG_BESS_80, F_S+RREG_BESS_90 | New Set(s), New Constraint(s) | SA Generation | ​SA - Add 35 MW cap on Raise REG FCAS enablement for SA BESS for actual island conditions | Constraint Equation
2025-04-14 | SA_ESTN_APD20_ISLE, SA_ESTN_ISLE, SA_ESTN_LG_ISLE, SA_ESTN_MOPSAPD_ISLE, SA_ESTN_MOPS_ISLE, SA_ESTN_QLD-NSW_ISLE, SA_ESTN_TB_ISLE, SA_ESTN_VIC-NSW_ISLE | F_ESTN+GFT_TG_R5, F_ESTN+GFT_TG_R6, F_ESTN+GFT_TG_R60, F_ESTN+MG_R5, F_ESTN+MG_R6, F_ESTN+MG_R60, F_ESTN+ML_L5_0400, F_ESTN+ML_L60_0400, F_ESTN+ML_L6_0400, F_ESTN+TTS_TG_R5, F_ESTN+TTS_TG_R6, F_ESTN+TTS_TG_R60, F_QNV++GFT_TG_R5, F_QNV++GFT_TG_R6, F_QNV++GFT_TG_R60, F_QNV++MG_R5, F_QNV++MG_R6, F_QNV++MG_R60, F_QNV++ML_L5_0400, F_QNV++ML_L60_0400, F_QNV++ML_L6_0400, F_QNV++TTS_TG_R5, F_QNV++TTS_TG_R6, F_QNV++TTS_TG_R60, F_QNV+GFT_TG_R5, F_QNV+GFT_TG_R6, F_QNV+GFT_TG_R60, F_QNV+MG_R5, F_QNV+MG_R6, F_QNV+MG_R60, F_QNV+ML_L5_0400, F_QNV+ML_L60_0400, F_QNV+ML_L6_0400, F_QNV+TTS_TG_R5, F_QNV+TTS_TG_R6, F_QNV+TTS_TG_R60, F_S+BIPS_R1, F_S+BIPS_R5, F_S+BIPS_R6, F_S+BIPS_R60, F_S+BNG_TG_R1, F_S+BNG_TG_R5, F_S+BNG_TG_R6, F_S+BNG_TG_R60, F_S+HL_TG_R1, F_S+HL_TG_R5, F_S+HL_TG_R6, F_S+HL_TG_R60, F_S+HPG_R1, F_S+HPG_R5, F_S+HPG_R6, F_S+HPG_R60, F_S+HPL_L1, F_S+HPL_L5, F_S+HPL_L6, F_S+HPL_L60, F_S+LB_TG_R1, F_S+LB_TG_R5, F_S+LB_TG_R6, F_S+LB_TG_R60, F_S+ML_L1, F_S+ML_L5, F_S+ML_L6, F_S+ML_L60, F_S+ML_R1, F_S+ML_R5, F_S+ML_R6, F_S+ML_R60, F_S+NBH_TG_R1, F_S+NBH_TG_R5, F_S+NBH_TG_R6, F_S+NBH_TG_R60, F_S+OD_TL_L1, F_S+OD_TL_L5, F_S+OD_TL_L6, F_S+OD_TL_L60, F_S+OSB_R1, F_S+OSB_R5, F_S+OSB_R6, F_S+OSB_R60, F_S+PAREP_TG_R1, F_S+PAREP_TG_R5, F_S+PAREP_TG_R6, F_S+PAREP_TG_R60, F_S+PPT_R1, F_S+PPT_R5, F_S+PPT_R6, F_S+PPT_R60, F_S+QPS1-4_R1, F_S+QPS1-4_R5, F_S+QPS1-4_R6, F_S+QPS1-4_R60, F_S+QPS5_R1, F_S+QPS5_R5, F_S+QPS5_R6, F_S+QPS5_R60, F_S+SNPT_R1, F_S+SNPT_R5, F_S+SNPT_R6, F_S+SNPT_R60, F_S+SNS_TG_R1, F_S+SNS_TG_R5, F_S+SNS_TG_R6, F_S+SNS_TG_R60, F_S+TBG_R1, F_S+TBG_R5, F_S+TBG_R6, F_S+TBG_R60, F_S+TBL_L1, F_S+TBL_L5, F_S+TBL_L6, F_S+TBL_L60, F_S+TORRB1_R1, F_S+TORRB1_R5, F_S+TORRB1_R6, F_S+TORRB1_R60, F_S+TORRB2_R1, F_S+TORRB2_R5, F_S+TORRB2_R6, F_S+TORRB2_R60, F_S+TORRB3_R1, F_S+TORRB3_R5, F_S+TORRB3_R6, F_S+TORRB3_R60, F_S+TORRB4_R1, F_S+TORRB4_R5, F_S+TORRB4_R6, F_S+TORRB4_R60, F_V_APD01_L5, F_V_APD01_L6, F_V_APD01_L60, F_V_APD01_R5, F_V_APD01_R6, F_V_APD01_R60, SA_HYSE1, SA_ISLE_STRENGTH, SA_ISLE_STRENGTH_BU, SA_ISLE_STRGTH_1300, SA_SEHY_20, S_BIPS+PV_MC, S_CANWF_5T, S_ISLE_CANUNDA_35, S_ISLE_CRK_10, S_ISLE_LKB1+2+3_60, S_LB+CAN_50, S_LKBWF_14T, S_OSB+PV_MC, S_PELPT_GT1+2+PV_MC, S_QPS1-4+PV_MC, S_QPS5+PV_MC, S_SNPT+PV_MC, S_TBG+PV_MC, S_TIPSB1+PV_MC, S_TIPSB2+PV_MC, S_TIPSB3+PV_MC, S_TIPSB4+PV_MC, V::N_ESTN_MLMOHG_O1, V::N_ESTN_MLMOHG_O2, V::N_ESTN_MLMOHG_V1, V::N_ESTN_MLMOHG_V2, V_VS_LB_CAN_50, SA_HYSE2, V::N_ESTN_HYSE_O1, V::N_ESTN_HYSE_O2, V::N_ESTN_HYSE_V1, V::N_ESTN_HYSE_V2, F_S_LBB1_L1, F_S_LBB1_L5, F_S_LBB1_L6, F_S_LBB1_L60, F_S_LBB1_LREG, F_S_LBB1_R1, F_S_LBB1_R5, F_S_LBB1_R6, F_S_LBB1_R60, F_S_LBB1_RREG, F_S_LG1_L5, F_S_LG1_L6, F_S_LG1_L60, F_S_LG1_R5, F_S_LG1_R6, F_S_LG1_R60, F_S_LG2_L5, F_S_LG2_L6, F_S_LG2_L60, F_S_LG2_R5, F_S_LG2_R6, F_S_LG2_R60, SA_TBSE1, V::N_ESTN_TBSE_O1, V::N_ESTN_TBSE_O2, V::N_ESTN_TBSE_V1, V::N_ESTN_TBSE_V2, F_S+APDMOPS_L1_0150, F_S+APDMOPS_L5_0150, F_S+APDMOPS_L60_0150, F_S+APDMOPS_L6_0150, F_S+BIPS_MOP_R1, F_S+BNG_TG_MOP_R1, F_S+DDWF_TG_R1, F_S+DDWF_TG_R5, F_S+DDWF_TG_R6, F_S+DDWF_TG_R60, F_S+HL_TG_MOP_R1, F_S+HPG_MOP_R1, F_S+HPL_MOP_L1, F_S+LB_TG_MOP_R1, F_S+ML_MOP_L1, F_S+ML_MOP_R1, F_S+MOPS1_MG_R1, F_S+MOPS1_MG_R5, F_S+MOPS1_MG_R6, F_S+MOPS1_MG_R60, F_S+MOPS2_MG_R1, F_S+MOPS2_MG_R5, F_S+MOPS2_MG_R6, F_S+MOPS2_MG_R60, F_S+NBH_TG_MOP_R1, F_S+OD_TL_MOP_L1, F_S+OSB_MOP_R1, F_S+PAREP_TG_MOP_R1, F_S+PPT_MOP_R1, F_S+QPS1-4_MOP_R1, F_S+QPS5_MOP_R1, F_S+SNPT_MOP_R1, F_S+SNS_TG_MOP_R1, F_S+TBG_MOP_R1, F_S+TBL_MOP_L1, F_S+TORRB1_MOP_R1, F_S+TORRB2_MOP_R1, F_S+TORRB3_MOP_R1, F_S+TORRB4_MOP_R1, F_V_MOPS1_L5, F_V_MOPS1_L6, F_V_MOPS1_L60, F_V_MOPS1_LREG, F_V_MOPS1_R5, F_V_MOPS1_R6, F_V_MOPS1_R60, F_V_MOPS1_RREG, F_V_MOPS2_L5, F_V_MOPS2_L6, F_V_MOPS2_L60, F_V_MOPS2_LREG, F_V_MOPS2_R5, F_V_MOPS2_R6, F_V_MOPS2_R60, F_V_MOPS2_RREG, SA_ISLE_HYSE_A, SA_ISLE_HYSE_B, V^^N_ESTN_MLMOHG_1, F_S+MOPS_TG_R1, F_S+MOPS_TG_R5, F_S+MOPS_TG_R6, F_S+MOPS_TG_R60, F_S_TB2B1_L1, F_S_TB2B1_L5, F_S_TB2B1_L6, F_S_TB2B1_L60, F_S_TB2B1_LREG, F_S_TB2B1_R1, F_S_TB2B1_R5, F_S_TB2B1_R6, F_S_TB2B1_R60, F_S_TB2B1_RREG, SA_PATB1, S_TB2B1_GE_ZERO, S_TB2B1_LE_ZERO, V::N_ESTN_TBTUCG_O1, V::N_ESTN_TBTUCG_O2, V::N_ESTN_TBTUCG_V1, V::N_ESTN_TBTUCG_V2 | Modified | SA Generation + Interconnectors | SA - Update SA island 190 MW contingency cap to a dynamic limit | Constraint Equation
2025-04-14 |  | S>>BRMN_BRTW_HUWT, S>>BRMN_BRTW_WTTP, S>>BRMN_BRTX_HUWT, S>>BRMN_BWPA_BRTW, S>>BRMN_BWPA_CNRB, S>>BRMN_BWPA_HUWT, S>>BRMN_BWPA_TWPA, S>>BRMN_BWPA_WTTP, S>>BRMN_CNRB_WEMWP4, S>>BRMN_NIL_WEMWP4, S>>BRMN_NIL_WTTP, S>>BRMN_RBTU_WTTP, S>>BRMN_TWPA_TPRS, S>>BRMN_TWPA_WEMW4, S>>BRMN_WTTP_WEMWP4, S>BRMN_BWPA_MKRB, S>BRMN_WEMWP4_WTTP | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation
2025-04-14 |  | S::V_KHKN_TBSE, V::S_KHKN_MAXG, V::S_KHKN_SETB, V^^S_KHKN_MAXG, V^^S_KHKN_SETB | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation
2025-04-14 |  | S>>WEWT_BRTW_WTTP, S>>WEWT_BWPA_WTTP, S>>WEWT_MNCN_WTTP, S>>WEWT_RBTU_RBTU, S>>WEWT_RBTU_WTTP, S>>WEWT_TWPA_TPRS, S>>WEWT_TWPA_WTTP, S>WEWT_BRTX_WTTP, S>WEWT_NIL_WTTP | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation
2025-04-14 |  | S>>BWMP_BGBR_HUWT, S>>BWMP_BRTW_WEMWP4, S>>BWMP_BRTW_WTTP, S>>BWMP_CNRB_TWPA, S>>BWMP_CNRB_WEMWP4, S>>BWMP_DVBR_RHBG-T, S>>BWMP_HUWT_RHBG-T, S>>BWMP_MKRB_BRTW, S>>BWMP_MKRB_WEMWP4, S>>BWMP_NIL_WEMWP4, S>>BWMP_NIL_WTTP, S>>BWMP_RBTU_BRTW, S>>BWMP_RBTU_RBTU, S>>BWMP_RBTU_TWPA, S>>BWMP_RBTU_WTTP, S>>BWMP_TPDR_TPRS, S>>BWMP_TPRS_TWPA, S>>BWMP_TPRS_WEMWP4, S>>BWMP_TWPA_TPRS, S>>BWMP_TWPA_WEMWP4, S>>BWMP_WEMWP4_WTTP, S>>BWMP_WTTP_WTWE, S>BWMP_MKRB_CNRB | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines