## Constraint Changes
NEM Constraint Library Changes Report for the week 10 February 2025 to 16 February 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-02-14 |  | I_6F_NS_050, I_6F_NS_100, I_6F_NS_150, I_6F_SN_050, I_6F_SN_100, I_6F_SN_150 | Modified | NSW Generation + Interconnectors | ​NSW - Change to higher CVP and maximum flow on 6F for dynamic headroom | Constraint Equation
2025-02-14 |  | T::T_NIL_1 | Modified | Tasmanian Generation + Interconnectors | ​Tas - Fixed PD calc for generator status to include a STEP function | Constraint Equation
2025-02-14 | N-X_3L+11_WG_CLOSE | N::N_3L+11_1, N::N_3L+11_2, N::V_CTYS_BWRG, N::V_CTYS_BWSW, N::V_CTYS_BYYS, N::V_CTYS_MSDD, N::V_CTYS_UTMS, N>>11_39_17, N>>11_39_37, N>>11_70_71, N>>11_8_10, N>>3L_18_5_N, N>>3L_18_5_S, N>>3L_3H_5_N, N>>3L_3J_5_N, N>>3L_3J_5_S, N>>3L_3P_5_N, N>>3L_3W_5_N, N>>3L_3W_5_S, N>>3L_5_18_N, N>>3L_5_18_S, N>>3L_5_3J, N>>3L_5_3P, N>>3L_5_3W, N>>3L_5_6, N>>3L_5_61, N>>3L_5_N, N>>3L_5_S, N>>3L_61, N>>3L_61_5_N, N>>3L_61_5_S, N>>3L_998_18, N>>3L_998_5, N>>3L_998_61, N^^V_3L+11_1, V^^N_3L+11_1 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - New multiple outage set 3L+11 | Constraint Equation
2025-02-12 | S-TB275_W_BUS, S-TB275_W_BUS_BC-2CP, S-TB_CB6536 | S>>TB6536_TBTX4_TBMO, S>>TBWBUS_TBTX4_TBMO | New & Modified | SA Generation + Interconnectors | ​SA - Created new equation for RTCA raised by control room | Constraint Equation
2025-02-12 |  | N>>BU_TX_TX78_ML_LV | Modified | NSW Generation + Interconnectors | NSW - Remove Murraylink term from dispatch RHS | Constraint Equation
2025-02-12 | N-YSWG_SCHEME | N>>YW_CS_970_051_S, N>>YW_CS_990_051_S, N>>YW_CS_99M_051_S | Modified | NSW Generation + Interconnectors | ​NSW - Remove Yass transformer constraint | Constraint Equation
2025-02-11 | Q-X_BRHA_TWO | F_I+BRHA_TG_R5, F_I+BRHA_TG_R6, F_I+BRHA_TG_R60, F_MAIN++BRHA_TG_R5, F_MAIN++BRHA_TG_R6, F_MAIN++BRHA_TG_R60, F_MAIN+BRHA_TG_R5, F_MAIN+BRHA_TG_R6, F_MAIN+BRHA_TG_R60, F_Q_BRAEMAR1_R5, F_Q_BRAEMAR1_R6, F_Q_BRAEMAR1_R60, F_Q_BRAEMAR1_RREG, F_Q_BRAEMAR2_R5, F_Q_BRAEMAR2_R6, F_Q_BRAEMAR2_R60, F_Q_BRAEMAR2_RREG, F_Q_BRAEMAR3_R5, F_Q_BRAEMAR3_R6, F_Q_BRAEMAR3_R60, F_Q_BRAEMAR3_RREG, N^^Q_BR_N-2, Q:N_1078, Q>>BRTX1_CGHA_WDHA | New Set(s), New Constraint(s) | Qld Generation + Interconnectors | QLD - Created new set for feeder 8814+8815 outage | Constraint Equation
2025-02-11 | Q-H13RS_SVC, Q-WR_VC | Q^CN_FDR-090, Q^CN_GT-090, Q^FNQ_8905_-100, Q_STR_7C0K_CKWF_3, Q_STR_7C0K_CKWF_3_I, Q_STR_7C0K_CLRSF_8, Q_STR_7C0K_CLRSF_8_I, Q_STR_7C0K_COLSF_8, Q_STR_7C0K_COLSF_8_I, Q_STR_7C0K_DAYSF_8, Q_STR_7C0K_DAYSF_8_I, Q_STR_7C0K_HAMSF_8, Q_STR_7C0K_HAMSF_8_I, Q_STR_7C0K_HASF_4, Q_STR_7C0K_HASF_4_I, Q_STR_7C0K_HAYSF_8, Q_STR_7C0K_HAYSF_8_I, Q_STR_7C0K_KBWF_12, Q_STR_7C0K_KBWF_12_I, Q_STR_7C0K_KEP_8, Q_STR_7C0K_KEP_8_I, Q_STR_7C0K_KIDSF_8, Q_STR_7C0K_KIDSF_8_I, Q_STR_7C0K_MEWF_12, Q_STR_7C0K_MEWF_12_I, Q_STR_7C0K_RRSF_8, Q_STR_7C0K_RRSF_8_I, Q_STR_7C0K_RUGSF_8, Q_STR_7C0K_RUGSF_8_I, Q_STR_7C0K_SMSF_8, Q_STR_7C0K_SMSF_8_I, Q_STR_7C0K_WHTSF_8, Q_STR_7C0K_WHTSF_8_I, Q^FNQ_8905_-150 | Modified | Qld Generation | ​QLD - Correction to limit advice reference number in Woree and Ross SVC sets | Constraint Equation
2025-02-11 |  | X_CENWEST_NSW_NIGHT, X_CENW_NSW_NIGHT_PD | Modified | NSW Generation | ​NSW - modify constraint function to check night-time in Central West NSW | Constraint Function
2025-02-11 | N-BU_330_TX_ONE | N>>BU_TX_TX78_ML_HV, N>>BU_TX_TX78_ML_LV | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | NSW - Buronga transformer outage | Constraint Equation
2025-02-11 | N-YSWG_SCHEME | N>>YW_CS_970_051_S, N>>YW_CS_990_051_S, N>>YW_CS_99M_051_S, N>>YW_CS_YSTX_051_LV | New & Modified | NSW Generation + Interconnectors | NSW - Yass to Wagga 132kV tripping scheme | Constraint Equation
2025-02-10 |  | V::S_HYSE_MAXG | Modified | NSW Generation + Interconnectors | ​SA - Fix 6F term in V::S_HYSE_MAXG | Constraint Equation
2025-02-10 | N-CRDMP-9ML | N_CRWF1_69_DAY | New & Modified | NSW Generation | NSW - New constraint function, swamp RHS when night time in central west NSW | Constraint Equation
2025-02-10 |  | X_CENWEST_NSW_NIGHT, X_CENW_NSW_NIGHT_PD | New & Modified | NSW Generation | NSW - New constraint function, swamp RHS when night time in central west NSW | Constraint Function
2025-02-10 |  | V^^N_4+1_1 | Modified | NSW Generation + Interconnectors | ​NSW: Updated Yass transformer outage set with Walla Walla SF, Stubbo SF and Korangie BESS and updated 4+1 outage set VIC-NSW voltage stability offset as per Limit advice dated 6/2/2025. | Constraint Equation
2025-02-10 |  | N>>YSTX_TX_051, N>>YSTX_TX_NIL | Modified | NSW Generation + Interconnectors | ​NSW: Updated Yass transformer outage set with Walla Walla SF, Stubbo SF and Korangie BESS and updated 4+1 outage set VIC-NSW voltage stability offset as per Limit advice dated 6/2/2025. | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines