## Constraint Changes
NEM Constraint Library Changes Report for the week 17 February 2025 to 23 February 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-02-21 |  | V::S_MOTB_MAXG, V::S_MOTB_SETB, V^^S_MOTB_MAXG, V^^S_MOTB_SETB | Modified | SA Generation + Interconnectors | ​SA - Updated constraints with PEC1 in service for upcoming outages. | Constraint Equation
2025-02-20 | S-X_DVLK_MNWT | S>>MNWT_NIL_WEMWP4, S>>MNWT_NIL_WTTP, S>>MNWT_WTTP_WEMWP4, S>>X_DL+MW_BLDV_RBM4, S>>X_DL+MW_BLDV_WEWT, S>>X_DL+MW_BWMP_BRTW, S>>X_DL+MW_BWMP_HUWT, S>>X_DL+MW_BWMP_RHBR, S>>X_DL+MW_BWMP_TWPA, S>>X_DL+MW_CBRB_WEM4, S>>X_DL+MW_MKRB_WTWE, S>>X_DVLK+LKCN_09, S>>X_DVLK+LKCN_16, S>MNWT_WEMWP4_WTTP, S>X_DL+MW_BWMP_MKRB, S_DVRB2_270, S_OUT_STRENGTH_2200, V::S_DVRB2_MG-CP_1, V::S_DVRB2_MG_1, V::S_DVRB2_MG_2-DS, V::S_DVRB2_MG_CP_2, V^^S_DVRB2_MG-CP_1, V^^S_DVRB2_MG_1, V^^S_DVRB2_MG_2-DS, V^^S_DVRB2_MG_CP_2 | New Set(s), New Constraint(s) | SA Generation + Interconnectors | ​SA - Created multiple outage set for Davenport-Mt Lock 275kV line + Mintaro-Waterloo 132kV line | Constraint Equation
2025-02-20 | Q-DARLING_DOWNS_N-2 | F_Q_DDPS_R5, F_Q_DDPS_R6, F_Q_DDPS_R60, F_Q_DDPS_RREG | Modified | Qld Generation | ​QLD - updated Darling downs PS N-2 set to include zero raise FCAS equations | Constraint Equation
2025-02-19 |  | N>>ERTX_23_22, N>>ERTX_81_82, N>>ERTX_82_81 | Modified | NSW Generation + Interconnectors | NSW - Updated thermal equations in Eraring tie XFMR outage set to Include Walla Walla SF and Stubbo SF for upcoming outage. | Constraint Equation
2025-02-19 | Q-X_BRHA_BRCB | F_I+BRHA_TG_R5, F_I+BRHA_TG_R6, F_I+BRHA_TG_R60, F_MAIN++BRHA_TG_R5, F_MAIN++BRHA_TG_R6, F_MAIN++BRHA_TG_R60, F_MAIN+BRHA_TG_R5, F_MAIN+BRHA_TG_R6, F_MAIN+BRHA_TG_R60, F_Q_BRAEMAR1_R5, F_Q_BRAEMAR1_R6, F_Q_BRAEMAR1_R60, F_Q_BRAEMAR1_RREG, F_Q_BRAEMAR2_R5, F_Q_BRAEMAR2_R6, F_Q_BRAEMAR2_R60, F_Q_BRAEMAR2_RREG, F_Q_BRAEMAR3_R5, F_Q_BRAEMAR3_R6, F_Q_BRAEMAR3_R60, F_Q_BRAEMAR3_RREG, N^^Q_BR_N-2 | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Created new set for fdr8815 + Braemar CB outage | Constraint Equation
2025-02-18 | Q-X_HACL_HATR | Q^^TR_CLHA_-600, Q^^TR_TRBK_-700 | Modified | Tarong Limit | QLD - change description to Q-X_HACL_HATR set to cover more feeder combinations as per Powerlink latest limit advice | Constraint Equation
2025-02-18 | N-X_9ML_94X | N>9ML+94X_947_94T, N>9ML+94X_94T, N>9ML+94X_94T_75, N>9ML+94X_94T_79, N>9ML+94X_94T_947 | New Set(s), New Constraint(s) | NSW Generation | NSW - multiple outage of 9ML and 94X | Constraint Equation
2025-02-17 |  | F_I+GFT_TG_R1, F_I+NIL_MG_R1, F_I+TTS_TG_R1, F_MAIN++GFT_TG_R1, F_MAIN++NIL_MG_R1, F_MAIN++TTS_TG_R1, F_MAIN+GFT_TG_R1, F_MAIN+NIL_BL_R1, F_MAIN+NIL_MG_R1, F_MAIN+TTS_TG_R1 | Modified | FCAS Requirements | ​FCAS - Remove cap on dispatch of R1 FCAS | Constraint Equation
2025-02-17 | F-I_FFR_GLOBAL, F-I_FFR_GLOBAL_2 | D_I+GFT_TG_R1, D_I+NIL_MG_R1, D_I+TTS_TG_R1, F_I+GFTT_TG_R1, F_I+NILL_MG_R1, F_I+TTSS_TG_R1, F_MAINN++GFT_TG_R1, F_MAINN++NIL_MG_R1, F_MAINN++TTS_TG_R1, F_MAINN+GFT_TG_R1, F_MAINN+NIL_BL_R1, F_MAINN+NIL_MG_R1, F_MAINN+TTS_TG_R1 | Marked for Archival | FCAS Requirements | ​FCAS - Remove cap on dispatch of R1 FCAS | Constraint Equation
2025-02-17 | N-CRDMP-9ML | N>9ML_947_94T, N>9ML_94T, N>9ML_94T_75, N>9ML_94T_79, N>9ML_94T_947 | New & Modified | NSW Generation | NSW - add 94T constraints to 9ML set | Constraint Equation
2025-02-17 |  | N>>YW_CS_99M_051_S | Modified | NSW Generation + Interconnectors | ​NSW - Wagga - Yass control scheme - fix analog on 99M | Constraint Equation
2025-02-17 |  | N>NIL_977_976 | Modified | NSW Generation | ​NSW - 976/977 system normmal update for reverse rating | Constraint Equation
2025-02-17 |  | N^^V_3L+11_1, V^^N_3L+11_1 | Modified | Vic - NSW Interconnector + Generators | ​NSW - Update VNI transfer limit offset | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines