## Constraint Changes
NEM Constraint Library Changes Report for the week 24 February 2025 to 2 March 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-02-28 | Q-X_HACL_HACL | Q>HACL2_CLWU_LCCP, Q>HACL2_RGLC_CLWU | New & Modified | Qld Generation | ​QLD - New thermal added to 8810+8811 multiple outage set | Constraint Equation
2025-02-28 |  | N^^V_LTYS_1, V^^N_LTYS_1 | Modified | Victorian Generation + Interconnectors | ​VIC/NSW - Updated Vic limits for outage of TL 3 in NSW. | Constraint Equation
2025-02-28 | I-SV_460, I-VS_460 | S>V_460, S>V_460_DYN, V>S_460, V>S_460_DYN | Modified | Vic - SA (Heywood) Interconnector | VIC - Updated constraint for Heywood M txfmr outage so the limits apply on Heywood only | Constraint Equation
2025-02-28 |  | SV_460_DYN, VS_460_DYN | Marked for Archival | Vic - SA (Heywood) Interconnector | VIC - Updated constraint for Heywood M txfmr outage so the limits apply on Heywood only | Constraint Equation
2025-02-28 |  | V>>DBL_MSDD_MSDD, V>>DBL_MSDD_MSDD_SIP, V>>DBT_DDTX1_DDTX, V>>DBT_DDTX2_DDTX, V>>DBT_DDTX3_DDTX, V>HWRO12_ROYP7_8_T | Modified | Victorian Generation + Interconnectors | ​VIC - Updated outage constraints for PEC1 and Koorangie BESS | Constraint Equation
2025-02-27 |  | Q>>X_HATR2_HATR_HATR | New & Modified | Qld Generation + Interconnectors | ​QLD - fixed typo error in Q>>X_HATR2_HATR_HATR description | Constraint Equation
2025-02-27 |  | LINE8868_IS, LINE8869_IS, LINE8870_IS, LINE8871_IS | New & Modified | Qld Generation + Interconnectors | ​QLD - fixed typo error in Q>>X_HATR2_HATR_HATR description | Constraint Function
2025-02-27 |  | Q>>NIL_BCRG_CLWU, Q>NIL_BCST_BCST | New & Modified | Qld Generation + Interconnectors | QLD - Swamping logic applied to DS RHS when 8810+8811 Lines O/S | Constraint Equation
2025-02-27 |  | LINE8810_IS, LINE8811_IS | New & Modified | Qld Generation + Interconnectors | QLD - Swamping logic applied to DS RHS when 8810+8811 Lines O/S | Constraint Function
2025-02-26 | N-DTMN_8_15M, N-X_2+8 | N>>8_16_39, N>>8_39_16, N>>8_4_5, N>>8_5_3L, N>>8_70_71, N::N_2+8_1, N::N_2+8_2, N>>UTRV-6X_07_1, N>>UTRV-6X_07_3, N>>UTRV-6X_1_07, N>>UTRV-6X_1_3, N>>UTRV-6X_3_9_N, N>>UTRV-6X_3_9_S, N>>UTRV-6X_64_1, N>>UTRV-6X_9_3, N>>UTRV-6X_9_3_S, N>>X_2+8_16_18, V>>N_UTRV-6X_66_1, V^^N_UTRV_1 | Modified | Victorian Generation + Interconnectors | ​VIC - Remove Vic export voltage stability limit from outage of TL 8 line in NSW. | Constraint Equation
2025-02-26 |  | V^^N_DTMN_1 | Marked for Archival | Victorian Generation + Interconnectors | ​VIC - Remove Vic export voltage stability limit from outage of TL 8 line in NSW. | Constraint Equation
2025-02-26 | I-JNWO_63 | N::V_DPWG_BWSW, N::V_DPWG_MSDD, N::V_DPWG_UTMS, N::V_JNWO, N:V_DPWG_BWRG, N:V_DPWG_BYYS, N>>060_07_03, N>>060_07_1, N>>060_1_07, N>>060_1_6X, N>>060_9_03, N>>060_9_2, N>>V-060_65_03, N>>V-060_65_07, N>>V-060_65_64, N>>V-060_65_66_S, N>>V-060_65_6X, N^^V_DDWG, N_AVLSF1_0INV, N_AVLSF1_ZERO, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BOMENSF1_0INV, N_BOMENSF1_ZERO, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_LIMOSF21_0INV, N_LIMOSF21_ZERO, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_0_I, N_STR_BHBESS_0_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_WAGGNSF1_0INV, N_WAGGNSF1_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, SVML_FLT_125, V::N_DDWG_O1, V::N_DDWG_O2, V::N_DDWG_V1, V::N_DDWG_V2, V>>060_67_68, V>>060_67_68_N, V>>060_67_68_SIPS, V>>N-060_65_66, V>>N-060_66_65, V_ARARATWF_FLT_0, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_CWWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | New Set(s), New Constraint(s) | Victorian Generation + Interconnectors | ​NSW/VIC - New constraint set for 060 line with 63 open, X5 in service | Constraint Equation
2025-02-26 | V-GNTS_BUS1_66 | V_GLRWNSF_ZERO, V_MOKOSF1_ZERO | Modified | Victorian Generation | ​VIC - Add Mokoan SF unit zero constraint for outage of GNTS 66kV No.1 bus | Constraint Equation
2025-02-26 |  | V^^V_NIL_KGTS, V^^V_NIL_KGTS_2 | Modified | Victorian Generation | ​VIC - Updated Kerang flow equations to include Koorangie BESS. | Constraint Equation
2025-02-26 | Q-X_HACL_HACL | Q>HACL2_CPGG2_CPGG1, Q>HACL2_CPWU_CLWU, Q>HACL2_GGWO_TBWO | New & Modified | Qld Generation | ​QLD - Updated 8810+8811 set to include thermal equations | Constraint Equation
2025-02-25 | Q-X_HACL_HACL | Q>HACL2_BCCP_LCCP, Q>HACL2_CLWU_BCRG, Q>HACL2_STBC_STBC | New & Modified | Qld Generation | ​QLD - New thermals for 8810+8811 multiple outage | Constraint Equation
2025-02-25 |  | V>>NIL_MSDD1_MSDD2, V>>NIL_MSDD1_MSDD2_S, V>>NIL_MSDD2_MSDD1, V>>NIL_MSDD2_MSDD1_S, V>SW_MSDD1_MSDD2, V>SW_MSDD1_MSDD2_SIP, V>SW_MSDD2_MSDD1, V>SW_MSDD2_MSDD1_SIP | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints in system normal and outage sets for PEC1 and Koorangie BESS | Constraint Equation
2025-02-25 |  | V^^V_NIL_SWVIC | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints in system normal and outage sets for PEC1 and Koorangie BESS | Constraint Equation
2025-02-25 |  | V>>NIL_MLGT_MLGT_T, V>>NIL_SMTX_SMTX_T | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints in system normal and outage sets for PEC1 and Koorangie BESS | Constraint Equation
2025-02-25 |  | V>>NIL_MLGT_MLGT_R2, V>>NIL_MLGT_MLGT_R5, V>>NIL_SMTX_SMTX_R2, V>>NIL_SMTX_SMTX_R5 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints in system normal and outage sets for PEC1 and Koorangie BESS | Constraint Equation
2025-02-25 | I-BDBU_ONE,N-NIL, N-NIL_991 | N>>NIL_970_051, N>>NIL_990_051, N>>NIL_991_051, N>>BDBU_970_051, N>>BDBU_990_051, N>>BDBU_991_051 | Modified | NSW Generation + Interconnectors | NSW - Wagga to Yass control scheme - removed constraints | Constraint Equation
2025-02-24 |  | N>NIL_9U3 | Modified | NSW Generation | ​NSW - Update monitored line | Constraint Equation
2025-02-24 | V-DDWO_63 | N::V_DDWO_BWSW, N::V_DDWO_MSDD, N::V_DDWO_UTMS, N::V_DPWG_BWSW, N::V_DPWG_MSDD, N::V_DPWG_UTMS, N:V_DDWO_BWRG, N:V_DDWO_BYYS, N:V_DPWG_BWRG, N:V_DPWG_BYYS, N>>N-DDWO_RADIAL_1, N>>N-DDWO_RADIAL_2, N>>N-DDWO_RADIAL_3, N>>N-DDWO_RADIAL_4, N>>N-DDWO_RADIAL_5, N>>N-DDWO_RADIAL_6, N>>V-DDWO_RADIAL_1, N>>V-DDWO_RADIAL_2, N>>V-DDWO_RADIAL_3, N>>V-DDWO_RADIAL_4, N>>V-DDWO_RADIAL_5, N>>V-DDWO_RADIAL_6, N^^V_DDWG, N_AVLSF1_0INV, N_AVLSF1_ZERO, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BOMENSF1_0INV, N_BOMENSF1_ZERO, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_LIMOSF21_0INV, N_LIMOSF2_FLT_0, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_0_I, N_STR_BHBESS_0_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_WAGGNSF1_0INV, N_WAGGNSF1_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, SVML_FLT_125, V::N_DDWG_O1, V::N_DDWG_O2, V::N_DDWG_V1, V::N_DDWG_V2, V>>N-DDWO_RADIAL_1, V>>N-DDWO_RADIAL_2, V>>V-DDWO_RADIAL_1, V>>V-DDWO_RADIAL_1_S, V>>V-DDWO_RADIAL_2, V_ARARATWF_FLT_0, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_CWWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | New Set(s), New Constraint(s) | Victorian Generation + Interconnectors | ​VIC - New constraint set for Dederang - Wodonga 330kV line outage with TL 63 open, X5 in service in NSW | Constraint Equation
2025-02-24 |  | S::V_SECP1_TBSE_1, V::S_SECP1_MAXG_1, V::S_SECP1_TBSE_1, V^^S_SECP1_MAXG_1, V^^S_SECP1_TBSE_1 | Modified | SA Generation + Interconnectors | ​SA - Updated constraints with PEC1 in service for upcoming outages. | Constraint Equation
2025-02-24 |  | S>>V_MGTI_TICG_PAMG | Modified | SA Generation + Interconnectors | ​SA - Updated constraints with PEC1 in service for upcoming outages. | Constraint Equation
2025-02-24 |  | V>>NIL_ARTSTL_ARCW, V>>NIL_ARWB_KGBE, V>>NIL_ARWB_RCWEKG, V>>NIL_BABE_HOMRKM, V>>NIL_BABE_KMRC, V>>NIL_BABE_SHBE, V>>NIL_BANBGR_ARCW, V>>NIL_BEKG_HOMRKM, V>>NIL_BGRART_ARCW, V>>NIL_CWAR_KGBE, V>>NIL_DDSM_DDSM, V>>NIL_DDTX1_NIL, V>>NIL_DDTX2_NIL, V>>NIL_DDTX3_NIL, V>>NIL_ELML_BAML2, V>>NIL_EPTT_DDSM_SIP, V>>NIL_HYSE_HYSE, V>>NIL_KGWE_HOMRKM, V>>NIL_MBDD_MBDD, V>>NIL_MLSY_MLSY, V>>NIL_RCWE_BUBD, V>>NIL_RCWE_HOBUCW, V>>NIL_RCWE_HOMRKM, V>>NIL_SMDD_SMDD, V>>NIL_WBBA_BESH, V>>NIL_WBBA_KGBE, V>>NIL_WBBA_RCWEKG, V>>NIL_WEKG_HOBUCW, V>>NIL_WEKG_HOMRKM, V>>NIL_WERC_HOMRKM, V>>NSWRB_BEKG_X3, V>>NSWRB_BEKG_X5, V>>NSWRB_KGWE_X3, V>>NSWRB_KGWE_X5, V>>NSWRB_WERC_X3, V>>NSWRB_WERC_X5 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated system normal constraints to consider parameter updates on PEC1, NW VIC 220kV lines, and commissioning of Koorangie BESS | Constraint Equation
2025-02-24 |  | V>>KM_BABE_KMRC, V>>KM_BABE_KMRC_1, V>>NIL_BABE_KMRC_1, V>>NIL_BABE_SHBE_5M, V>>NIL_DDSM_DDSM_SIP | Modified | Victorian Generation + Interconnectors | ​VIC - Updated system normal constraints to consider parameter updates on PEC1, NW VIC 220kV lines, and commissioning of Koorangie BESS | Constraint Equation
2025-02-24 |  | S>>TPRS_BWPA_TWPA, S>>TPRS_MKRB_TWPA, S>>TPRS_RBTU_RBTU, S>>TPRS_RBTU_TWPA | Modified | SA Generation + Interconnectors | ​SA - Updated constraints with PEC1 in service for upcoming outages. | Constraint Equation
2025-02-24 |  | S>>X_TPRS+TPDR_04, S>>X_TPRS+TPDR_05 | Modified | SA Generation + Interconnectors | ​SA - Updated constraints with PEC1 in service for upcoming outages. | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines