## Constraint Changes
NEM Constraint Library Changes Report for the week 21 April 2025 to 27 April 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-04-24 | Q-X_BCBS+RS_275BUS | Q^CN_FDR-150, Q^CN_GT-060, Q_STR_7C0K_CKWF_1, Q_STR_7C0K_CKWF_1_I, Q_STR_7C0K_CLRSF_3, Q_STR_7C0K_CLRSF_3_I, Q_STR_7C0K_COLSF_3, Q_STR_7C0K_COLSF_3_I, Q_STR_7C0K_DAYSF_3, Q_STR_7C0K_DAYSF_3_I, Q_STR_7C0K_HAMSF_3, Q_STR_7C0K_HAMSF_3_I, Q_STR_7C0K_HASF_2, Q_STR_7C0K_HASF_2_I, Q_STR_7C0K_HAYSF_3, Q_STR_7C0K_HAYSF_3_I, Q_STR_7C0K_KBWF_16, Q_STR_7C0K_KBWF_16_I, Q_STR_7C0K_KEP_3, Q_STR_7C0K_KEP_3_I, Q_STR_7C0K_KIDSF_3, Q_STR_7C0K_KIDSF_3_I, Q_STR_7C0K_MEWF_16, Q_STR_7C0K_MEWF_16_I, Q_STR_7C0K_RRSF_3, Q_STR_7C0K_RRSF_3_I, Q_STR_7C0K_RUGSF_3, Q_STR_7C0K_RUGSF_3_I, Q_STR_7C0K_SMSF_3, Q_STR_7C0K_SMSF_3_I, Q_STR_7C0K_WHTSF_3, Q_STR_7C0K_WHTSF_3_I | New Set(s), New Constraint(s) | Qld Generation | ​QLD - New constraint set for multiple outage of 820 + Ross bus/CB | Constraint Equation
2025-04-23 |  | S::V_TBSE_TBSE, V::S_SETB_MAXG, V::S_SETB_MG_BIPS, V::S_SETB_MG_PPGT1, V::S_SETB_MG_PPGT2, V::S_SETB_MG_PPST, V::S_SETB_MG_SNPT, V::S_SETB_MG_TIBG1, V::S_SETB_MG_TPSB1, V::S_SETB_MG_TPSB2, V::S_SETB_MG_TPSB3, V::S_SETB_MG_TPSB4, V::S_SETB_TBSE_2, V^^S_SETB_MAXG | Modified | SA Generation + Interconnectors | ​SA - Updated transient and voltages stability equations for Tailem Bend- South East line outage with PEC-1 in service | Constraint Equation
2025-04-23 |  | S::V_TBSE_TBSE_2, V::S_SETB_MAXG_2, V::S_SETB_MG_BIPS_2, V::S_SETB_MG_PPGT1_2, V::S_SETB_MG_PPGT2_2, V::S_SETB_MG_PPST_2, V::S_SETB_MG_SNPT_2, V::S_SETB_MG_TIBG1_2, V::S_SETB_MG_TPSB1_2, V::S_SETB_MG_TPSB2_2, V::S_SETB_MG_TPSB3_2, V::S_SETB_MG_TPSB4_2, V^^S_SETB_MAXG_2 | Modified | SA Generation + Interconnectors | ​SA - Updated transient and voltages stability equations for Tailem Bend- South East line outage with PEC-1 in service | Constraint Equation
2025-04-23 |  | S::V_NIL_TBSE_2, V::S_BLKRG_MAXG_3, V::S_BLKRG_TBSE_2, V^^S_BLKRG_MAXG_3, V^^S_BLKRG_TBSE_2 | Modified | SA Generation + Interconnectors | ​SA - Updated transient and voltages stability equations for Tailem Bend- South East line outage with PEC-1 in service | Constraint Equation
2025-04-23 |  | V::S_BLKRG_MAXG_2, V::S_BLKRG_MG_BIPS, V::S_BLKRG_MG_PPGT1, V::S_BLKRG_MG_PPGT2, V::S_BLKRG_MG_PPST, V::S_BLKRG_MG_SNPT, V::S_BLKRG_MG_TIBG1, V::S_BLKRG_MG_TPSB1, V::S_BLKRG_MG_TPSB2, V::S_BLKRG_MG_TPSB3, V::S_BLKRG_MG_TPSB4, V^^S_BLKRG_MAXG_2 | Modified | SA Generation + Interconnectors | ​SA - Updated transient and voltages stability equations for Tailem Bend- South East line outage with PEC-1 in service | Constraint Equation
2025-04-22 |  | V>>BDBU_ARTSTL_ARCW, V>>BDBU_ARWB_KGBE, V>>BDBU_ARWB_RCWEKG, V>>BDBU_BABE_HOMRKM, V>>BDBU_BABE_KMRC, V>>BDBU_BABE_KMRC_1, V>>BDBU_BABE_SHBE, V>>BDBU_BANBGR_ARCW, V>>BDBU_BEKG_HOMRKM, V>>BDBU_BEKG_X3, V>>BDBU_BEKG_X5, V>>BDBU_BGRART_ARCW, V>>BDBU_CWAR_KGBE, V>>BDBU_DDSM_DDSM, V>>BDBU_DDSM_DDSM_SI, V>>BDBU_DDTX1_NIL, V>>BDBU_DDTX2_NIL, V>>BDBU_DDTX3_NIL, V>>BDBU_ELML_BAML2, V>>BDBU_EPTT_DDSM_SI, V>>BDBU_KGWE_HOMRKM, V>>BDBU_KGWE_X3, V>>BDBU_KGWE_X5, V>>BDBU_MBDD_MBDD, V>>BDBU_MLSY_MLSY, V>>BDBU_RCWE_HOBUCW, V>>BDBU_RCWE_HOMRKM, V>>BDBU_SMDD_SMDD, V>>BDBU_SMTX_SMTX_R2, V>>BDBU_SMTX_SMTX_R5, V>>BDBU_WBBA_BESH, V>>BDBU_WBBA_KGBE, V>>BDBU_WBBA_RCWEKG, V>>BDBU_WEKG_HOBUCW, V>>BDBU_WEKG_HOMRKM, V>>BDBU_WERC_HOMRKM, V>>BDBU_WERC_X3, V>>BDBU_WERC_X5 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints for outages to include PEC1 and Koorangie BESS | Constraint Equation
2025-04-22 |  | V_V_CRHG_1, V_V_CRHG_2, V_V_CRMO_1, V_V_CRMO_2, V_V_HYMO_1 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated voltage unbalance constraint to exclude flow on 6F | Constraint Equation
2025-04-22 |  | S>>WERB_RBTU_RBTU | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation
2025-04-22 |  | S>>WERB_BRTW_WTTP, S>>WERB_BWPA_WTTP, S>>WERB_MKRB_BRTW, S>>WERB_MKRB_BWPA, S>>WERB_MKRB_CNRB, S>>WERB_RBTU_BRTW, S>>WERB_RBTU_BWPA, S>>WERB_RBTU_RBTU, S>>WERB_RBTU_WTTP, S>S_WERB_TWPA_TPRS, S>WERB_BGTX_WTTP, S>WERB_BRTX_WTTP, S>WERB_NIL_WTTP, S>WERB_WTTP_BRTX | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation
2025-04-22 |  | S>>RBTU_BLDV_WEWT, S>>RBTU_BLDV_WTTP, S>>RBTU_BWMP_RBTU, S>>RBTU_BWMP_TWPA, S>>RBTU_BWMP_WEWT, S>>RBTU_BWMP_WTTP, S>>RBTU_CNRB_WEMWP4, S>>RBTU_LKDV_WEWT, S>>RBTU_LKDV_WTTP, S>>RBTU_RBTU_BRTW, S>>RBTU_RBTU_BWMP, S>>RBTU_RBTU_TWPA, S>>RBTU_RBTU_WEWT, S>>RBTU_RBTU_WTTP, S>>RBTU_TWPA_TPRS, S>>RBTU_WTTP_STBG-T, S>>RBTU_WTTP_WEMWP4 | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation
2025-04-22 |  | V::S_RBTU_MAXG, V::S_RBTU_SETB, V^^S_RBTU_MAXG, V^^S_RBTU_SETB | Modified | SA Generation + Interconnectors | ​SA - Updated with Templers BESS and Mannum 2 BESS for upcoming outages | Constraint Equation
2025-04-22 | S-X_BGBW+BWMP | S>>BWMP_BGBR_HUWT, S>>BWMP_BRTW_WEMWP4, S>>BWMP_BRTW_WTTP, S>>BWMP_CNRB_TWPA, S>>BWMP_CNRB_WEMWP4, S>>BWMP_DVBR_RHBG-T, S>>BWMP_HUWT_RHBG-T, S>>BWMP_MKRB_BRTW, S>>BWMP_MKRB_WEMWP4, S>>BWMP_NIL_WEMWP4, S>>BWMP_NIL_WTTP, S>>BWMP_RBTU_BRTW, S>>BWMP_RBTU_RBTU, S>>BWMP_RBTU_TWPA, S>>BWMP_RBTU_WTTP, S>>BWMP_TPDR_TPRS, S>>BWMP_TPRS_TWPA, S>>BWMP_TPRS_WEMWP4, S>>BWMP_TWPA_TPRS, S>>BWMP_TWPA_WEMWP4, S>>BWMP_WEMWP4_WTTP, S>>BWMP_WTTP_WTWE, S>BWMP_MKRB_CNRB, S_BLYTHB1_GE_ZERO, S_BLYTHB1_LE_ZERO, S_OUT_STRENGTH_2200, S_SNOWNTH1_ZERO, S_SNOWSTH1_ZERO | Modified | SA Generation | ​SA - Added Blyth Bess 0MW limit equations to S-X_BGBW+BWMP and S-X_BGBW+BWMP+MPPA | Constraint Equation
2025-04-22 | S-X_BGBW+BWMP+MPPA | S>>BWMP_BGBR_HUWT, S>>BWMP_BRTW_WEMWP4, S>>BWMP_BRTW_WTTP, S>>BWMP_CNRB_TWPA, S>>BWMP_CNRB_WEMWP4, S>>BWMP_DVBR_RHBG-T, S>>BWMP_HUWT_RHBG-T, S>>BWMP_MKRB_BRTW, S>>BWMP_MKRB_WEMWP4, S>>BWMP_NIL_WEMWP4, S>>BWMP_NIL_WTTP, S>>BWMP_RBTU_BRTW, S>>BWMP_RBTU_RBTU, S>>BWMP_RBTU_TWPA, S>>BWMP_RBTU_WTTP, S>>BWMP_TPDR_TPRS, S>>BWMP_TPRS_TWPA, S>>BWMP_TPRS_WEMWP4, S>>BWMP_TWPA_TPRS, S>>BWMP_TWPA_WEMWP4, S>>BWMP_WEMWP4_WTTP, S>>BWMP_WTTP_WTWE, S>BWMP_MKRB_CNRB, S_BLYTHB1_GE_ZERO, S_BLYTHB1_LE_ZERO, S_OUT_STRENGTH_2200, S_SNOWNTH1_ZERO, S_SNOWSTH1_ZERO | Modified | SA Generation | ​SA - Added Blyth Bess 0MW limit equations to S-X_BGBW+BWMP and S-X_BGBW+BWMP+MPPA | Constraint Equation
2025-04-22 |  | N>>UTRV-6X_07_1, N>>UTRV-6X_1_07, N>>UTRV-6X_1_3, N>>UTRV-6X_3_9_N, N>>UTRV-6X_3_9_S, N>>UTRV-6X_64_1, N>>UTRV-6X_9_3, N>>UTRV-6X_9_3_S, V>>N_UTRV-6X_66_1 | Modified | NSW Generation + Interconnectors | NSW-Created new multiple outage set for 2+3L lines. Added new thermal equations to 3L line outage set and updated line 2 outage thermal equations to include Koorangie BESS and other VIC generators. | Constraint Equation
2025-04-22 | N-CTYS_3L_WG_CLOSE | N>>3L_5_3J_S, N>>3L_5_61_N | New & Modified | NSW Generation + Interconnectors | NSW-Created new multiple outage set for 2+3L lines. Added new thermal equations to 3L line outage set and updated line 2 outage thermal equations to include Koorangie BESS and other VIC generators. | Constraint Equation
2025-04-22 | N-X_3L+2_WG_CLOSE | N::N_3L+2_1, N::N_3L+2_2, N::V_CTYS_BWRG, N::V_CTYS_BWSW, N::V_CTYS_BYYS, N::V_CTYS_MSDD, N::V_CTYS_UTMS, N>>3L_18_5_N, N>>3L_18_5_S, N>>3L_3H_5_N, N>>3L_3J_5_N, N>>3L_3J_5_S, N>>3L_3P_5_N, N>>3L_3W_5_N, N>>3L_3W_5_S, N>>3L_5_18_N, N>>3L_5_18_S, N>>3L_5_3J, N>>3L_5_3J_S, N>>3L_5_3P, N>>3L_5_3W, N>>3L_5_6, N>>3L_5_61, N>>3L_5_61_N, N>>3L_5_N, N>>3L_5_S, N>>3L_61, N>>3L_61_5_N, N>>3L_61_5_S, N>>3L_998_18, N>>3L_998_5, N>>3L_998_61, N>>UTRV-6X_07_1, N>>UTRV-6X_07_3, N>>UTRV-6X_1_07, N>>UTRV-6X_1_3, N>>UTRV-6X_3_9_N, N>>UTRV-6X_3_9_S, N>>UTRV-6X_64_1, N>>UTRV-6X_9_3, N>>UTRV-6X_9_3_S, N^^V_2+3L_1, V>>N_UTRV-6X_66_1, V^^N_2+3L_1 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | NSW-Created new multiple outage set for 2+3L lines. Added new thermal equations to 3L line outage set and updated line 2 outage thermal equations to include Koorangie BESS and other VIC generators. | Constraint Equation
2025-04-22 |  | Q_STR_7C0K_CKWF_1, Q_STR_7C0K_CKWF_1_I, Q_STR_7C0K_CKWF_2, Q_STR_7C0K_CKWF_2_I, Q_STR_7C0K_CKWF_3, Q_STR_7C0K_CKWF_3_I, Q_STR_7C0K_CKWF_4, Q_STR_7C0K_CKWF_4_I, Q_STR_7C2K_CKWF_1, Q_STR_7C2K_CKWF_1_I | Modified | Qld Generation | ​QLD - Update system strength constraints to include Clarke Creek WF2 | Constraint Equation
2025-04-22 |  | X-CHK_MVAR_CLKWF | Modified | Qld Generation | ​QLD - Update system strength constraints to include Clarke Creek WF2 | Constraint Function
2025-04-22 | S-X_BRMN_WEWT | S>>BRMN_BRTW_HUWT, S>>BRMN_BWPA_BRTW, S>>BRMN_BWPA_CNRB, S>>BRMN_BWPA_HUWT, S>>BRMN_BWPA_TWPA, S>>BRMN_NIL_WEMWP4, S>>BRMN_NIL_WTTP, S>>WEWT_NIL_RBTX1, S>>WEWT_NIL_RBTX2, S>>WEWT_RBTU_RBTU, S>>X_BRMN_WEWT_01, S>>X_BRMN_WEWT_02, S>>X_BRMN_WEWT_03, S>>X_BRMN_WEWT_04, S>>X_BRMN_WEWT_05, S>>X_BRMN_WEWT_06, S>BRMN_BWPA_MKRB, S>BRMN_WEMWP4_WTTP | New Set(s), New Constraint(s) | SA Generation + Interconnectors | ​SA - New constraint set for upcoming outage Clare North – Mintaro 132kV line +Waterloo East – Waterloo 132kV line | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines