## Constraint Changes
NEM Constraint Library Changes Report for the week 23 February 2026 to 1 March 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-02-27 |  | I_6F_NS_050, I_6F_NS_100, I_6F_NS_150, I_6F_SN_050, I_6F_SN_100, I_6F_SN_150 | Modified | Vic - SA (Heywood) Interconnector |  | Constraint Equation
2026-02-27 | C-Q_SNB02_009, C-Q_SNB02_040, C-Q_SNB02_130 | C_Q_SNB02_G_25INV, C_Q_SNB02_G_2INV, C_Q_SNB02_G_38INV, C_Q_SNB02_L_25INV, C_Q_SNB02_L_2INV, C_Q_SNB02_L_38INV, Q_STR_SNB02_25_I, Q_STR_SNB02_2_I, Q_STR_SNB02_38_I | New | Qld Generation | ​QLD - Supernode BESS 2 commissioning constraints updated with inverter limits | Constraint Equation
2026-02-27 | S-BGTX | S>>BGTX_BRTW_WTTP, S>>BGTX_BRTX_WEMWP4, S>>BGTX_BRTX_WEWT, S>>BGTX_BRTX_WTTP, S>>BGTX_BWPA_WTTP, S>>BGTX_LKDV_WEWT, S>>BGTX_MKRB_WEMWP4, S>>BGTX_NIL_WEMWP4, S>>BGTX_NIL_WTTP, S>>BGTX_TWPA_TPRS, S>>BGTX_TWPA_WEMWP4, S>>BGTX_WTTP_WEMWP4, S>BGTX_HUWT_RHBR-T, S>BGTX_WEMWP4_WTTP, S^CMWF_56, S^SNWWF_80, S^WPWF_80 | Modified | SA Generation | SA: Updated outage set for Bungama 275/132kV TX OOS. Added Bungama BESS, added a thermal equation, added limits as per ElectraNet's limit advice dated 27/02/26 | Constraint Equation
2026-02-27 | S-X_BGBW+BGDV+BGTX | S>>BGBW_BRTW_TPRS, S>>BGBW_BRTW_WTTP, S>>BGBW_MKRB_BRTW, S>>BGBW_RBTU_TWPA, S>>BGBW_RBTU_WTTP, S>>BGBW_TPRS_TWPA, S>>BGBW_TWPA_TPRS, S>>BGBW_WTTP_BRTW, S>>BGTX_BRTW_WEMWP4, S>>BGTX_BRTX_WEMWP4, S>>BGTX_BRTX_WEWT, S>>BGTX_BRTX_WTTP, S>>BGTX_BWPA_WTTP, S>>BGTX_LKDV_WEWT, S>>BGTX_MKRB_WEMWP4, S>>BGTX_NIL_WEMWP4, S>>BGTX_RBTU_WEWT, S>>BGTX_TPRS_WEMWP4, S>>BGTX_TWPA_WEMWP4, S>>BGTX_WTTP_WEMWP4, S>>DVBG_BLMK_DVBR, S>>DVBG_CNRB_DVBR, S>>DVBG_CNRB_MKRB, S>>DVBG_MKRB_CNRB, S>>DVBG_MKRB_DVBR, S>>DVBG_RBTU_RBTU, S>>X_BG_DVBR_WEWT, S>>X_BG_NIL_WTTP, S>BGBW_BRTW_HUWT, S>BGBW_BRTW_MNWT, S>BGTX_BGBR_HUWT, S>BGTX_BRTX_HUWT, S>BGTX_WEMWP4_WTTP, S>X_BG_HUWT_RHBR-T, S^CMWF_56, S^SNWWF_80, S^WPWF_80, S_BGBW_BWMP_270, S_BLYTHB1_GE_ZERO, S_BLYTHB1_LE_ZERO, S_OUT_STRENGTH_2200 | Modified | SA Generation | ​SA: Updated outage set for Bungama 275/132kV TX OOS. Added Bungama BESS, added a thermal equation, added limits as per ElectraNet's limit advice dated 27/02/26 | Constraint Equation
2026-02-25 | N-WAGGA_330_BUSA | N::V_WA_BUSA_BWSW, N::V_WA_BUSA_MSDD, N::V_WA_BUSA_UTMS, N:V_WA_BUSA_BWRG, N:V_WA_BUSA_BYYS, N>>V_051+X5_65_66, N>>V_051+X5_66_65, N_AVLSF1_0INV, N_BHBESS_G_37INV, N_BHBESS_L_37INV, N_BOMENSF1_0INV, N_BROKENH1_0INV, N_COLEASF1_0INV, N_DARLSF1_0INV, N_DPESS_G_0INV, N_DPESS_L_0INV, N_FINLYSF1_0INV, N_HILLSTSF1_0INV, N_JUNEESF1_0INV, N_LIMBESS1_G_121INV, N_LIMBESS1_L_121INV, N_LIMOSF1_0INV, N_LIMOSF21_11_INV, N_RESS1_G_0INV, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_SEBSF1_0INV, N_STR_AVLSF1_0_I, N_STR_BHBESS_37_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMBESS1_121_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_11_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_SUNRSF1_0INV, N_URANQ11_ZERO, N_URANQ12_ZERO, N_URANQ13_ZERO, N_URANQ14_ZERO, N_WAGGNSF1_0INV, N_WSTWYSF1_0INV, N_WYASF1_0INV, V>>N_051+X5_65_66, V>>N_051+X5_66_65, V_KIAMSF_FLT_50 | Modified | NSW Generation | ​NSW - Updated Wagga 330kV bus A outage set as per OM523 18/09/2025 | Constraint Equation
2026-02-25 |  | V_MWWF12_30WT | Marked for Archival | Victorian Generation | ​VIC - Archive constraint which no longer needed | Constraint Equation
2026-02-25 | S-NIL | S>NIL_HUWT_STBG | Modified | SA Generation | SA: Updated system normal set by updating thermal constraint S>NIL_HUWT_STBG. Refer to ElectraNet's limit advice dated 25/02/26 | Constraint Equation
2026-02-24 | Q-CS_-300, Q-X_WUTB_WO_VC_C, Q-X_WUTB_WO_VC_O | Q^CS_-300 | New Set(S), New Constraint(s) | Qld Generation | ​QLD - New multiple outage sets for H40 Wurdong to H63 Teebar Creek(819) 275kV line and H5 Woolooga SVC. Added -300 MW offset set for CS voltage stability. | Constraint Equation
2026-02-24 | S-PPPG_PELPT_BC-CP | V::S_NIL_MG_PS_3, V^^S_NIL_MG_PS_3 | Modified | SA Generation | ​SA: Updated set description and set content. Archive equations no longer needed | Constraint Equation
2026-02-24 |  | V::S_NIL_MG_PS_CP_2, V^^S_NIL_MG_PS_CP_2 | Marked for Archival | SA Generation | ​SA: Updated set description and set content. Archive equations no longer needed | Constraint Equation
2026-02-24 |  | N>72_94T_75, N>72_998_75, N>9ML+94X_94T_75, N>9ML_94T_75 | Modified | NSW Generation | ​NSW - Updated equations with Stubbo SCR TTS OM605 | Constraint Equation
2026-02-23 | Q-CLRKC_SYNCON | Q-CKWF_MVAR, Q_CLRKCWF1_ZERO, Q_CLRKCWF2_ZERO, Q_STR_CKWF_I | New | Qld Generation | ​QLD - New single outage set for Clarke Creek Syncon | Constraint Equation
2026-02-23 | N-ER34_0750 | N_ER34_0750 | New Set(S), New Constraint(s) | NSW Generation | ​NSW - Upper limit of 750 MW for Eraring 3 + Eraring 4 | Constraint Equation
2026-02-23 | V-SWVIC_WF_25PCT, V-SW_WF_70PCT | V_GPWFWST1_0WT, V_GPWFWST1_FLT_0, V_GPWFWST2_0WT, V_GPWFWST2_FLT_0, V_MLB01_GE_FLT_0, V_MLB01_G_0INV, V_MLB01_LE_FLT_0, V_MLB01_L_0INV | New | Victorian Generation | VIC - Added 0MW and 0 turbine/inverter limits for Golden Plains wind farm Stage 2 and Mortlake Battery. Limits advice 20/02/2026. Added EMS master entries for Mortlake Battery inverter availability and Golden Plains wind farm stage 2 turbine availability. | Constraint Equation
2026-02-23 | V-BUCW, V-BUHO, V-CWHO | V_MURRAWR1_FLT_15, V_MURRAWR2_FLT_15, V_MWWF1_30WT, V_MWWF2_30WT | New | Victorian Generation | VIC - New separate upper turbine availability and MW limits for Murra Warra 1 and 2 wind farms. Limits advice 19/02/2026. | Constraint Equation
2026-02-23 | N-WGWGA_99W | N>99W_9R5_99X | New Set(S), New Constraint(s) | NSW Generation | NSW - Created new constraint set for 99W or 99X line outage | Constraint Equation
2026-02-23 | N-ER_TX | N>>ERTX_12_14, N>>ERTX_13_14 | New | NSW Generation + Interconnectors | ​NSW - Added thermal equations to Eraring tie transformer outage set | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines