## Constraint Changes
NEM Constraint Library Changes Report for the week 9 March 2026 to 15 March 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-03-08 |  | N>NIL_PKTX_LV | Modified | NSW Generation | ​NSW - Remove Quorn Park SF and BESS from equation | Constraint Equation
2026-03-06 | Q-TR_TRBK_-1000, Q-X_TRBK2+TRME | Q^^TR_TRBK_-1000 | New Set(s), New Constraint(s) | Qld Generation | ​QLD - New multiple outage set for 827+875+837 | Constraint Equation
2026-03-06 | N-SNCN_1100, N-SNCN_1200, N-SNCN_1300, N-SNCN_1400, N-SNCN_1500 | N_SNCN_1100, N_SNCN_1200, N_SNCN_1300, N_SNCN_1400, N_SNCN_1500 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - Added new discretionary limit equation for Snowy-Canberra cutset (both directions) | Constraint Equation
2026-03-06 | N-CNSN_0200, N-CNSN_0300, N-CNSN_0400, N-CNSN_0500, N-CNSN_0600, N-CNSN_0700, N-CNSN_0800, N-CNSN_0900, N-CNSN_1000, N-CNSN_1100, N-CNSN_1200, N-CNSN_1300, N-CNSN_1400, N-CNSN_1500, N-CNSN_1600, N-CNSN_1700, N-CNSN_1800, N-CNSN_1900, N-CNSN_2000 | N_CNSN_0200, N_CNSN_0300, N_CNSN_0400, N_CNSN_0500, N_CNSN_0600, N_CNSN_0700, N_CNSN_0800, N_CNSN_0900, N_CNSN_1000, N_CNSN_1100, N_CNSN_1200, N_CNSN_1300, N_CNSN_1400, N_CNSN_1500, N_CNSN_1600, N_CNSN_1700, N_CNSN_1800, N_CNSN_1900, N_CNSN_2000 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - Added new discretionary limit equation for Snowy-Canberra cutset (both directions) | Constraint Equation
2026-03-06 |  | N>973_999_NIL_N | Modified | NSW Generation | ​NSW - PD performance improvement for N>973_999_NIL_N | Constraint Equation
2026-03-06 |  | N>>NIL_01_62, N>>NIL_060, N>>NIL_07, N>>NIL_1, N>>NIL_16_18, N>>NIL_16_39, N>>NIL_16_3W, N>>NIL_16_76, N>>NIL_16_8, N>>NIL_18_16, N>>NIL_18_4_N, N>>NIL_18_4_S, N>>NIL_18_5_N, N>>NIL_18_5_S, N>>NIL_18_61, N>>NIL_18_8, N>>NIL_1_3, N>>NIL_1_3_LSC1_ON, N>>NIL_1_6X, N>>NIL_1_6X_LSC1_ON, N>>NIL_1_7, N>>NIL_1_7_LSC1_ON, N>>NIL_23_22, N>>NIL_23_25, N>>NIL_3, N>>NIL_33_34, N>>NIL_39, N>>NIL_39_11, N>>NIL_39_17, N>>NIL_3G, N>>NIL_3L, N>>NIL_3L_18_N, N>>NIL_3L_3J_N, N>>NIL_3L_3P_N, N>>NIL_3L_3W, N>>NIL_3L_5_N, N>>NIL_3_7, N>>NIL_3_7_LSC1_ON, N>>NIL_3_7_LSC2_ON, N>>NIL_4, N>>NIL_4_18_S, N>>NIL_4_5_N, N>>NIL_4_5_S, N>>NIL_4_61_N, N>>NIL_4_61_S, N>>NIL_4_6_S, N>>NIL_5_18_N, N>>NIL_5_18_S, N>>NIL_5_3J_N, N>>NIL_5_3L_N, N>>NIL_5_3P_N, N>>NIL_5_3W, N>>NIL_5_4_S, N>>NIL_5_61_N, N>>NIL_5_61_S, N>>NIL_5_6_S, N>>NIL_61_18, N>>NIL_61_3L, N>>NIL_61_3W, N>>NIL_61_4, N>>NIL_61_5, N>>NIL_64_65, N>>NIL_6M_66, N>>NIL_6X, N>>NIL_6X_1, N>>NIL_6X_3, N>>NIL_70_71, N>>NIL_76_77, N>>NIL_77_76, N>>NIL_7_1, N>>NIL_7_1_LSC1_ON, N>>NIL_7_3, N>>NIL_7_3_LSC1_ON, N>>NIL_7_3_LSC2_ON, N>>NIL_81, N>>NIL_81_31, N>>NIL_81_82_CLOSE, N>>NIL_81_82_OPEN, N>>NIL_82, N>>NIL_82_81_CLOSE, N>>NIL_82_81_OPEN, N>>NIL_83_84_CLOSE, N>>NIL_84_83_CLOSE, N>>NIL_8_16, N>>NIL_8_18, N>>NIL_8_3W, N>>NIL_964_84_S, N>>NIL_964_88_S, N>>NIL_990, N>>NIL_991, N>>NIL_994, N>>NIL_996_62, N>>NIL_9W2_9W8, N>>NIL_9_18_N, N>>NIL_9_18_S, N>>NIL_9_6, N>>NIL_X3_060, N>>V_NIL_65, N>>V_NIL_65_66, N>>V_NIL_66, N>>V_NIL_66_65, N>NIL_051, N>NIL_64_S, N>NIL_6M_N, N>NIL_945_947, N>NIL_947_94T, N>NIL_94B, N>NIL_94K_1, N>NIL_94M, N>NIL_94T, N>NIL_94T_75, N>NIL_94T_79, N>NIL_94T_947, N>NIL_973, N>NIL_993, N>NIL_998, N>NIL_998_18, N>NIL_999, N>NIL_999_9GL, N>NIL_999_S, N>NIL_99F, N>NIL_9GL, N>NIL_9GM, N>NIL_9ML, N>NIL_9R5, N>NIL_9R5_9R6, N>NIL_9R6, N>NIL_9R6_991, N>NIL_9R6_9R5, N>NIL_PKTX_LV, N>NIL_YSTX_LV, N^^N_NIL_1, N^^N_NIL_WGLT, V>>N_NIL_65, V>>N_NIL_65_66, V>>N_NIL_66, V>>N_NIL_66_65 | Modified | NSW Generation | ​NSW - Updated N-NIL to include Quorn Park SF and BESS | Constraint Equation
2026-03-05 | S-ACMA, S-ACMA_BC-2CP, S-ACPA, S-ACPA_BC-2CP, S-AC_CB6066, S-AC_CB6066_BC-2CP, S-AC_CB6163, S-AC_CB6163_BC-2CP, S-MA2MA3, S-MA2MA3_BC-2CP, S-MAMAP2, S-MAMAP2_BC-2CP, S-MAMO, S-MAMO_BC-2CP | S_MANNUMB1_GE_0_IDS, S_MANNUMB1_LE_0_IDS | New | SA Generation | ​SA: Updated outage sets with Mannum BESS zero constraint equations. Refer to ElectraNet's limit advice dated 05/03/2026 | Constraint Equation
2026-03-05 | N-PKWL_94K_2 | N>94K2_999_9GL, N>94K2_9GM_9GL | New | NSW Generation | ​NSW - Updated 94K/2 outage set with new thermal equations | Constraint Equation
2026-03-04 | S-X_MNWT+BRMN+CB | S-MN_0, S-OUT_WTPT_SC+INV_1, S-OUT_WTPT_SC+INV_2, S>>BRMN_BWPA_CNRB, S>>BRMN_TWPA_TPRS, S>>BRMN_TWPA_WEMW4, S>>MNWT_BRTW_HUWT, S>>MNWT_BRTW_WTTP, S>>MNWT_BRTX_HUWT, S>>MNWT_BWMP_BRTW, S>>MNWT_BWMP_HUWT, S>>MNWT_BWMP_TWPA, S>>MNWT_BWMP_WTTP, S>>MNWT_CBRB_WEMWP4, S>>MNWT_NIL_WEMWP4, S>>MNWT_NIL_WTTP, S>>MNWT_RBTU_WTTP | New | SA Generation + Interconnectors | ​SA: Added a multiple outage set for the upcoming outage | Constraint Equation
2026-03-04 | S-X_MNWT+BRMN | S-MN_0, S>>BRMN_BWPA_CNRB, S>>BRMN_TWPA_TPRS, S>>BRMN_TWPA_WEMW4, S>>MNWT_BRTW_HUWT, S>>MNWT_BRTW_WTTP, S>>MNWT_BRTX_HUWT, S>>MNWT_BWMP_BRTW, S>>MNWT_BWMP_HUWT, S>>MNWT_BWMP_TWPA, S>>MNWT_BWMP_WTTP, S>>MNWT_CBRB_WEMWP4, S>>MNWT_NIL_WEMWP4, S>>MNWT_NIL_WTTP, S>>MNWT_RBTU_WTTP | Modified | SA Generation + Interconnectors | ​SA: Added a multiple outage set for the upcoming outage | Constraint Equation
2026-03-04 |  | PASA_QNI_N_200, PASA_QNI_S_500 | Modified | NSW - Qld (QNI) Interconnector | ​NSW - Update constraint to remove PD formulation as the constraint should only active in ST and MT. | Constraint Equation
2026-03-03 |  | S>NIL_BWMP_RHBR-T | Modified | SA Generation | ​SA: Improved PD performance of thermal equation | Constraint Equation
2026-03-03 | C-V_MLB01_ZERO | C_V_MLB01_ZERO_G, C_V_MLB01_ZERO_L | New Set(s), New Constraint(s) | Victorian Generation | VIC - Mortlake BESS zero MW commissioning constraint | Constraint Equation
2026-03-03 | V-BABB, V-BUCW, V-BUHO, V-CWHO, V-GPWF_ZERO, V-KGKO, V-KOWE, V-KO_WE_RC, V-MACARTHUR_ZERO, V-RCWT, V-SWVIC_WF_25PCT, V-SW_WF_70PCT | V_STR_BBWF2_0_I, V_STR_DUNDWF1_10_I, V_STR_DUNDWF1_28_I, V_STR_DUNDWF2_3_I, V_STR_DUNDWF2_7_I, V_STR_DUNDWF3_21_I, V_STR_DUNDWF3_7_I, V_STR_GPWFEST1_0_I, V_STR_GPWFEST1_10_I, V_STR_GPWFEST1_28_I, V_STR_GPWFEST2_0_I, V_STR_GPWFEST2_10_I, V_STR_GPWFEST2_29_I, V_STR_GPWFEST3_0_I, V_STR_GPWFEST3_10_I, V_STR_GPWFEST3_28_I, V_STR_GPWFWST1_0_I, V_STR_GPWFWST2_0_I, V_STR_HD1WF_16_I, V_STR_HD1WF_6_I, V_STR_MCWF_0_I, V_STR_MCWF_35_I, V_STR_MCWF_98_I, V_STR_MLB01_0_I, V_STR_MWWF1_30_I, V_STR_MWWF2_30_I, V_STR_RCWF_13_I, V_STR_RCWF_36_I, V_STR_STOCKYH_104_I, V_STR_STOCKYH_37_I | New | Victorian Generation | ​VIC - New inverter limit indication equations | Constraint Equation
2026-03-03 |  | Q>>BKBM_BKGO_BKBS, Q>>BKBM_BKGO_GBLL | Modified | Qld Generation | ​QLD - Update LHS threshold from 0.07 to 0.15 as per CFG | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines