## Constraint Changes
NEM Constraint Library Changes Report for the week 9 March 2026 to 15 March 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-03-13 |  | VS_600_TEST | Modified | Victorian Generation + Interconnectors | ​VIC/SA - Updated Heywood 600 MW testing constraint PD formulation to improve the performance | Constraint Equation
2026-03-13 | Q-TR_CLHA_-650, Q-TR_CLHA_-700, Q-TR_TRBK_-1050, Q-TR_TRBK_-1100 | Q^^TR_CLHA_-650, Q^^TR_CLHA_-700, Q^^TR_TRBK_-1050, Q^^TR_TRBK_-1100 | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Add Broadsound SF + Gunsynd SF. New offset equations | Constraint Equation
2026-03-13 |  | Q_TR_1500, Q_TR_1600, Q_TR_1700, Q_TR_1800, Q_TR_1900, Q_TR_2000, Q_TR_2100, Q_TR_2200, Q_TR_2300, Q_TR_2400, Q_TR_2500, Q_TR_2600, Q_TR_2700, Q_TR_2800, Q_TR_2900, Q_TR_3000, Q_TR_3100, Q_TR_3200, Q_TR_3250, Q_TR_3300, Q_TR_3350, Q_TR_3400, Q_TR_3450, Q_TR_3500, Q_TR_3550, Q_TR_3600, Q_TR_3650, Q_TR_3700, Q_TR_3750, Q_TR_3800, Q_TR_3850, Q_TR_3900, Q_TR_3950, Q_TR_4000, Q_TR_4050, Q_TR_4100, Q_TR_4150, Q_TR_4200, Q_TR_4250, Q_TR_4300, Q_TR_4350, Q_TR_4400, Q_TR_4450, Q_TR_4500, Q_TR_4550, Q_TR_4600, Q_TR_4650, Q_TR_4700, Q_TR_4750, Q_TR_4800 | Modified | Qld Generation | ​QLD - Add Broadsound SF + Gunsynd SF. New offset equations | Constraint Equation
2026-03-13 |  | Q^^NIL_TR_CLHA, Q^^NIL_TR_TRBK, Q^^TR_CLHA_-050, Q^^TR_CLHA_-100, Q^^TR_CLHA_-1100, Q^^TR_CLHA_-1150, Q^^TR_CLHA_-1200, Q^^TR_CLHA_-1250, Q^^TR_CLHA_-1300, Q^^TR_CLHA_-150, Q^^TR_CLHA_-200, Q^^TR_CLHA_-250, Q^^TR_CLHA_-300, Q^^TR_CLHA_-350, Q^^TR_CLHA_-400, Q^^TR_CLHA_-450, Q^^TR_CLHA_-500, Q^^TR_CLHA_-550, Q^^TR_CLHA_-570, Q^^TR_CLHA_-600, Q^^TR_CLHA_-900, Q^^TR_TRBK_-050, Q^^TR_TRBK_-100, Q^^TR_TRBK_-1000, Q^^TR_TRBK_-1100, Q^^TR_TRBK_-1150, Q^^TR_TRBK_-1200, Q^^TR_TRBK_-1250, Q^^TR_TRBK_-1300, Q^^TR_TRBK_-1350, Q^^TR_TRBK_-1400, Q^^TR_TRBK_-150, Q^^TR_TRBK_-200, Q^^TR_TRBK_-250, Q^^TR_TRBK_-300, Q^^TR_TRBK_-350, Q^^TR_TRBK_-400, Q^^TR_TRBK_-450, Q^^TR_TRBK_-500, Q^^TR_TRBK_-550, Q^^TR_TRBK_-580, Q^^TR_TRBK_-600, Q^^TR_TRBK_-650, Q^^TR_TRBK_-700, Q^^TR_TRBK_-750 | Modified | Qld Generation | ​QLD - Add Broadsound SF + Gunsynd SF. New offset equations | Constraint Equation
2026-03-13 |  | XQ^^NIL_TR_CLHA_DS, XQ^^NIL_TR_TRBK_DS | Modified | Qld Generation | ​QLD - Add Broadsound SF + Gunsynd SF. New offset equations | Constraint Function
2026-03-13 | Q-CPWO_813/1 | Q>CPGG1_CPWU_CPGG2, Q>CPGG1_GGGT2_WUTB, Q>CPGG_CPBI_CPWU, Q^CS_-240, Q_CS_1850 | Modified | Qld Generation | ​QLD - Increase LHS threshold from 0.07 to 0.15 as per CFG. Add Kidston Hydro, Broadsound SF, Bundaberg SF, Woolooga BESS | Constraint Equation
2026-03-13 | Q-CPWO_813/1 | Q>CPGG1_CPWU_CPGG2, Q>CPGG1_GGGT2_WUTB, Q>CPGG_CPBI_CPWU | Modified | Qld Generation | ​QLD - Increase LHS threshold from 0.07 to 0.15 as per CFG. Add Kidston Hydro, Broadsound SF, Bundaberg SF, Woolooga BESS | Constraint Equation
2026-03-13 | V-DUNDWF1_2_3_168 | V_DUNDWF1_2_3_168 | New Set(s), New Constraint(s) | Victorian Generation | VIC - New discretionary upper limit for total MW output from Dundonnell WF | Constraint Equation
2026-03-13 | C-Q_WAMBOWF2_006, C-Q_WAMBOWF2_051, C-Q_WAMBOWF2_099, C-Q_WAMBOWF2_186, C-Q_WAMBOWF2_247, C-Q_WAMBOWF2_ZERO, Q-WAMBOWF2_ZERO | C_Q_WAMBOWF2_006, C_Q_WAMBOWF2_051, C_Q_WAMBOWF2_099, C_Q_WAMBOWF2_186, C_Q_WAMBOWF2_247, C_Q_WAMBOWF2_ZERO, Q_WAMBOWF2_ZERO | New Set(s), New Constraint(s) | Qld Generation | QLD - Wambo 2 WF Commissioning constraints | Constraint Equation
2026-03-13 |  | Q>>TRSP_BKSP_MESP | Modified | Qld Generation + Interconnectors | ​QLD - Update PD/ST rating as advised by Powerlink. Add Broadsound SF, Bundaberg SF, Gunsynd SF, Kidston Hydro, Munna Creek, Swanbank BESS, Wambo WF2, Western Downs BESS Stage 2, Woolooga BESS, Brendale BESS | Constraint Equation
2026-03-12 | C-V_MRNBESS1_ZERO | C_V_MRNBESS1_ZERO_G, C_V_MRNBESS1_ZERO_L | New Set(s), New Constraint(s) | Victorian Generation | ​VIC - New zero MW commissioning constraint for Mornington BESS | Constraint Equation
2026-03-12 |  | X_SA_FAPR_MANNB1_DS, X_SA_FAPR_MANNB1_PD, X_SA_FAPR_TEMLB1_DS, X_SA_FAPR_TEMLB1_PD, X_SA_VULNER_DPV, X_SA_VULNER_DPV_ST | Modified | SA Generation | ​SA: Update to SA Island Contingency Limit and DPV shakeoff Vulnerability Factor Refer to AEMO's limit advice dated 24/02/26 | Constraint Function
2026-03-12 |  | S_BIPS+PV_MC, S_OSB+PV_MC, S_PELPT_GT1+2+PV_MC, S_QPS1-4+PV_MC, S_QPS5+PV_MC, S_SNPT+PV_MC, S_TBG+PV_MC, S_TIPSB1+PV_MC, S_TIPSB2+PV_MC, S_TIPSB3+PV_MC, S_TIPSB4+PV_MC | Modified | SA Generation | ​SA: Update to SA Island Contingency Limit and DPV shakeoff Vulnerability Factor Refer to AEMO's limit advice dated 24/02/26 | Constraint Equation
2026-03-12 | S-NIL, V-NIL | SVML_RAT_LIM_DYN, VSML_RAT_LIM_DYN | New | VIC/SA Generations+Interconnectors | VIC/SA - New system normal constraint to dispatch Murraylink as per the dynamic rating provided by APA. Constraints added into V-NIL and S-NIL. Dispatch only at this stage. MN 134696
2026-03-11 | N-BU-SCON1 | N_FINLEYSF_49_INV, N_STR_FINLYSF1_49_I | Modified | NSW Generation | ​NSW - Updated Buronga Syncon 1 outage set with temporary Finley limit | Constraint Equation
2026-03-11 | C-V_MLB01_005, C-V_MLB01_050, C-V_MLB01_100, C-V_MLB01_150, C-V_MLB01_225, C-V_MLB01_300 | C_V_MLB01_005_G, C_V_MLB01_005_L, C_V_MLB01_050_G, C_V_MLB01_050_L, C_V_MLB01_100_G, C_V_MLB01_100_L, C_V_MLB01_150_G, C_V_MLB01_150_L, C_V_MLB01_225_G, C_V_MLB01_225_L, C_V_MLB01_300_G, C_V_MLB01_300_L | New Set(s), New Constraint(s) | Victorian Generation | VIC - Commissioning constraints for Mortlake BESS | Constraint Equation
2026-03-11 | V-NIL | V>>NIL_BEBA_ARWBBA | New | Vic - NSW Interconnector + Generators | VIC - Added new equation to prevent O/L of Bendigo to Ballarat 220kV line to Vic system normal set | Constraint Equation
2026-03-10 |  | F_Q+85_L1, F_Q+85_R1, F_Q+86_L1, F_Q+86_R1, F_Q+8C_L1, F_Q+8C_R1, F_Q+8E_L1, F_Q+8E_R1, F_Q+8U_L1, F_Q+8U_R1, F_Q+BCDM_L1, F_Q+BCDM_R1, F_Q+LDMU_L1, F_Q+LDMU_R1, F_Q+LDTW_L1, F_Q+LDTW_R1, F_Q+MMTUM_L1, F_Q+MMTUM_R1, F_Q+MUTW_L1, F_Q+MUTW_R1, F_Q+TUMMR_L1, F_Q+TUMMR_R1 | Modified | NSW/QLD Generations+Interconnectors | ​FCAS - Increase cap on QLD local R1 / L1 FCAS dispatch for outages with credible QLD island risk Cap increased from 100 to 200 MW | Constraint Equation
2026-03-10 | Q-H13RS_SVC | Q^CN_FDR-200, Q^CN_GT-150, Q^FNQ_8905_-100, Q_STR_7C0K_HASF_4, Q_STR_7C0K_HASF_4_I, Q_STR_7C2K_BRDSF_1, Q_STR_7C2K_BRDSF_1_I, Q_STR_A9_CLRSF, Q_STR_A9_CLRSF_I, Q_STR_A9_COLSF, Q_STR_A9_COLSF_I, Q_STR_A9_DAYSF, Q_STR_A9_DAYSF_I, Q_STR_A9_HAMSF, Q_STR_A9_HAMSF_I, Q_STR_A9_HAYSF, Q_STR_A9_HAYSF_I, Q_STR_A9_KBWF, Q_STR_A9_KBWF_I, Q_STR_A9_KEP, Q_STR_A9_KEP_I, Q_STR_A9_KIDSF, Q_STR_A9_KIDSF_I, Q_STR_A9_MEWF, Q_STR_A9_MEWF_I, Q_STR_A9_RRSF, Q_STR_A9_RRSF_I, Q_STR_A9_RUGSF, Q_STR_A9_RUGSF_I, Q_STR_A9_SMSF, Q_STR_A9_SMSF_I, Q_STR_A9_WHTSF, Q_STR_A9_WHTSF_I | New | Qld Generation | ​QLD - Updated Ross SVC outage set for system strenght and voltage stability limits | Constraint Equation
2026-03-09 | Q-X_RSVC+TUSTX | Q^CN_FDR-200, Q^CN_GT-150, Q^FNQ_8905_-110 | New Set(s), Existing Constraint(s) | Qld Generation | ​QLD - New Multiple outage set - Ross SVC + Tully 275/132kV txfmr | Constraint Equation
2026-03-08 |  | N>NIL_PKTX_LV | Modified | NSW Generation | ​NSW - Remove Quorn Park SF and BESS from equation | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines