## Constraint Changes
NEM Constraint Library Changes Report for the week 8 April 2024 to 14 April 2024
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2024-04-12 |  | F_S+TBG_R5, F_S+TBG_R5_70M, F_S+TBG_R6_2, F_S+TBG_R6_2_0_70M, F_S+TBG_R6_2_ZERO, F_S+TBG_R6_3, F_S+TBG_R6_3_0_70M, F_S+TBG_R6_3_ZERO, F_S+TBG_R60, F_S+TBG_R60_70M, F_S+TBL_L5, F_S+TBL_L6_2, F_S+TBL_L6_2_ZERO, F_S+TBL_L6_3, F_S+TBL_L6_3_ZERO, F_S+TBL_L60 | Modified | SA Generation + Interconnectors | ​SA: Updated constraints by adding a single BDU for Torrens Island Battery. | Constraint Equation
2024-04-12 |  | F_S+TBG_R5, F_S+TBG_R5_70M, F_S+TBG_R6_2, F_S+TBG_R6_2_0_70M, F_S+TBG_R6_2_ZERO, F_S+TBG_R6_3, F_S+TBG_R6_3_0_70M, F_S+TBG_R6_3_ZERO, F_S+TBG_R60, F_S+TBG_R60_70M, F_S+TBL_L5, F_S+TBL_L6_2, F_S+TBL_L6_2_ZERO, F_S+TBL_L6_3, F_S+TBL_L6_3_ZERO, F_S+TBL_L60, S_IBR_LB_000, S_IBR_LB_100, S_IBR_LB_200, S_IBR_LB_300, S_IBR_LB_400, S_IBR_LB_500, S_IBR_LB_600, S_NIL_STRENGTH_1, S_OUT_STRENGTH_2000, S_OUT_STRENGTH_2200, S_TBG+PV_190, S_TIBG1_ZERO, S_TIBL1_ZERO, S>>KHKN_SETB_SETB, S>>KHKN_SETB_SETB_2, S>>KHKN_TBSE_TBSE, S>>KHKN_TBSE_TBSE_2, S>>KHTB2_SETB_SETB, S>>KHTB2_TBSE_TBSE, S>>KNPW_SETB_SETB, S>>KNPW_TBSE_TBSE, S>>PWSE_SETB_SETB, S>>PWSE_SETB_SETB_2, S>>PWSE_TBSE_TBSE, S>>PWSE_TBSE_TBSE_2, S>>V_CGTI_PPPG_TIPA, S>>V_CGTI_TIPA_PGPA, S>>V_CGTI_TIPA_PPPG, S>>V_MGPA_TICG_TIMG, S>>V_MGPA_TIMG_TICG, S>>V_MGTI_PAMG_TICG, S>>V_MGTI_PPPW_TIPA, S>>V_MGTI_TICG_PAMG, S>>V_MGTI_TIPA_PWPA, S>>V_PATI_PGPA_TIMG, S>>V_PATI_TICG_PGPA, S>>V_PATI_TIMG_PGPA, S>NO-B2_TIKB_TINO3, S>TINO4_TIAP_TINO3, S>X_TIKB_TINO3, SA_IBR_1300, SA_IBR_1400, SA_IBR_1500, SA_IBR_1550, SA_IBR_1600, SA_IBR_1700, SA_IBR_1800, SA_IBR_1900, SA_IBR_2000, SA_IBR_2100, SA_IBR_2200, SA_IBR_2300, SA_IBR_2400, SA_ISLE_STRENGTH, SA_ISLE_STRGTH_1300, S-TIBAT1-G_0, S-TIBAT1-L_0, S-X_2DV+2RB_STRGHT_1, S-X_2DV+2RB_STRGHT_2, S-X_DV+RB_STRENGTH, V::S_BLKRG_MG_TIBG1, V::S_HYSE_MG_TIBG1, V::S_HYSE_MG_TIBG1_2, V::S_SETB_MG_TIBG1, V::S_SETB_MG_TIBG1_2, V::S_TBTU_MG_TIBG1, V::S_TBTU_MG_TIBG1_2 | Modified | SA Generation + Interconnectors | ​SA: Updated constraints by adding a single BDU for Torrens Island Battery. | Constraint Equation
2024-04-12 |  | SA_METRO_GEN_ON, X_SA_MAXG_ALLST, X_SA_MAXG_LT_DS, X_SA_MAXG_LT_PD, X_SA_MAXG_ST_DS, X_SA_MAXG_ST_PD, X_SA_METG_ALLST, X_SA_METG_LT_DS, X_SA_METG_LT_PD, X_SA_METG_ST_DS, X_SA_METG_ST_PD | Modified | SA Generation + Interconnectors | ​SA: Updated constraints by adding a single BDU for Torrens Island Battery. | Constraint Function
2024-04-12 | S-X_DALR_ISLAND | F_S_DLBAT-G_L5, F_S_DLBAT-G_L6, F_S_DLBAT-G_L60, F_S_DLBAT-G_R5, F_S_DLBAT-G_R6, F_S_DLBAT-G_R60, F_S_DLBAT-L_L5, F_S_DLBAT-L_L6, F_S_DLBAT-L_L60, F_S_DLBAT-L_R5, F_S_DLBAT-L_R6, F_S_DLBAT-L_R60, S_DLBAT-G_ISL, S_DLBAT-L_ISL | New | SA Generation | ​SA: Added Multiple sets for the outage of both Dalrymple 132/33 kV transformers | Constraint Equation
2024-04-12 |  | S>>BR6069_CLBR_MW4RB, S>>BR6069_CLNBR_HUWT | Modified | SA Generation + Interconnectors | ​SA - Added Goyder WF1A, 1B, Mannum SF 2, RB-PA 275 kV decommissioned | Constraint Equation
2024-04-12 | I-JNWO_RADIAL, N-JNWG_RADIAL, N-LTWG_RADIAL | N_JUNEESF1_0INV | New & Modified | NSW Generation | ​Add Junee zero MW and inverter constraints to 051, 060 and 62 constraint sets | Constraint Equation
2024-04-12 |  | N>>14_39_12, N>>77_39_11, N>>77_39_76, N>>8_39_16, N>>NIL_39_11, N>>NIL_39_17 | Modified | NSW Generation + Interconnectors | NSW - ​Replaced smoothing calc for 39 line rating with new dynamic rating forecast in PD and ST | Constraint Equation
2024-04-12 |  | V^^V_MLNK_KGTS, V^^V_NIL_KGTS, V^^V_NIL_KGTS_2 | Modified | NSW Generation + Interconnectors | ​VIC - Updated constraints to add Broken Hill BESS | Constraint Equation
2024-04-11 | Q-WDWN_BESS_BDU_ZERO | Q_WDBESS1_GE_ZERO, Q_WDBESS1_LE_ZERO | New Set(s), New Constraint(s) | Qld Generation | ​QLD - ZERO constraint sets added for Western Downs BESS | Constraint Equation
2024-04-11 | Q-WDWN_BESS_GL_ZERO | Q_WDBESSG1_ZERO, Q_WDBESSL1_ZERO | New Set(s), New Constraint(s) | Qld Generation | ​QLD - ZERO constraint sets added for Western Downs BESS | Constraint Equation
2024-04-10 | I-SV_750_TEST, I-SV_800_TEST, I-SVS_1000_TEST, I-SVS_950_TEST, I-VS_800_TEST, I-VSS_1020_TEST | S:V_750_HY_TEST, S:V_750_HY_TEST_DYN, S:V_800_HY_TEST, S:V_800_HY_TEST_DYN, S:VS_1000_HY_TEST, S:VS_1000_HYTEST_DYN, S:VS_950_HY_TEST, S:VS_950_HY_TEST_DYN, V:S_800_HY_TEST, V:S_800_HY_TEST_DYN, V:SS_1020_HY_TEST, V:SS_1020_HYTEST_DYN | New Set(s), New Constraint(s) | Vic - SA (Heywood) Interconnector + Murraylink | ​VIC - New discretionary constraints for HEYWOOD full upgrade + PEC1 testing | Constraint Equation
2024-04-09 | Q-RSVC+WRVC | Q_STR_7C2K_CLRSF_6, Q_STR_7C2K_CLRSF_6_I, Q_STR_7C2K_COLSF_6, Q_STR_7C2K_COLSF_6_I, Q_STR_7C2K_DAYSF_6, Q_STR_7C2K_DAYSF_6_I, Q_STR_7C2K_HAMSF_6, Q_STR_7C2K_HAMSF_6_I, Q_STR_7C2K_HAYSF_6, Q_STR_7C2K_HAYSF_6_I, Q_STR_7C2K_KBWF_6, Q_STR_7C2K_KBWF_6_I, Q_STR_7C2K_KEP_6, Q_STR_7C2K_KEP_6_I, Q_STR_7C2K_KIDSF_6, Q_STR_7C2K_KIDSF_6_I, Q_STR_7C2K_MEWF_6, Q_STR_7C2K_MEWF_6_I, Q_STR_7C2K_RRSF_6, Q_STR_7C2K_RRSF_6_I, Q_STR_7C2K_RUGSF_6, Q_STR_7C2K_RUGSF_6_I, Q_STR_7C2K_SMSF_6, Q_STR_7C2K_SMSF_6_I, Q_STR_7C2K_WHTSF_6, Q_STR_7C2K_WHTSF_6_I | Modified | Qld Generation | ​QLD - Created new set for Ross+ Woree SVC outage system strength requirement | Constraint Equation
2024-04-08 |  | F_I+BIP_ML_L1, F_I+GFT_TG_R1, F_I+NIL_APD_TL_L1, F_I+NIL_MG_R1, F_I+TTS_TG_R1, F_MAIN++APD_TL_L1, F_MAIN++BIP_ML_L1, F_MAIN++GFT_TG_R1, F_MAIN++NIL_MG_R1, F_MAIN++TTS_TG_R1, F_MAIN+APD_TL_L1, F_MAIN+BIP_ML_L1, F_MAIN+GFT_TG_R1, F_MAIN+NIL_BL_L1, F_MAIN+NIL_BL_R1, F_MAIN+NIL_MG_R1, F_MAIN+TTS_TG_R1 | Modified | FCAS Requirements | ​FCAS - Increase caps on dispatch of R1 and L1 FCAS | Constraint Equation
2024-04-08 | F-I_FFR_GLOBAL_2 | F_I+BIPP_ML_L1, F_I+GFTT_TG_R1, F_I+NILL_APD_TL_L1, F_I+NILL_MG_R1, F_I+TTSS_TG_R1, F_MAINN++APD_TL_L1, F_MAINN++BIP_ML_L1, F_MAINN++GFT_TG_R1, F_MAINN++NIL_MG_R1, F_MAINN++TTS_TG_R1, F_MAINN+APD_TL_L1, F_MAINN+BIP_ML_L1, F_MAINN+GFT_TG_R1, F_MAINN+NIL_BL_L1, F_MAINN+NIL_BL_R1, F_MAINN+NIL_MG_R1, F_MAINN+TTS_TG_R1 | Modified | FCAS Requirements | ​FCAS - Increase caps on dispatch of R1 and L1 FCAS | Constraint Equation
2024-04-08 | F-I_WDS | F_I+WDS_L5, F_I+WDS_L6, F_I+WDS_L60, F_I+WDS_R5, F_I+WDS_R6, F_I+WDS_R60, F_MAIN++WDS_L5, F_MAIN++WDS_L6, F_MAIN++WDS_L60, F_MAIN++WDS_R5, F_MAIN++WDS_R6, F_MAIN++WDS_R60, F_MAIN+WDS_L5, F_MAIN+WDS_L6, F_MAIN+WDS_L60, F_MAIN+WDS_R5, F_MAIN+WDS_R6, F_MAIN+WDS_R60 | New & Modified | Qld Generation | ​QLD - Create new FCAS set for loss of QLD Western downs and Surat regions (southerly flows on Fdr 8904 or 8866 +8867 and northerly flow on Braemar 330/275kV no 2 Transformer) | Constraint Equation
2024-04-08 |  | X_WS_FLOW | New & Modified | Qld Generation | ​QLD - Create new FCAS set for loss of QLD Western downs and Surat regions (southerly flows on Fdr 8904 or 8866 +8867 and northerly flow on Braemar 330/275kV no 2 Transformer) | Constraint Function

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines