## Constraint Changes
NEM Constraint Library Changes Report for the week 14 July 2025 to 20 July 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-07-18 | N-X_BU_SC45 |  | Marked for Archival | Victorian Generation | ​NSW - Updated set description | Constraint Equation
2025-07-18 | N-BU_SC_4_5 | V_KIAMAL_SC_DYN | Modified | Victorian Generation | ​NSW - Updated set description | Constraint Equation
2025-07-18 |  | S>>MKRB_BRTW_WTTP, S>>MKRB_BWMP_TWPA, S>>MKRB_BWMP_WTTP, S>>MKRB_BWPA_BRTW, S>>MKRB_BWPA_WEMWP4, S>>MKRB_CNRB_WEMWP4, S>>MKRB_CNRB_WTWE, S>>MKRB_NIL_CNRB, S>>MKRB_NIL_WEMWP4, S>>MKRB_NIL_WTTP, S>>MKRB_RBTU_TWPA, S>>MKRB_RBTX1_WEMWP4, S>>MKRB_TWPA_TPRS, S>>MKRB_TWPA_WEMP4, S>>MKRB_WEMP4_WTTP, S>>MKRB_WTTP_WEMP4, S>MKRB_BWMP_HUWT, S>MKRB_BWPA_CNRB | Modified | SA Generation + Interconnectors | SA- Updated thermal constraint equations for the upcoming outage of Mokota-Robertstown 275kV line. Added Templers BESS, Bungama BESS and PEC-1 changes in thermal | Constraint Equation
2025-07-18 | S-TB_CB6596 | S::V_TB35_TBSE, S>>TB94_SETB2_TBMO, S>>TB94_TBSE2_MOTB, V::S_TBCB94_35_SETB, V^^S_TBCB94_35_SETB | Modified | SA Generation + Interconnectors | SA- Updated set description and set content for the outage of Tailem Bend 275kV CB6596 O/S | Constraint Equation
2025-07-18 | V-BUCW, V-BUHO, V-CWHO | V_MWWF12_30WT | New | Victorian Generation | ​VIC - Add turbine limit on Murra Warra wind farm 1 + 2 for outages between Crowlands and Horsham | Constraint Equation
2025-07-18 | Q-X_HATR2+HA_275BUS | Q>>X_HATR2_HATR_HATR, Q^^TR_CLHA_-600, Q^^TR_TRBK_-700 | New Set(s), Existing Constraint(s) | Qld Generation and Interconnectors | ​QLD - New constraint set two S2 Halys - H18 Tarong 275kV feeder + Bus/CB outage at S2 Halys | Constraint Equation
2025-07-16 | S-MKRB, S-MKRB_BC-2CP | V::S_DVRB_MG_1, V::S_DVRB_MG_2, V^^S_DVRB_MG_1, V^^S_DVRB_MG_2 | Modified | SA Generation + Interconnectors | SA: Updated outage stability equations with PEC-1 changes. Out=Mokota-Robertstown 275kV line; Out = Davenport - Belalie 275kV line | Constraint Equation
2025-07-16 | S-DVBL, S-DVBL_BC-2CP | S>>DVBL_BRTW_WEMWP4, S>>DVBL_BRTW_WTTP, S>>DVBL_BWMP_TWPA, S>>DVBL_BWMP_WEMWP4, S>>DVBL_BWPA_BRTW, S>>DVBL_BWPA_WTTP, S>>DVBL_CNRB_WEMWP4, S>>DVBL_LKDV_RBMWP4, S>>DVBL_LKDV_WEWT, S>>DVBL_MNCLN_WTTP, S>>DVBL_RBTU_WEWT, S>>DVBL_RBTU_WTTP, S>>DVBL_TWPA_TPRS, S>>DVBL_TWPA_WEMWP4, S>>DVBL_WTTP_WEMWP4, S>DVBL_BWMP_RHBR-T, S>DVBL_BWPA_CNRB, S>DVBL_BWPA_HUWT, S_DVRB_270, V::S_DVRB_MG_1, V^^S_DVRB_MG_1, V::S_DVRB_MG_2, V^^S_DVRB_MG_2 | Modified | SA Generation + Interconnectors | SA: Updated outage stability equations with PEC-1 changes. Out=Mokota-Robertstown 275kV line; Out = Davenport - Belalie 275kV line | Constraint Equation
2025-07-16 |  | S::V_MAMO_TBSE | Modified | SA Generation + Interconnectors | SA-Updated stability constraint equation with PEC-1 changes. Out=Mannum - Mannum Adelaide Pump 2 132kV line | Constraint Equation
2025-07-15 | Q-X_H35TX+RSTVS2 | Q-CLRSF_MVAR, Q-SMSF_MVAR, Q_CLARESF1_ZERO, Q_SMCSF1_ZERO, Q_STR_CLRSF_I, Q_STR_SMSF_I | New Set(s), Existing Constraint(s) | Qld Generation | ​QLD - New constraint set, limit Clare SF + Sun Metals SF 0MW for 7156+7249+Strathmore txfmr outage | Constraint Equation
2025-07-14 | I-X_BDBU+HYSE, S-X_BDBU+BC_CP, S-X_BDBU+TBSE, S-X_BDBU+TBSE_BC-2CP | S:V_BDBU+HYSE_01, S:V_BDBU+HYSE_02, V::S_BDBU+HYSE_03, V::S_BDBU+HYSE_05, V::S_BDBU+HYSE_06, V::S_BDBU+HYSE_07, V::S_BDBU+HYSE_08, V::S_BDBU+HYSE_09, V::S_BDBU+HYSE_10, V::S_BDBU+HYSE_11, V::S_BDBU+HYSE_12, V::S_BDBU+HYSE_13, V::S_BDBU+HYSE_14, V^^S_BDBU+HYSE_04, S::V_BDBU+BC_TBSE_2, S:VS_BDBU+BC_700, S:V_BDBU+BC_550, V::S_BDBU+BC_MAXG_3, V::S_BDBU+BC_TBSE_2, V:SS_BDBU+BC_790, V:S_BDBU+BC_570, V^S_HYCP_SC_OS, V^^S_BDBU+BC_MAXG_3, V^^S_BDBU+BC_TBSE_2, S::V_BDBU+TBSE1_01, V::S_BDBU+TBSE1_02, V::S_BDBU+TBSE1_03, V::S_BDBU+TBSE1_05, V::S_BDBU+TBSE1_06, V::S_BDBU+TBSE1_07, V::S_BDBU+TBSE1_08, V::S_BDBU+TBSE1_09, V::S_BDBU+TBSE1_10, V::S_BDBU+TBSE1_11, V::S_BDBU+TBSE1_12, V::S_BDBU+TBSE1_13, V::S_BDBU+TBSE1_14, V^^S_BDBU+TBSE1_04, S::V_BDBU+TBSE_01, V::S_BDBU+TBSE_02, V::S_BDBU+TBSE_03, V::S_BDBU+TBSE_05, V::S_BDBU+TBSE_06, V::S_BDBU+TBSE_07, V::S_BDBU+TBSE_08, V::S_BDBU+TBSE_09, V::S_BDBU+TBSE_10, V::S_BDBU+TBSE_11, V::S_BDBU+TBSE_12, V::S_BDBU+TBSE_13, V::S_BDBU+TBSE_14, V^^S_BDBU+TBSE_04 | Modified | SA Generation + Interconnectors | ​SA: Updated set description by removing Buronga #5 PST | Constraint Equation
2025-07-14 |  | S_BLYTH_A_NOGEN, S_BLYTH_B_NOGEN, S_BLYTH_CHARGE, S_BLYTH_DISCHARGE, S_BLYTH_NOCHARGE, S_HPR_A_NOGEN, S_HPR_B_NOGEN, S_HPR_CHARGE, S_HPR_DISCHARGE, S_HPR_NOCHARGE, S_LKB_A_NOGEN, S_LKB_B_NOGEN, S_LKB_CHARGE, S_LKB_DISCHARGE, S_LKB_NOCHARGE, S_TB2_A_NOGEN, S_TB2_B_NOGEN, S_TB2_CHARGE, S_TB2_DISCHARGE, S_TB2_NOCHARGE, S_TIB_A_NOGEN, S_TIB_B_NOGEN, S_TIB_CHARGE, S_TIB_DISCHARGE, S_TIB_NOCHARGE, V_BATS_A_NOGEN, V_BATS_B_NOGEN, V_BATS_CHARGE, V_BATS_DISCHARGE, V_BATS_NOCHARGE, V_BULG_A_NOGEN, V_BULG_B_NOGEN, V_BULG_CHARGE, V_BULG_DISCHARGE, V_BULG_NOCHARGE, V_GANN_A_NOGEN, V_GANN_B_NOGEN, V_GANN_CHARGE, V_GANN_DISCHARGE, V_GANN_NOCHARGE, V_HWB_A_NOGEN, V_HWB_B_NOGEN, V_HWB_CHARGE, V_HWB_DISCHARGE, V_HWB_NOCHARGE, V_RANGB_A_NOGEN, V_RANGB_B_NOGEN, V_RANGB_CHARGE, V_RANGB_DISCHARGE, V_RANGB_NOCHARGE, V_VBB_A_NOGEN, V_VBB_A_NOGEN_SIPS, V_VBB_B_NOGEN, V_VBB_CHARGE, V_VBB_CHARGE_SIPS, V_VBB_DISCHARGE, V_VBB_DISCHARGE_SIPS, V_VBB_NOCHARGE, V_VBB_NOCHARGE_SIPS | Modified | SA Generation | ​VIC & SA - Update CVP of BESS MSL constraints from 1 to 3 | Constraint Equation
2025-07-14 |  | N>>NIL_BU_PST_ML_E, N>>NIL_BU_PST_ML_W | Marked for Archival | NSW Generation | NSW - ​Commissioning of 4 phase-shifting transformers (PSTs) at Buronga | Constraint Equation
2025-07-14 | S-SECB6611_10, S-SECB6611_10_BC-2CP | S::V_SEVC1_TBSE, V::S_SEVC1_SETB, V^^S_SEVC1_SETB, V::S_SEVC_SETB, V^^S_SEVC_SETB | Modified | SA Generation + Interconnectors | SA: Updated set description and set content for the outage of either one of South East CB 6611 Or 6605 Or 6610 Or 6604 | Constraint Equation
2025-07-14 | S-BUNGBAT1_0 | S_BUNGAMB1_GE_ZERO, S_BUNGAMB1_LE_ZERO | New Set(s), New Constraint(s) | SA Generation | ​SA: Added new SPDID and permitted term for upcoming Bungama BESS. Created discretionary zero set | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines