## Constraint Changes
NEM Constraint Library Changes Report for the week 21 July 2025 to 27 July 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-07-25 | S-BWBAT1_0 | F_S_BLYTHB1_L1, F_S_BLYTHB1_L5, F_S_BLYTHB1_L6, F_S_BLYTHB1_L60, F_S_BLYTHB1_LREG, F_S_BLYTHB1_R1, F_S_BLYTHB1_R5, F_S_BLYTHB1_R6, F_S_BLYTHB1_R60, F_S_BLYTHB1_RREG | New | SA Generation | SA-Added Zero FCAS constraints for the Blyth BESS | Constraint Equation
2025-07-25 | F-S_BWBAT1_0 | F_S_BLYTHB1_L1, F_S_BLYTHB1_L5, F_S_BLYTHB1_L6, F_S_BLYTHB1_L60, F_S_BLYTHB1_LREG, F_S_BLYTHB1_R1, F_S_BLYTHB1_R5, F_S_BLYTHB1_R6, F_S_BLYTHB1_R60, F_S_BLYTHB1_RREG | New Set(s), New Constraint(s) | SA Generation | SA-Added Zero FCAS constraints for the Blyth BESS | Constraint Equation
2025-07-25 |  | N>>12_13_37, N>>12_39_14 | Modified | NSW Generation + Interconnectors | NSW updated 12 line outage for Hunter, Culcarin, Eraring BESS, Walla Walla and Stubbo. Improved PD | Constraint Equation
2025-07-24 | I-SV_000_DYN | S_V_000_HY_DYN | Marked for Archival | Vic - SA (Heywood) Interconnector | ​SA/VIC - Remove duplicate constraint set/equation | Constraint Equation
2025-07-23 | N-DBWL_ONE | N>94F_94J_NIL | Modified | NSW Generation | NSW - Updated description of N-DWBL_ONE | Constraint Equation
2025-07-23 | N-BWMP_ONE, N-SOWL_79, N-SOWS_7M, N-WLMP_72, N-WOWS_75 | N_BODWF1_20WT_DAY, N_BODWF1_D12WT_N25WT, N_BODWF1_D15WT_N25WT, N_CRWF1_22WT_DAY, N_CRWF1_D14WT_N29WT, N_CRWF1_D16WT_N29WT, N_STR_BODWF1_12_25_I, N_STR_BODWF1_15_25_I, N_STR_BODWF1_D20_I, N_STR_CRWF1_14_29_I, N_STR_CRWF1_16_29_I, N_STR_CRWF1_D22_I | New & Modified | NSW Generation | ​NSW - Update with Day&Night limits of Bodangora WF and Crudine Ridge WF as per OM521 08/07/2025 | Constraint Equation
2025-07-23 |  | X_CW_NSW_NIGHT_PD | New & Modified | NSW Generation | ​NSW - Update with Day&Night limits of Bodangora WF and Crudine Ridge WF as per OM521 08/07/2025 | Constraint Function
2025-07-23 |  | N_CRWF1_14WT_DAY, N_CRWF1_16WT_DAY | Marked for Archival | NSW Generation | ​NSW - Update with Day&Night limits of Bodangora WF and Crudine Ridge WF as per OM521 08/07/2025 | Constraint Equation
2025-07-22 | V-KGKO |  | Modified | Victorian Generation | ​VIC - Updated contraint set to remove Inverter indication constraint on Bannerton and Wemen SF for outage of Kerang - Koorangie. | Constraint Equation
2025-07-22 | N-WAGGA_330_BUSB, N-WA_CB5012_1, N-WA_CB5012_2 | N::V_WA_BUSB_BWSW, N::V_WA_BUSB_MSDD, N::V_WA_BUSB_UTMS, N::V_WA_CB5012_BWSW, N::V_WA_CB5012_MSDD, N::V_WA_CB5012_UTMS, N:V_WA_BUSB_BWRG, N:V_WA_BUSB_BYYS, N:V_WA_CB5012_BWRG, N:V_WA_CB5012_BYYS, N>>WA_BUSB_WG_TX_NIL | Marked for Archival | NSW Generation + Interconnectors | NSW - Archive Wagga 330kV bus B and Wagga 330kV CB5012 constraints as per OM523 11/07/2025 | Constraint Equation
2025-07-21 | C-N_HUNTER1_140, C-N_HUNTER1_188, C-N_HUNTER1_291, C-N_HUNTER1_366, C-N_HUNTER2_140, C-N_HUNTER2_188, C-N_HUNTER2_291, C-N_HUNTER2_366 | C_N_HUNTER1_140, C_N_HUNTER1_188, C_N_HUNTER1_291, C_N_HUNTER1_366, C_N_HUNTER2_140, C_N_HUNTER2_188, C_N_HUNTER2_291, C_N_HUNTER2_366 | New Set(s), New Constraint(s) | NSW Generation | NSW - commissioning constraints for Hunter power project | Constraint Equation
2025-07-21 | V-SWVIC_WF_25PCT | V_DUNDWF_84, V_DUNDWF_20WT, V_GPWF_183, V_GPWF_30WT, V_HD1WF_6WT, V_HD1WF_22, V_MACWF_105, V_MCWF_35WT, V_RCWF_51, V_RCWF_13WT, V_STOCKYH_37WT, V_STOCKYH_127 | New Set(s), New Constraint(s) | Victorian Generation | ​VIC - New discretionary constraint to limit SW VIC WF to 25% of their total MW and Turbine capacity | Constraint Equation
2025-07-21 | V-SW_WF_70PCT | V_DUNDWF_20WT, V_DUNDWF_84, V_GPWF_183, V_GPWF_30WT, V_HD1WF_22, V_HD1WF_6WT, V_MACWF_105, V_MCWF_35WT, V_RCWF_13WT, V_RCWF_51, V_STOCKYH_127, V_STOCKYH_37WT | New | Victorian Generation | ​VIC - New discretionary constraint to limit SW VIC WF to 25% of their total MW and Turbine capacity | Constraint Equation
2025-07-21 | S-TBTU, S-TBTU_BC-2CP | V::S_TBTU_SETB, V::S_TBTU_SETB_2 | New & Modified | SA Generation + Interconnectors | SA-Updated set content. Updated stability constraints equation description as per ElectraNet's limit advice dated 19/09/24 | Constraint Equation
2025-07-21 |  | V>>KMCB_BABE_KMRC, V>>KMCB_BABE_KMRC_1, V>>KTSM_SMSY_SMSY_R2, V>>KTSM_SMSY_SMSY_R5 | Modified | Victorian Generation + Interconnectors | VIC - Update to include MREH and Culcairn SF | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines