## Constraint Changes
NEM Constraint Library Changes Report for the week 28 July 2025 to 3 August 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-08-01 | C-N_LIMOSF11_055, C-N_LIMOSF11_110, C-N_LIMOSF11_165, C-N_LIMOSF11_220 | C_N_LIMOSF11_055, C_N_LIMOSF11_110, C_N_LIMOSF11_165, C_N_LIMOSF11_220 | New Set(s), New Constraint(s) | NSW Generation | ​Commissioning / hold point constraints for Limondale Solar Farm #1 | Constraint Equation
2025-07-31 |  | V>>BDBU_DDSM_DDSM, V>>BDBU_DDSM_DDSM_SI, V>>BDBU_DDTX1_NIL, V>>BDBU_DDTX2_NIL, V>>BDBU_DDTX3_NIL, V>>BDBU_ELML_BAML2, V>>BDBU_EPTT_DDSM_SI, V>>BDBU_MBDD_MBDD, V>>BDBU_MLSY_MLSY, V>>BDBU_SMDD_SMDD, V>>BDBU_SMTX_SMTX_R2, V>>BDBU_SMTX_SMTX_R5 | Modified | Victorian Generation + Interconnectors | VIC - Update to include MREH | Constraint Equation
2025-07-31 |  | N>>NIL_84_88_S, N>>NIL_85_86_S, N>>NIL_86_85_S, N>>NIL_86_8U_S, N>>NIL_88_84_S, N>>NIL_8U_86_S | Modified | NSW Generation + Interconnectors | NSW - update for Waratah SIPS operation, new gens at Hunter, Culcairn, Eraring BESS and Limondale BESS and improved PD | Constraint Equation
2025-07-30 |  | V>>DBL_MSDD_MSDD, V>>DBL_MSDD_MSDD_SIP, V>>DBT_DDTX1_DDTX, V>>DBT_DDTX2_DDTX, V>>DBT_DDTX3_DDTX, V>>DDGN_BABE_DDGN, V>>DDGN_DDSH_DDGN, V>>DDMS_DDWO_DDMS, V>>DDMS_WOJIN_DDMS, V>>DDSH_DDGN1_DDGN3, V>>DDSM_BABE_SMDD, V>>DDSM_EPTT_DDSM, V>>DDSM_SHBE_DDSM, V>>DDTX1_2_DDTX3_NIL, V>>DDTX1_3_DDTX2_NIL, V>>DDTX1_DDTX2_DDTX3, V>>DDTX1_DDTX3_DDTX2, V>>DDTX2_3_DDTX1_NIL, V>>DDTX2_DDTX1_DDTX3, V>>DDTX2_DDTX3_DDTX1, V>>DDTX3_DDTX1_DDTX2, V>>DDTX3_DDTX2_DDTX1, V>>HWYP1_YPHW2_1_T, V>>HWYP1_YPRO5_3_T, V>>HWYP1_YPRO78_2_T | Modified | Victorian Generation + Interconnectors | ​VIC - Update to include MREH and Culcairn SF | Constraint Equation
2025-07-30 |  | Q_STR_7C0K_CKWF_1, Q_STR_7C0K_CKWF_1_I, Q_STR_7C0K_CKWF_2, Q_STR_7C0K_CKWF_2_I, Q_STR_7C0K_CKWF_3, Q_STR_7C0K_CKWF_3_I, Q_STR_7C0K_CKWF_4, Q_STR_7C0K_CKWF_4_I | Marked for Archival | Qld Generation | ​QLD - Remove Clarke Creek WF system strength equations from outage sets. NOTE: Clarke Creek WF to be managed by system normal moving forward | Constraint Equation
2025-07-30 | Q-CQ_SEMI_RAMP_ZERO, Q-NCQ_SEMI_RAMP_ZERO, Q-NCQ_SEMI_ZERO | Q_CQ_SEMI_RAMP_ZERO, Q_NCQ_SEMI_RAMP_ZERO, Q_NCQ_SEMI_ZERO | Modified | Qld Generation | ​QLD - Remove Clarke Creek WF system strength equations from outage sets. NOTE: Clarke Creek WF to be managed by system normal moving forward | Constraint Equation
2025-07-29 | N-LTWG_RADIAL | N::V_LTWG, N>>051_07_03_R, N>>051_07_1_R, N>>051_1_07_R, N>>051_1_6X_R, N>>051_9_03_R, N>>051_9_2_R, N>>V_051+X5_65_66, N>>V_051_65_03_R, N>>V_051_65_07_R, N>>V_051_65_64_R, N>>V_051_65_6X_R, N^^V_BADP_1, N^^V_LTWG_1, N_AVLSF1_0INV, N_AVLSF1_ZERO, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BOMENSF1_0INV, N_BOMENSF1_ZERO, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_LIMOSF21_0INV, N_LIMOSF21_ZERO, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_0_I, N_STR_BHBESS_0_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_URANQ11_ZERO, N_URANQ12_ZERO, N_URANQ13_ZERO, N_URANQ14_ZERO, N_WAGGNSF1_0INV, N_WAGGNSF1_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, SVML_FLT_130, V::N_LTWG_S1, V::N_LTWG_S2, V::N_LTWG_SD, V::N_LTWG_V1, V::N_LTWG_V2, V>>051+X5_67_68_N, V>>051+X5_67_68_S, V>>051+X5_67_68_SIPS, V>>051+X5_68_67_S, V>>051+X5_68_67_SIPS, V>>N_051+X5_65_66, V>>N_051+X5_66_65, V>>X5_BABE_SHBE, V>>X5_BEKG_CWBUHO, V>>X5_BUHO_BEKG, V>>X5_KGWE_CWBUHO, V>>X5_SHBE_NIL, V>>X5_WBBA_KGBE, V>>X5_WERC_CWBUHO, V^SML_BUDP_3, V^^N_BADP_1, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | Modified | NSW Generation | ​NSW - Added Limondale 2 SF 0MW and 0 Inverter limit to 051 set | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines