## Constraint Changes
NEM Constraint Library Changes Report for the week 19 January 2026 to 25 January 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-01-23 | N-BU-SCON1 | N_FINLEYSF_49_INV, N_STR_FINLYSF1_49_I | Modified | NSW Generation | ​NSW - Updated Buronga Syncon 1 outage set with temporary Finly limit | Constraint Equation
2026-01-22 | N-BABU | N::V_BUDP_BWSW, N::V_BUDP_MSDD, N::V_BUDP_UTMS, N:V_BUDP_BWRG, N:V_BUDP_BYYS, N>>V_X3_65_66, N>>V_X3_66_65, N^^V_BADP_1, N_BROKENH1_0INV, N_COLEASF1_FLT_50, N_DARLSF_FLT_100, N_FINLYSF_FLT_50, N_LIMOSF1_0INV, N_STR_BROKENH1_0_I, N_STR_LIMOSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STWF1_0WT, N_SUNRSF1_0INV, SVML_FLT_130, V>>N_X3_65_66, V>>N_X3_66_65, V>>X3_BABE_SHBE, V>>X3_BEKG_CWBUHO, V>>X3_BUHO_BEKG, V>>X3_KGWE_CWBUHO, V>>X3_MSDD1_MSDD2, V>>X3_MSDD1_MSDD2_S, V>>X3_MSDD2_MSDD1, V>>X3_MSDD2_MSDD1_S, V>>X3_SHBE_NIL, V>>X3_WBBA_KGBE, V>>X3_WERC_CWBUHO, V^SML_BUDP_3, V^^N_BADP_1, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | Modified | NSW Generation | ​NSW - Updated line X3 outage set as per OM521 18/09/2025 | Constraint Equation
2026-01-22 | C-V_TRGBESS1_005 | C_V_TRGBESS1_005_G, C_V_TRGBESS1_005_L | New Set(s), New Constraint(s) | Victorian Generation | ​VIC - Replaced Terang BESS commissioning HP0 3 MW constraint with new 5 MW constraint | Constraint Equation
2026-01-22 | C-V_TRGBESS1_003 | C_V_TRGBESS1_003_G, C_V_TRGBESS1_003_L | Marked for Archival | Victorian Generation | ​VIC - Replaced Terang BESS commissioning HP0 3 MW constraint with new 5 MW constraint | Constraint Equation
2026-01-22 |  | S::V_NIL_TBSE_2, S>>BWMP_BGBR_HUWT, S>>BWMP_BRTW_WEMWP4, S>>BWMP_BRTW_WTTP, S>>BWMP_CNRB_TWPA, S>>BWMP_CNRB_WEMWP4, S>>BWMP_DVBR_BGTX2, S>>BWMP_DVBR_RHBG-T, S>>BWMP_HUWT_RHBG-T, S>>BWMP_MKRB_BRTW, S>>BWMP_MKRB_WEMWP4, S>>BWMP_NIL_WEMWP4, S>>BWMP_NIL_WTTP, S>>BWMP_RBTU_BRTW, S>>BWMP_RBTU_RBTU, S>>BWMP_RBTU_TWPA, S>>BWMP_RBTU_WTTP, S>>BWMP_TPDR_TPRS, S>>BWMP_TPRS_TWPA, S>>BWMP_TPRS_WEMWP4, S>>BWMP_TWPA_TPRS, S>>BWMP_TWPA_WEMWP4, S>>BWMP_WEMWP4_WTTP, S>>BWMP_WTTP_WTWE, S>BWMP_MKRB_CNRB, V::S_KNPW_MAXG, V::S_KNPW_SETB, V::S_NIL_MG_PS_N-2_1, V^^S_KNPW_MAXG | Modified | SA Generation + Interconnectors | ​SA: Updated constraints for CFG threshold update | Constraint Equation
2026-01-21 |  | N::N_03+4_1, N::N_03+5_1, N::N_2+8_1, N::N_2_5_1, N::N_3L+07_1, N::N_3L+11_1, N::N_3L+2_1, N::N_4+07_1, N::N_4+17_1, N::N_4+1_1, N::N_4+5_1, N::N_5+07_1, N::N_61+76_1, N::N_BYMP_TWO_1, N::N_CNCW_1, N::N_CNSD_1, N::N_CTMN_1, N::N_MNYS_1 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-21 |  | N::N_03+4_2, N::N_03+5_2, N::N_2+8_2, N::N_2_5_2, N::N_3L+07_2, N::N_3L+11_2, N::N_3L+2_2, N::N_4+07_2, N::N_4+17_2, N::N_4+1_2, N::N_5+07_2, N::N_61+76_2, N::N_BYCR_2, N::N_BYMP_TWO_2, N::N_CNCW_2, N::N_CNSD_2, N::N_CTMN_2, N::N_MNYS_2 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-21 | S-X_HUWT+HUBG | S-SNWWF_0, S>>HUBG_BGDV_WEMWP4, S>>HUBG_BGDV_WTWE, S>>HUBG_BLDV_WEWT, S>>HUBG_BLDV_WTTP, S>>HUBG_BWMP_WEWT, S>>HUBG_LKDV_WEWT, S>>HUBG_LKDV_WTTP, S>>HUBG_MNCLN_WEMWP4, S>>HUBG_MNCLN_WTWE, S>>HUBG_RBTU_WEWT, S>>HUBG_RBTU_WTTP, S>>HUBG_RBTX1_WEWT, S>>HUBG_WTTP_WEMWP4, S>>HUBG_WTTP_WTWE, S>>HUWT_BRTX_MNWT, S>>HUWT_BWPA_BRTW, S>>HUWT_BWPA_TWPA, S>>HUWT_RBTU_WEWT, S>HUWT_BWPA_RHBR-T | New Set(s) | SA Generation | ​SA: Added multiple outage set for the upcoming outage of Hummocks - Waterloo 132 kV line + Bungama - Hummocks 132 kV line. Updated with CFG threshold update. | Constraint Equation
2026-01-21 |  | N>NIL_999 | Modified | NSW Generation | ​NSW - Updated N>NIL_999 to improve PD performance | Constraint Equation
2026-01-21 |  | S::V_TBTU_TBSE_2, V::S_TBTU_MAXG_2, V::S_TBTU_MG_BIPS_2, V::S_TBTU_MG_PPGT1_2, V::S_TBTU_MG_PPGT2_2, V::S_TBTU_MG_PPST_2, V::S_TBTU_MG_SNPT_2, V::S_TBTU_MG_TIBG1_2, V::S_TBTU_MG_TPSB1_2, V::S_TBTU_MG_TPSB2_2, V::S_TBTU_MG_TPSB3_2, V::S_TBTU_MG_TPSB4_2, V::S_TBTU_SETB_2, V^^S_TBTU_MAXG_2 | Modified | SA Generation + Interconnectors | ​SA: Updated outage set with CFG threshold update. | Constraint Equation
2026-01-21 |  | S::V_TBTU_TBSE, V::S_TBTU_MAXG, V::S_TBTU_MG_BIPS, V::S_TBTU_MG_PPGT1, V::S_TBTU_MG_PPGT2, V::S_TBTU_MG_PPST, V::S_TBTU_MG_SNPT, V::S_TBTU_MG_TIBG1, V::S_TBTU_MG_TPSB1, V::S_TBTU_MG_TPSB2, V::S_TBTU_MG_TPSB3, V::S_TBTU_MG_TPSB4, V::S_TBTU_SETB, V^^S_TBTU_MAXG | Modified | SA Generation + Interconnectors | ​SA: Updated outage set with CFG threshold update. | Constraint Equation
2026-01-21 |  | S::V_TBSE_TBSE_2, V::S_SETB_MAXG_2, V::S_SETB_MG_BIPS_2, V::S_SETB_MG_PPGT1_2, V::S_SETB_MG_PPGT2_2, V::S_SETB_MG_PPST_2, V::S_SETB_MG_SNPT_2, V::S_SETB_MG_TIBG1_2, V::S_SETB_MG_TPSB1_2, V::S_SETB_MG_TPSB2_2, V::S_SETB_MG_TPSB3_2, V::S_SETB_MG_TPSB4_2, V^^S_SETB_MAXG_2 | Modified | SA Generation + Interconnectors | ​SA: Updated outage set with CFG threshold update. | Constraint Equation
2026-01-21 |  | S::V_TBSE_TBSE, V::S_SETB_MAXG, V::S_SETB_MG_BIPS, V::S_SETB_MG_PPGT1, V::S_SETB_MG_PPGT2, V::S_SETB_MG_PPST, V::S_SETB_MG_SNPT, V::S_SETB_MG_TIBG1, V::S_SETB_MG_TPSB1, V::S_SETB_MG_TPSB2, V::S_SETB_MG_TPSB3, V::S_SETB_MG_TPSB4, V^^S_SETB_MAXG | Modified | SA Generation + Interconnectors | ​SA: Updated outage set with CFG threshold update. | Constraint Equation
2026-01-20 |  | N>NIL_999_9GL | Modified | NSW Generation | ​NSW - Updated N>NIL_999_9GL to include swamping logic for line 973 O/S | Constraint Equation
2026-01-20 |  | N::N_CTYS_1, N::N_CTYS_2 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-20 |  | N::N_CTMN_1_OPEN, N::N_CTMN_2_OPEN | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-19 | N-GRYS_3J_15M | N::N_GRYS_1, N::N_GRYS_2, N>3J_998_18, N>3J_998_3L, N>3J_998_4, N>3J_998_5, N>>3J_35_36_S, N>>3J_36_35_N, N>>3J_4_5_N, N>>3J_4_5_S | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-19 | N-CRGR_3H | N::N_CRGR_1, N::N_CRGR_2, N>3H_998_18, N>3H_998_4, N>3H_998_5, N>>3H_35_36, N>>3H_36_35, N>>3H_3L_5, N>>3H_3L_5_S, N>>3H_4_5, N>>3H_4_5_N, N>>3H_5_4_N | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-19 | N-GRRP_3P | N::N_GRRP_1, N::N_GRRP_2, N>3P_998_18, N>3P_998_4, N>3P_998_5, N>>3P_35_36_S, N>>3P_36_35_N, N>>3P_4_5_N, N>>3P_4_5_S | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-19 |  | N>>3H_998_18, N>>3H_998_4, N>>3H_998_5, N>>3J_998_18, N>>3J_998_3L, N>>3J_998_4, N>>3J_998_5, N>>3P_998_18, N>>3P_998_4, N>>3P_998_5 | Marked for Archival | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-19 |  | N::N_MNYS_1_OPEN, N::N_MNYS_2_OPEN | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines