## Constraint Changes
NEM Constraint Library Changes Report for the week 26 January 2026 to 1 February 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-01-30 |  | N::N_CNLT_1, N::N_CNLT_2, N>>07_03_1, N>>07_1_03, N>>07_1_9, N>>V_07_65_03, N>>V_07_65_66, V>>N_07_65_03, V>>N_07_65_66 | Modified | NSW Generation + Interconnectors | ​NSW - Updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-30 |  | N::N_CTMN_1, N::N_CTMN_2, N>>4_18_5_N, N>>4_18_5_S, N>>4_3H_5_N, N>>4_3H_5_S, N>>4_3H_NIL_N, N>>4_3J_5_N, N>>4_3J_5_S, N>>4_3J_NIL_N, N>>4_3P_5_N, N>>4_3P_5_S, N>>4_3P_NIL_N, N>>4_3W_5_N, N>>4_3W_5_S, N>>4_5_18_N, N>>4_5_18_S, N>>4_5_39_S, N>>4_5_3H_N, N>>4_5_3H_S, N>>4_5_3J, N>>4_5_3J_S, N>>4_5_3P, N>>4_5_3P_S, N>>4_5_3W, N>>4_5_3W_N, N>>4_5_6, N>>4_5_61, N>>4_5_61_N, N>>4_5_6_S, N>>4_5_N, N>>4_5_S, N>>4_61, N>>4_61_5_N, N>>4_61_5_S, N>>4_6_5_N, N>>4_6_5_S, N>>4_998_18, N>>4_998_3H, N>>4_998_5, N>>4_998_61 | Modified | NSW Generation + Interconnectors | ​NSW - Updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-30 |  | N>>3L_18_5_N, N>>3L_18_5_S, N>>3L_3W_5_N, N>>3L_3W_5_S, N>>3L_5_18_N, N>>3L_5_18_S, N>>3L_5_3J, N>>3L_5_3W, N>>3L_5_6, N>>3L_5_61, N>>3L_5_N, N>>3L_5_S, N>>3L_61, N>>3L_61_5_N, N>>3L_61_5_S | Modified | NSW Generation + Interconnectors | ​NSW - Updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-30 | S-MOTB, S-TB_CB6594 | S>>MOTB_TBTU_TBTU, S>>MOTB_TUTB_TUTB, S_TBSF+BAT_120, V::S_MOTB_MAXG, V::S_MOTB_SETB, V^^S_MOTB_MAXG, V^^S_MOTB_SETB, S::V_TB35_TBSE, S>>TB94_SETB2_TBMO, S>>TB94_TBSE2_MOTB, V::S_TBCB94_35_SETB, V^^S_TBCB94_35_SETB | Modified | SA Generation + Interconnectors | ​SA: Updated Set description and set content for the outage sets | Constraint Equation
2026-01-30 | S-X_BG_WEMWP4, S-X_MOTB+TBBUS, S-X_MOTB+TBUS_BC-2CP | S>>X_BG_WEMWP4_01, S>>X_BG_WEMWP4_02, S>>X_BG_WEMWP4_03, S>>X_BG_WEMWP4_04, S>>X_BG_WEMWP4_05, S>>X_BG_WEMWP4_06, S>>X_BG_WEMWP4_07, S>X_BG_WEMWP4_08, S>X_BG_WEMWP4_09, S>X_BG_WEMWP4_10, S>X_BG_WEMWP4_11, S>X_BG_WEMWP4_12, | Marked for Archival | SA Generation | ​SA: Archive constraint sets and equations no longer needed | Constraint Equation
2026-01-30 | V-X_NWV_220_RESECURE | N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_LIMBESS1_GE_ZERO, N_LIMBESS1_G_0INV, N_LIMBESS1_LE_ZERO, N_LIMBESS1_L_0INV, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_STR_BHBESS_0_I, N_STR_BROKENH1_0_I, N_STR_LIMBESS1_0_I, N_STR_LIMOSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, VSML_ZERO, V_BANNERTSF_ISL_0, V_BANSF_0INV, V_BULBES1_GE_ISL_0, V_BULBES1_LE_ISL_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_COHUNASF_0INV, V_COHUNASF_ISL_0, V_CRWARP_0INV, V_CRWARP_FLT_0, V_GANNB1_GE_FLT_0, V_GANNB1_LE_FLT_0, V_GANWRSF_0INV, V_GANWRSF_ISL_0, V_KARADSF_FLT_0, V_KARSF_0INV, V_KERNGSP1_0INV, V_KERNGSP1_FLT_0, V_KIAMAL_0INV, V_KIAMAL_ISL_0, V_KIATA_0WT, V_KIATA_ISL_0, V_MURRAWR2_FLT_0, V_STR_BANSF_0_I, V_STR_BULBESS_0_I, V_STR_COHUNASF_0_I, V_STR_CRWARP_0_I, V_STR_GANWRSF_0_I, V_STR_KARSF_0_I, V_STR_KERNGSP1_0_I, V_STR_KIAMSF_0_I, V_STR_KIATA_0_I, V_STR_WEMENSF_0_I, V_STR_YATPSF_0_I, V_WEMENSF_0INV, V_WEMENSF_ISL_0, V_YATPSF_0INV, V_YATPSF_FLT_0 | Modified | Victorian Generation | ​VIC - Remove KOTS BESS limitation for re-securing condition in NW VIC. | Constraint Equation
2026-01-29 | V_CRWARP1_100 | V_CRWARP1_100 | New Set(s), New Constraint(s) | Victorian Generation | NSW - Added Carwarp Solar Farm 100 MW upper limit to X3 outage set | Constraint Equation
2026-01-29 | N-BABU, V_CRWARP1_100 | N::V_BUDP_BWSW, N::V_BUDP_MSDD, N::V_BUDP_UTMS, N:V_BUDP_BWRG, N:V_BUDP_BYYS, N>>V_X3_65_66, N>>V_X3_66_65, N^^V_BADP_1, N_BROKENH1_0INV, N_COLEASF1_FLT_50, N_DARLSF_FLT_100, N_FINLYSF_FLT_50, N_LIMOSF1_0INV, N_STR_BROKENH1_0_I, N_STR_LIMOSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STWF1_0WT, N_SUNRSF1_0INV, SVML_FLT_130, V>>N_X3_65_66, V>>N_X3_66_65, V>>X3_BABE_SHBE, V>>X3_BEKG_CWBUHO, V>>X3_BUHO_BEKG, V>>X3_KGWE_CWBUHO, V>>X3_MSDD1_MSDD2, V>>X3_MSDD1_MSDD2_S, V>>X3_MSDD2_MSDD1, V>>X3_MSDD2_MSDD1_S, V>>X3_SHBE_NIL, V>>X3_WBBA_KGBE, V>>X3_WERC_CWBUHO, V^SML_BUDP_3, V^^N_BADP_1, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_CRWARP1_100, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | Modified | Victorian Generation | NSW - Added Carwarp Solar Farm 100 MW upper limit to X3 outage set | Constraint Equation
2026-01-29 |  | @S:DCGEN96, F_N_ASNENC1_R1, F_N_DRVIOT03_R1, F_Q_ASQENC1_R1, F_Q_DRVIOT04_R1, F_T_DRVIOT05_R1, F_T+MAXS_L5, F_T+MAXS_L6, F_T+MAXS_L60, F_V_DRVIOT02_R1, F_V_VENUS1_R1, N_BERYLSF1_33, N_BODWF1_42, N_CRWF1_52, N_GNNDHSF1_100, N_GOONSF1_20, N_GOONSF1_25, N_GOONSF1_26, N_GOONSF1_45, N_MANSLR1_17, N_METZSF_106, N_METZSF_43, N_METZSF_72, N_MOLNGSF1_11, N_MOREESF1_021, N_MOREESF1_035, N_MOREESF1_055, N_NEWENSF1+2_139, N_NEWENSF1+2_153, N_NEWENSF1+2_222, N_NEWENSF1+2_361, N_NYNGANSF_39, N_PARSF1_19, N_SAPHWF1_101, N_SAPHWF1_169, N_SUNTPSF1_57, N_WRWSF_060, N_WRWSF_066, N_WRWSF_095, N_WRWSF_110, N_WRWSF_163, ZZZZZZ | Marked for Archival | NSW Generation + Interconnectors | ​Multiple regions - Archive orphaned constraints no longer required | Constraint Equation
2026-01-29 | N-NIL | N>NIL_945_947 | New | NSW Generation | ​NSW - Added a new system normal thermal equation monitoring 945 on trip of 947 | Constraint Equation
2026-01-29 |  | I_6F_NS_000, I_6F_NS_050, I_6F_NS_100, I_6F_NS_150, I_6F_SN_000, I_6F_SN_050, I_6F_SN_100, I_6F_SN_150 | Modified | NSW Generation + Interconnectors | ​NSW - PEC stage 1 constraints - CFG changes and add Limondale and improve PD/ST | Constraint Equation
2026-01-29 | C-N_QUORNP_006, C-N_QUORNP_009, C-N_QUORNP_017, C-N_QUORNP_018, C-N_QUORNP_019, C-N_QUORNP_040_H, C-N_QUORNP_040_S, C-N_QUORNP_080_H, C-N_QUORNP_080_S | C_N_QUORNP_002_L_H, C_N_QUORNP_006_G_H, C_N_QUORNP_009_G_B, C_N_QUORNP_009_L_B, C_N_QUORNP_009_L_H, C_N_QUORNP_017_G_H, C_N_QUORNP_018_G_S, C_N_QUORNP_019_G_B, C_N_QUORNP_019_L_B, C_N_QUORNP_019_L_H, C_N_QUORNP_040_G_H, C_N_QUORNP_040_G_S, C_N_QUORNP_080_G_H, C_N_QUORNP_080_G_S | New(Sets), New Constraint(s) | NSW Generation | ​NSW - added new commissioning/hold point constraints for Quorn Park Solar Hybrid | Constraint Equation
2026-01-28 |  | N>94T_945_94K, N>94T_947_72, N>94T_94K1_945 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-28 |  | N>>96L_96R_96C_87 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-28 |  | N>>93_24_90, N>>93_90_24 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-28 |  | N>WLTX_944_WLTX, N>WLTX_949_WLTX, N>WLTX_94T_947, N>WLTX_94T_WLTX, N>WLTX_94X_WLTX, N>WLTX_998_WLTX | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-28 |  | N>79_94T_72, N>79_998_72, N>>79_944_72, N>>79_949_72, N>>79_94X_72 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-28 | S-MO_CB6074 | S>>MB6074_MAMO_PAMA | New Set(s), New Constraint(s) | SA Generation | ​SA: Added a constraint set for upcoming outage | Constraint Equation
2026-01-28 |  | N::N_BYCR_1, N::N_BYCR_2, N>>61_35_36, N>>61_36_35, N>>61_3L_5, N>>61_4_5, N>>61_998_18, N>>61_998_4, N>>61_998_5 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generator | Constraint Equation
2026-01-28 | V-SMSC | V>>SMSC_MBEP_DDSM | New | Victorian Generation + Interconnectors | ​VIC - New constraint for outage of South Morang series cap bank added Constraint for O/L of MBTS-EPS line for trip of DDTS-SMTS line added | Constraint Equation
2026-01-27 |  | F_Q+85_L1, F_Q+85_R1, F_Q+86_L1, F_Q+86_R1, F_Q+8C_L1, F_Q+8C_R1, F_Q+8E_L1, F_Q+8E_R1, F_Q+8U_L1, F_Q+8U_R1, F_Q+BCDM_L1, F_Q+BCDM_R1, F_Q+LDMU_L1, F_Q+LDMU_R1, F_Q+LDTW_L1, F_Q+LDTW_R1, F_Q+MMTUM_L1, F_Q+MMTUM_R1, F_Q+MUTW_L1, F_Q+MUTW_R1, F_Q+TUMMR_L1, F_Q+TUMMR_R1 | Modified | FCAS Requirements | ​QLD - Increase QLD local R1 / L1 FCAS disaptch cap for credible risk of island conditions Cap increased from 20 to 100 MW. | Constraint Equation
2026-01-27 | N-BU-SCON1 | N_FINLYSF1_0INV, N_STR_FINLYSF1_0_I | Modified | NSW Generation | ​NSW - Updated Buronga Syncon 1 outage set with Finly 0 limit | Constraint Equation
2026-01-27 | V-HGMO_CRMO_N-2_M1, V-HGMO_CRMO_N-2_M2 | F_ESTN++XMLSY_L5, F_ESTN++XMLSY_L6, F_ESTN++XMLSY_L60, F_ESTN++XMLSY_R5, F_ESTN++XMLSY_R6, F_ESTN++XMLSY_R60, F_QNV++XMLSY_L5, F_QNV++XMLSY_L6, F_QNV++XMLSY_L60, F_QNV++XMLSY_R5, F_QNV++XMLSY_R6, F_QNV++XMLSY_R60, F_QNV+XMLSY_L5, F_QNV+XMLSY_L6, F_QNV+XMLSY_L60, F_QNV+XMLSY_R5, F_QNV+XMLSY_R6, F_QNV+XMLSY_R60, F_S++HYSE_L5, F_S++HYSE_L6, F_S++HYSE_L60, F_S++HYSE_R5, F_S++HYSE_R6, F_S++HYSE_R60, F_S+HYSE_L1, F_S+HYSE_R1, F_V_APD01_L5, F_V_APD01_L6, F_V_APD01_L60, F_V_APD01_R5, F_V_APD01_R6, F_V_APD01_R60, SA_ISLE_STRENGTH, SA_ISLE_STRENGTH_BU, SA_ISLE_STRGTH_1300, SV_250_LKB, SV_250_LKB_DYN, SV_250_LKB_OS, SV_250_LKB_OS_DYN, S_ISLE_CANUNDA_35, S_ISLE_CRK_60, S_ISLE_LKB1+2+3_60, S_V_ROCOF, VS_V-SA_250, VS_V-SA_250_DYN, V_MACARTHUR_ZERO, V_MOPS_APD_1, V_MOPS_APD_2, V_MOPS_MAC_NETT_600, V_S_ROCOF, V_VS_LB_CAN_50, V_VS_LB_HY_250, V_MORTLAKE12_ZERO | New Sets(s) | Victorian Generation + Interconnectors | Vic- reclassification of the Haunted Gully - Mortlake and Cressy - Mortlake 500kV lines. | Constraint Equation
2026-01-27 | V-HGMO_CRMO_N-2 |  | Marked for Archival | Victorian Generation + Interconnectors | Vic- reclassification of the Haunted Gully - Mortlake and Cressy - Mortlake 500kV lines. | Constraint Equation
2026-01-27 |  | X-CHK_MVAR_BRDDSF01 | Marked for Archival | Qld Generation | ​QLD - Restrict Broadsound SF to 5MW, +/-10MVar, 1INV available for system strength requirements. | Constraint Function
2026-01-27 |  | N^^V_03+4_1, N^^V_07+DDSM_1, N^^V_2+3L_1, N^^V_2+5_1, N^^V_3L+11_1, N^^V_4+07_1, N^^V_5+07_1, N^^V_BURC_1, N^^V_CNLT_1, N^^V_CNYS_1, N^^V_CTMN_1, N^^V_DPWG_X5_1, N^^V_DPWG_X5_RVYS_1, N^^V_GRYS_1, N^^V_JNWG_63_X5_1, N^^V_LTMS_1, N^^V_LTUT_1, N^^V_LTWG_1, N^^V_LTYS_1, N^^V_LTYS_MNYS_1, N^^V_MLNK_1, N^^V_MLNK_ARWBBA, N^^V_MSUT_1, N^^V_MSUT_CNYS_1, N^^V_MSUT_KVCW_1, N^^V_NIL_1-050, N^^V_NIL_1-100, N^^V_NIL_1-150, N^^V_NIL_1-200, N^^V_SM_SCAP, N^^V_WGWA_63_1, N^^V_X_64_DDSM_1, N^^V_X_DDSM_TWO, N^^V_X_SMDDMS_1, N^^V_X_SMDDMS_2, N^^V_X_SMTX_F_1 | Modified | NSW Generation + Interconnectors | NSW to Vic voltage collapse - update for CFG LHS threshold change | Constraint Function
2026-01-27 | Q-STR_BRDDSF01_005 | Q_BRDDSF01_005, Q_BRDDSF01_1INV, Q_BRDDSF01_MVAR, Q_STR_BRDDSF01_1_I | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Restrict Broadsound SF to 5MW, +/-10MVar, 1INV available for system strength requirements. | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines