## Constraint Changes
NEM Constraint Library Changes Report for the week 2 February 2026 to 8 February 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-02-06 |  | V>>N-DPWG_A, V>>N-DPWG_B, V>>N-DPWG_J, V>>N-DPWG_K, V>>N-DPWG_X5_A, V>>N-DPWG_X5_B, V>>N-DPWG_X5_J, V>>N-DPWG_X5_K, V>>N-MSUT_1, V>>N-MSUT_2, V>>N-MSUT_4, V>>N-UT_A2_B, V>>N_3C_66_65, V>>N_64+67/68_65_03, V>>N_64+67/68_65_07, V>>N_64+67/68_66_1, V>>N_64+67_65_66_N, V>>N_64+67_65_NIL_N, V>>N_64+67_66_65_N, V>>N_64+67_66_NIL_N, V>>N_64_65_03, V>>N_64_65_07, V>>N_64_65_66_N, V>>N_64_65_NIL_N, V>>N_64_66_1, V>>N_64_66_65_N, V>>N_64_66_NIL_N, V>>N_DDWO+63_65_66, V>>N_DDWO+63_66_65, V>>N_X3_65_66, V>>N_X3_66_65, V>>N_X5_65_66, V>>N_X5_66_65 | Modified | NSW Generation + Interconnectors | ​NSW - update for CFG 2025 LHS factor threshold change | Constraint Equation
2026-02-06 | N-GESF1_ZERO, N-QPSFB1_ZERO, N-QPSFB2_BDU_ZERO | N_GESF1_ZERO, N_QPSFB1_ZERO, N_QPSFB2_GE_ZERO, N_QPSFB2_LE_ZERO | New Set(s), New Constraint(s) | NSW Generation | ​NSW - Created new discretionary constraint for new gens | Constraint Equation
2026-02-06 |  | T:T_COMMS_CSGO | Modified | Tasmanian Generation | ​TAS - Updated constraint for CFG (2025) LHS factor threshold update | Constraint Equation
2026-02-05 | S-NIL | S>>NIL_MAMO_PAMA, V:S_460_OSC_AUTO, V:S_570_1, V:S_700 | New & Modified | SA Generation + Interconnectors | ​SA: Updated System normal set by adding and updating constraint equations
2026-02-05 |  | N_SNCN_0200, N_SNCN_0300, N_SNCN_0400, N_SNCN_0500, N_SNCN_0600, N_SNCN_0700, N_SNCN_0800, N_SNCN_0900, N_SNCN_1000 | Modified | NSW Generation + Interconnectors | ​NSW - Updated discretionary upper limits for New South Wales Snowy-Canberra cut-set with new generators and CFG 2025 | Constraint Equation
2026-02-04 |  | V::N_ESTN_HYSE_V1, V::N_ESTN_HYSE_V2, V::N_ESTN_MLMOHG_V1, V::N_ESTN_MLMOHG_V2, V::N_ESTN_TBSE_V1, V::N_ESTN_TBSE_V2, V::N_ESTN_TBTUCG_V1, V::N_ESTN_TBTUCG_V2, V::N_JNWG_V1, V::N_JNWG_V2, V::N_LT_UT_MS_S1, V::N_LT_UT_MS_S2, V::N_LT_UT_MS_V1, V::N_LT_UT_MS_V2, V::N_NIL_V1-050, V::N_NIL_V1-100, V::N_NIL_V1-150, V::N_NIL_V1-200, V::N_NIL_V1-250, V::N_NIL_V1-300, V::N_NIL_V1-350, V::N_NIL_V1-400, V::N_NIL_V1-450, V::N_NIL_V2-050, V::N_NIL_V2-100, V::N_NIL_V2-150, V::N_NIL_V2-200, V::N_NIL_V2-250, V::N_NIL_V2-300, V::N_NIL_V2-350, V::N_NIL_V2-400, V::N_NIL_V2-450, V::N_X_DDMB_S1, V::N_X_DDMB_S2, V::N_X_DDMB_V1, V::N_X_DDMB_V2, V::N_X_SMDDMS_S1, V::N_X_SMDDMS_S2, V::N_X_SMDDMS_V1, V::N_X_SMDDMS_V2, V::N_X_SMSC_V1, V::N_X_SMSC_V2, V::N_X_SMTX_F_V1, V::N_X_SMTX_F_V2 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated stability constraints for CFG (2025) update | Constraint Equation
2026-02-04 |  | V^^N_4+17_1, V^^N_BURC_1, V^^N_BYCR_1, V^^N_CNCW_1, V^^N_CNYS_1, V^^N_LTMS_1, V^^N_LTYS_MNYS_1, V^^N_MNYS_1 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated stability constraints for CFG (2025) update | Constraint Equation
2026-02-04 |  | V^^V_MLNK_KGTS | Modified | Victorian Generation + Interconnectors | ​VIC - Updated stability constraints for CFG (2025) update | Constraint Equation
2026-02-04 |  | V>>65+67/68_060_66, V>>65+67/68_66_060, V>>65+67/68_66_DDWO, V>>65+67/68_66_NIL, V>>65+67/68_DDWO_66, V>>65_DDWO_MSLT, V>>65_MSDD1_MSDD2, V>>65_MSDD1_MSDD2_S, V>>65_MSDD2_MSDD1, V>>65_MSDD2_MSDD1_S, V>>65_WOJN_MSLT, V>>66+67/68_65_NIL, V>>66+67/68_DDWO_65, V>>66_060_65, V>>66_65_060, V>>66_65_DDWO, V>>66_65_NIL_N, V>>66_DDWO_MSUT, V>>66_MSDD1_MSDD2, V>>66_MSDD1_MSDD2_S, V>>66_MSDD2_MSDD1, V>>66_MSDD2_MSDD1_S, V>>DDTX23_DDTX1_DDSM, V>>DDTX23_DDTX1_EPTT, V>>DDTX23_DDTX1_NIL1, V>>DDTX23_DDTX1_NIL2, V>>DDTX23_DDTX1_SMDD, V>>SML_BURC_2, V>>SMTX_RTBT_ROA1_R2, V>>SMTX_RTBT_ROA1_R5, V>>SMTX_RTBT_ROA1_T, V>>SMTX_RTBT_ROTT_R2, V>>SMTX_RTBT_ROTT_R5, V>>SMTX_RTBT_ROTT_T, V>>V-DDWO_RADIAL_1, V>>V-DDWO_RADIAL_1_S, V>>V-DDWO_RADIAL_2, V>>V-DPWG_01X, V>>V-DPWG_01X_SIPS, V>>V-DPWG_02X, V>>V-DPWG_02X_SIPS, V>>V-DPWG_X5_01X, V>>V-DPWG_X5_01X_SIP, V>>V_BURC_4, V>>V_X_DDGN_DDSH_1, V>>V_X_DDSH_GNSH_1, V>>V_X_DDSM_TWO, V>>X-64+65_66_DDWO, V>>X-64+65_DDWO_66, V>>X3_BABE_SHBE, V>>X3_MSDD1_MSDD2, V>>X3_MSDD1_MSDD2_S, V>>X3_MSDD2_MSDD1, V>>X3_MSDD2_MSDD1_S, V>>X3_SHBE_NIL, V>>X3_WERC_CWBUHO, V>>XMLSY_DDSM_DDSM, V>>XMLSY_DDSM_DDSM_S, V>>XMLSY_GTKT1_GTKT3, V>>XMLSY_KTDPT_KTGT, V>>X_DDGN_BABE_DDSH, V>>X_GNSH_BABE_DDSH, V>>X_MLSY_MLGT_MLGT, V>>X_SMTX_RTBT_NIL, V>>X_SMTX_RTBT_NIL_T, V>>X_SMTX_SMH1_H3_HL, V>>X_SMTX_SMH1_H3_LH, V>>X_SMTX_SMH3_H1_HL, V>>X_SMTX_SMH3_H1_LH, V>>X_SMTX_TTSM_TTSM, V>SMLBSRC4 | Modified | NSW Generation + Interconnectors | VIC/NSW - Updated thermal constraints for CFG (2025) update | Constraint Equation
2026-02-04 | V-DDWO_63, V-DDWO_X5 | N_BHBESS_G_37INV, N_BHBESS_L_37INV, N_LIMBESS1_G_121INV, N_LIMBESS1_L_121INV, N_STR_BHBESS_37_I, N_STR_LIMBESS1_121_I | New | NSW Generation | NSW - Updated Dederang-wodonga line inverter limit as per OM 526 19/09/2025
2026-02-03 |  | T>T_LFTX_4A, T>T_LFWA_4A | Modified | Tasmanian Generation | ​TAS - Update Basslink calcs in constraint functions Prep for Basslink regulated conversion | Constraint Equation
2026-02-03 |  | N>5A3+5A4/5A5_81_82, N>5A3+5A4/5A5_82_81, N>72_94T_75, N>72_94T_79, N>72_998_75, N>72_998_79, N>75_94T_72, N>75_998_72, N>7M_94T_72, N>7M_998_72, N>947+94P_94K_1, N>947+94P_94T, N>947+998_94K_1, N>94K2+947_94T_998, N>94K2+947_94T_NIL, N>94K2_94T_947, N>94K2_94T_998, N>94K2_94T_NIL, N>94P+94T_947_72, N>94P+94T_947_NIL, N>966+KK_96C_87_CB, N>966+KK_96C_87_CB_S, N>966_96C_87_CB892A, N>968_969_NIL, N>96H_966_89, N>990+991_051_67, N>990+991_WGTX2_TX3, N>990+991_WGTX3_TX2, N>9GL_999_NIL, N>9GL_999_NIL_N, N>9GL_9GM_NIL, N>9GM_9GL_NIL, N>9ML+94X_947_94T, N>9ML+94X_94T, N>9ML+94X_94T_75, N>9ML+94X_94T_79, N>9ML+94X_94T_947, N>9ML_947_94T, N>9ML_94T, N>9ML_94T_75, N>9ML_94T_79, N>9ML_94T_947, N>9R6_9R5_901, N>9R6_9R5_NIL, N>N_AR_330_BS5_TE, N>WGN1_9R6_NIL, N>WG_CB4102_9R6_9R5, N>WL_132A1_944_WLTX, N>WL_132A1_949_WLTX, N>WL_132A1_94T_947, N>WL_132A1_94T_998, N>WL_132A1_94T_NIL, N>WL_132A1_94T_WLTX, N>WL_132A1_94X_WLTX, N>WL_132A1_998_WLTX, N>WL_132B_944_WLTX, N>WL_132B_949_WLTX, N>WL_132B_94K1_NIL, N>WL_132B_94T_NIL, N>WL_132B_94T_WLTX, N>WL_132B_94X_WLTX, N>WL_132B_998_WLTX, N>X_9W2+9W7_96C_87, N>YS-CB4102_TX2_051, N>YS132B1_TX_051, N>YS132B1_TX_NIL, N>YS132B1_WGTX2_TX3, N>YS132B1_WGTX3_TX2 | Modified | NSW Generation + Interconnectors | ​NSW - Updated constraints for CFG threshold update | Constraint Equation
2026-02-03 |  | N>>060_07_03, N>>060_07_1, N>>060_1_07, N>>060_1_6X, N>>060_9_03, N>>060_9_2, N>>07_64_03, N>>0X1_65_66_N, N>>0X1_65_66_S, N>>0X1_66_65_N, N>>0X1_66_65_S, N>>10+13_30_17, N>>10+13_30_37, N>>10+13_30_77, N>>10+13_33_34, N>>10+13_70_71, N>>10+13_8_11, N>>10+13_8_18, N>>10_39_11, N>>10_8_11, N>>10_8_18, N>>11_17_13_30, N>>11_17_30_13, N>>11_17_39_31, N>>11_17_39_32, N>>11_17_39_76, N>>11_17_39_77, N>>11_17_39_NIL_N, N>>11_17_39_NIL_S, N>>12+76_11_17, N>>12+76_11_77, N>>12+76_13_37, N>>12+76_81_31, N>>12+76_82_31, N>>12+76_8_16, N>>12+77_11_76, N>>13+31/38_23_22, N>>13+31/38_23_32, N>>13+31/38_34_33, N>>13+31/38_70_71, N>>13+31/38_76_77, N>>13+31/38_77_76, N>>13+31/38_81_32, N>>13+31/38_81_5A3, N>>13+31/38_81_5A4, N>>13+31/38_81_82, N>>13+31/38_81_NIL, N>>13+31/38_82_32, N>>13+31/38_82_81, N>>13+32_23_22, N>>13+32_23_31, N>>13+32_34_33, N>>13+32_70_71, N>>13+32_76_77, N>>13+32_77_76, N>>13+32_81_31, N>>13+32_81_5A3, N>>13+32_81_5A4, N>>13+32_81_82, N>>13+32_81_NIL, N>>13+32_82_31, N>>13+32_82_81, N>>13_30_17, N>>13_30_37, N>>13_33_34, N>>13_70_71, N>>14+39_12_ERTX, N>>14+39_13_ERTX, N>>14+39_30_ERTX, N>>14+KCTX_23_KCTX, N>>14+KCTX_37_13, N>>14+KCTX_KCTX_22, N>>14+KCTX_KCTX_23, N>>14+KCTX_KCTX_25, N>>14+KCTX_KCTX_NIL, N>>14_13_17, N>>14_13_37, N>>17_11_39, N>>17_13_14, N>>17_13_30, N>>17_30_13, N>>17_39_11, N>>17_70_71, N>>18+30_16_8, N>>18+30_70_71, N>>18+30_8_10, N>>18+30_8_16, N>>18+77_11_17, N>>18+77_16_8, N>>18+77_39_11, N>>18+77_39_76, N>>18+77_70_71, N>>18+77_81_31, N>>18+77_81_82, N>>18+77_82_31, N>>18+77_82_81, N>>18+77_8_10, N>>18+77_8_16, N>>22_23_25, N>>22_23_29, N>>22_23_31, N>>22_23_32, N>>23+KCTX_22_25, N>>23+KCTX_KCTX_22, N>>23+KCTX_KCTX_25, N>>23+KCTX_KCTX_NIL, N>>24+38_23_22, N>>25_23_22, N>>25_23_31, N>>29_23_22, N>>30_13_17, N>>30_13_37, N>>30_70_71, N>>31/38+32_34_33, N>>31/38+32_81_82, N>>31/38+32_82_81, N>>31_23_22, N>>31_23_25, N>>31_23_32, N>>31_33_34, N>>31_70_71, N>>31_81_32, N>>31_81_5A3, N>>31_81_5A4, N>>31_81_82, N>>31_81_NIL, N>>31_82_32, N>>31_82_81, N>>31_82_NIL, N>>32_23_22, N>>32_23_25, N>>32_23_31, N>>32_34_33, N>>32_70_71, N>>32_81_31, N>>32_81_5A3, N>>32_81_5A4, N>>32_81_82, N>>32_81_NIL, N>>32_82_31, N>>32_82_81, N>>32_82_NIL, N>>33+34_23_22, N>>33_34_31, N>>33_34_81, N>>33_34_82, N>>33_34_NIL_N, N>>33_34_NIL_S, N>>33_34_QMAX_N, N>>35+36_11_17, N>>35+36_11_37, N>>35+36_11_61, N>>35+36_17_11, N>>35+36_37_11, N>>35+36_37_61, N>>35+36_3L_18, N>>35+36_3L_39, N>>35+36_5_3L, N>>35+36_61_18, N>>35+36_61_37, N>>35+36_61_4, N>>35+36_61_77, N>>35+36_61_NIL, N>>35+36_70_71, N>>39_77_11_76_N, N>>39_77_17_11_N, N>>39_77_4_18_N, N>>39_77_4_3W_S, N>>3C_03_07, N>>3C_07_03, N>>3C_07_6X, N>>3C_64_6X, N>>3H+39_11_17, N>>3H+39_35_36, N>>3H+39_36_35, N>>3H+39_3L_18, N>>3H+39_3L_5, N>>3H+39_4_3W, N>>3H+39_4_5_N, N>>3H+39_4_5_S, N>>3H+39_4_6, N>>3H+39_70_71, N>>3L_18_5_N_OPEN, N>>3L_18_5_S_OPEN, N>>3L_3H_5_N, N>>3L_3H_5_N_OPEN, N>>3L_3J_5_N, N>>3L_3J_5_N_OPEN, N>>3L_3J_5_S, N>>3L_3J_5_S_OPEN, N>>3L_3P_5_N, N>>3L_3P_5_N_OPEN, N>>3L_3W_5_N_OPEN, N>>3L_3W_5_S_OPEN, N>>3L_5_18_N_OPEN, N>>3L_5_18_S_OPEN, N>>3L_5_3J_OPEN, N>>3L_5_3J_S, N>>3L_5_3P, N>>3L_5_3P_OPEN, N>>3L_5_3W_OPEN, N>>3L_5_61_N, N>>3L_5_61_OPEN, N>>3L_5_6_OPEN, N>>3L_5_N_OPEN, N>>3L_5_S_OPEN, N>>3L_61_5_N_OPEN, N>>3L_61_5_S_OPEN, N>>3L_61_OPEN, N>>3L_998_18, N>>3L_998_18_OPEN, N>>3L_998_5, N>>3L_998_5_OPEN, N>>3L_998_61, N>>3L_998_61_OPEN, N>>3W+64_03_07, N>>3W+64_6X_03, N>>3W+64_6X_9, N>>3W_051_68_OPEN, N>>3W_16_8, N>>3W_16_8_OPEN, N>>3W_39_8, N>>3W_39_8_OPEN, N>>3W_3L_3J, N>>3W_3L_3J_OPEN, N>>3W_3L_3J_S, N>>3W_3L_3P_OPEN, N>>3W_3L_5_N, N>>3W_3L_5_OPEN, N>>3W_3L_5_S, N>>3W_4_5_N, N>>3W_4_5_OPEN, N>>3W_4_5_S, N>>3W_4_61, N>>3W_4_61_N, N>>3W_4_61_OPEN, N>>3W_5_3L_S, N>>3W_5_4_N, N>>3W_61, N>>3W_61_4_N, N>>3W_61_OPEN, N>>3W_70_71, N>>3W_70_71_OPEN, N>>3W_8_10, N>>3W_8_10_OPEN, N>>3W_8_16, N>>3W_8_16_OPEN, N>>3W_9, N>>3W_9_03_N, N>>3W_9_03_S, N>>4+5_18_61_N, N>>4+5_18_61_S, N>>4+5_35_36, N>>4+5_3J_18_S, N>>4+5_3J_3W_S, N>>4+5_3W_61_N, N>>4+5_3W_61_S, N>>4+5_61_18_N, N>>4+5_61_3W_N, N>>4+5_6_61_N, N>>4+5_6_61_S, N>>4_051_68_OPEN, N>>4_07_03_OPEN, N>>4_07_1_OPEN, N>>4_1_07_OPEN, N>>4_1_6X_OPEN, N>>4_3H_5_N_OPEN, N>>4_3J_5_N_OPEN, N>>4_3J_5_S_OPEN, N>>4_3P_5_N_OPEN, N>>4_3W_5_N_OPEN, N>>4_3W_5_S_OPEN, N>>4_5_18_N_OPEN, N>>4_5_18_S_OPEN, N>>4_5_3J_OPEN, N>>4_5_3P_OPEN, N>>4_5_61_OPEN, N>>4_5_6_OPEN, N>>4_5_OPEN, N>>4_61_5_N_OPEN, N>>4_61_5_S_OPEN, N>>4_61_OPEN, N>>4_998_18_OPEN, N>>4_998_3H_OPEN, N>>4_998_5_OPEN, N>>4_998_61_OPEN, N>>4_9_03_N_OPEN, N>>4_9_03_S_OPEN, N>>4_9_2_OPEN, N>>5A6+5A7_11_39, N>>5A6+5A7_11_NIL, N>>5A6+5A7_37_11, N>>5A6+5A7_37_13, N>>5A6+5A7_37_39, N>>5A6+5A7_39_11, N>>5A6+5A7_39_16, N>>5A6+5A7_39_NIL, N>>5A6+5A7_70_71, N>>5_051_68_OPEN, N>>5_07_03_OPEN, N>>5_07_1_OPEN, N>>5_18_3L, N>>5_18_3L_OPEN, N>>5_18_4, N>>5_18_4_OPEN, N>>5_1_07_OPEN, N>>5_1_6X_OPEN, N>>5_3H_4_N, N>>5_3H_4_N_OPEN, N>>5_3J_4_N, N>>5_3J_4_N_OPEN, N>>5_3J_4_S, N>>5_3J_4_S_OPEN, N>>5_3L, N>>5_3L_18, N>>5_3L_18_OPEN, N>>5_3L_3J, N>>5_3L_3J_OPEN, N>>5_3L_3P, N>>5_3L_3P_OPEN, N>>5_3L_6, N>>5_3L_61, N>>5_3L_61_OPEN, N>>5_3L_OPEN, N>>5_3P_4_N, N>>5_3P_4_N_OPEN, N>>5_3W_3L, N>>5_3W_3L_OPEN, N>>5_3W_4, N>>5_3W_4_OPEN, N>>5_4, N>>5_4_18, N>>5_4_18_OPEN, N>>5_4_3W, N>>5_4_61, N>>5_4_61_OPEN, N>>5_4_OPEN, N>>5_61, N>>5_61_3L, N>>5_61_4, N>>5_61_4_OPEN, N>>5_61_OPEN, N>>5_998_18, N>>5_998_18_OPEN, N>>5_998_3L, N>>5_998_3L_OPEN, N>>5_998_4, N>>5_998_4_OPEN, N>>5_998_61, N>>5_998_61_OPEN, N>>5_9_03_N_OPEN, N>>5_9_03_S_OPEN, N>>5_9_2_OPEN, N>>62_1_6X_RADIAL, N>>62_1_7_RADIAL, N>>62_7_1_RADIAL, N>>62_7_3_RADIAL, N>>62_9_2_RADIAL, N>>62_9_3_RADIAL, N>>64+67/68_03_07, N>>64+67/68_07_03, N>>64+67/68_07_1, N>>64+67/68_1_03, N>>64+67/68_1_060, N>>64+67/68_1_07, N>>64+67/68_1_62, N>>64+67/68_1_6X, N>>64+67/68_6X_03, N>>64+67/68_6X_1, N>>64+67/68_6X_9, N>>64_03_07, N>>64_07_03, N>>64_07_1, N>>64_1_03, N>>64_1_060, N>>64_1_07, N>>64_1_62, N>>64_1_6X, N>>64_6X_03, N>>64_6X_1, N>>64_6X_9, N>>65_051_66_N, N>>65_051_66_S, N>>65_060_66_S, N>>65_07_3, N>>65_07_64, N>>65_66_051_N, N>>65_66_NIL, N>>66+67/68_051_65, N>>66+67/68_051_68, N>>66+67/68_65_060, N>>66+67/68_65_NIL, N>>66+67/68_65_WODD, N>>66_01_07, N>>66_051_65_N, N>>66_051_65_S, N>>66_060_65_S, N>>66_64_07, N>>66_65_051_N, N>>66_65_NIL_S, N>>6Y+X5+63_1_6X, N>>6Y+X5+63_1_7, N>>6Y+X5+63_65_3, N>>6Y+X5+63_65_6X, N>>6Y+X5+63_65_7, N>>6Y+X5+63_7_1, N>>6Y+X5+63_7_3, N>>6Y+X5+63_9_2, N>>6Y+X5+63_9_3, N>>6Y+X5_1_6X, N>>6Y+X5_1_7, N>>6Y+X5_65_3, N>>6Y+X5_65_6X, N>>6Y+X5_65_7, N>>6Y+X5_7_1, N>>6Y+X5_7_3, N>>6Y+X5_9_2, N>>6Y+X5_9_3, N>>6Y_07_1_RADIAL, N>>6Y_07_3_RADIAL, N>>6Y_1_07_RADIAL, N>>6Y_1_6X, N>>6Y_9_2_RADIAL, N>>6Y_9_3_RADIAL, N>>6_3L_3J, N>>6_3L_3P, N>>6_3L_5, N>>6_4_5, N>>6_4_61, N>>6_61, N>>6_70_71, N>>6_8_10, N>>6_8_16, N>>6_9, N>>6_9_03_N, N>>6_9_03_S, N>>75_944_72, N>>75_949_72, N>>75_94X_72, N>>76+8_11_77, N>>76+8_39_11, N>>76+8_39_77, N>>77+81_31_82, N>>77+81_32_82, N>>77+81_39_11, N>>77+81_70_71, N>>77+81_76_39, N>>77+81_82_31, N>>77+81_82_5A3, N>>77+81_82_76, N>>77+81_82_NIL, N>>77+81_964_82, N>>77_11_17, N>>77_11_76, N>>77_39_11, N>>77_81_31, N>>77_81_82, N>>77_82_31, N>>77_82_81, N>>77_8_16, N>>7M_944_72, N>>7M_949_72, N>>7M_94X_72, N>>7_998_18, N>>7_998_3L, N>>7_998_4, N>>7_998_61, N>>87_965_96C_BYPASS, N>>87_965_96C_PSTMAN, N>>8_39_16, N>>8_4_5, N>>8_5_3L, N>>8_70_71, N>>90_24_93, N>>90_93_24, N>>964_85_86_S, N>>964_86_85_N, N>>964_86_85_S, N>>964_86_8U_S, N>>964_8U_86_N, N>>964_8U_86_S, N>>965_96C_87, N>>966+KK_965_87_BYP, N>>966+KK_965_87_PST, N>>966+KK_96C_87, N>>966+KK_96C_87_S, N>>966_965_87_BYPASS, N>>966_965_87_PSTMAN, N>>966_96C_87, N>>966_96C_87_CB_S, N>>966_96C_87_S, N>>96C_965_87_BYPASS, N>>96C_965_87_PSTMAN, N>>994_99F_63, N>>99A_99D_63, N>>99B_99H_62, N>>99F_994_63, N>>99F_9HT_63, N>>99L_99D_63, N>>9HR_9HT_63, N>>9HT_9HR_63, N>>9R3_99D_63, N>>9_03, N>>9_03_18, N>>9_03_6, N>>9_03_6X, N>>9_07_1, N>>9_1_07, N>>9_2_03, N>>9_6X_03, N>>ARTX_ARTX_87, N>>BU_TX_TX78_ML_HV, N>>BU_TX_TX78_ML_LV, N>>BWTX_81_82, N>>BWTX_82_81, N>>BYMN_36, N>>BYMN_36_3J, N>>BYMN_36_61, N>>BYMN_3L_3J, N>>BYMN_3L_3P, N>>BYMN_70_71, N>>BYTX_39_11, N>>BYTX_39_BYTX, N>>BYTX_BYTX_77, N>>DPTX1/2_SCH_OS_HV, N>>DPTX1/2_SCH_OS_LV, N>>DP_TIETX_A, N>>DP_TIETX_B, N>>DP_TIETX_C, N>>DP_TIETX_D, N>>ERNC_81_82, N>>ERNC_82_81, N>>KCTX_23_KCTX, N>>KCTX_KCTX_22, N>>KCTX_KCTX_23, N>>KCTX_KCTX_25, N>>KCTX_KCTX_NIL, N>>KS_BS3_96C_87, N>>LDTM_31_81_CL, N>>LDTM_31_81_OPEN, N>>LDTM_32_81_CL, N>>LDTM_32_81_OPEN, N>>LDTM_33_34_CL, N>>LDTM_33_34_OPEN, N>>LDTM_70_71, N>>LDTM_81_31, N>>LDTM_81_32, N>>LDTM_81_38, N>>LDTM_81_5A3, N>>LDTM_81_5A4, N>>LDTM_81_77, N>>LDTM_81_NIL, N>>LDTM_964_81_CL, N>>LDTM_964_81_OPEN, N>>LDTM_964_84_CL, N>>LDTM_964_84_OPEN, N>>MPTX_81_82, N>>MPTX_82_81, N>>N-LDTW_CB5102_1, N>>N-LDTW_CB5102_2, N>>N-UT_A2_1, N>>N-X5-TRIP-SCEME_1, N>>N-X5-TRIP-SCEME_2, N>>N-X5-TRIP-SCEME_3, N>>N-X5-TRIP-SCEME_4, N>>N-X5-TRIP-SCEME_5, N>>N-X_LTYS_99P_1, N>>N-X_LTYS_99P_2, N>>N-X_LTYS_99P_3, N>>N-X_LTYS_99P_4, N>>RGSW_23_22, N>>RGSW_23_25, N>>RGSW_23_32, N>>RGSW_33_34, N>>RGSW_70_71, N>>RGSW_81_32, N>>RGSW_81_5A4, N>>RGSW_81_82, N>>RGSW_81_NIL, N>>RGSW_82_32, N>>RGSW_82_81, N>>RGSW_82_NIL, N>>V-060_65_03, N>>V-060_65_07, N>>V-060_65_6X, N>>V-62_65_07_RADIAL, N>>V-62_65_3_RADIAL, N>>V-62_65_6X_RADIAL, N>>V-DPWG_C, N>>V-DPWG_D, N>>V-DPWG_X5_C, N>>V-DPWG_X5_D, N>>V-UT_A2_A, N>>V_3C_66_65, N>>V_3W_65_03_OPEN, N>>V_3W_65_07_OPEN, N>>V_3W_65_64_OPEN, N>>V_3W_65_66_OPEN, N>>V_3W_66_65_OPEN, N>>V_4_65_03_OPEN, N>>V_4_65_07_OPEN, N>>V_4_65_64_OPEN, N>>V_4_65_66_OPEN, N>>V_4_66_65_OPEN, N>>V_5_65_03_OPEN, N>>V_5_65_07_OPEN, N>>V_5_65_64_OPEN, N>>V_5_65_66_OPEN, N>>V_5_66_65_OPEN, N>>V_64+67_65_66_S, N>>V_64+67_65_NIL_S, N>>V_64+67_66_65_S, N>>V_64+67_66_NIL_S, N>>V_64_65_66_S, N>>V_64_65_NIL_S, N>>V_64_66_051, N>>V_64_66_65_S, N>>V_64_66_NIL_S, N>>V_6Y_65_07, N>>V_6Y_65_3, N>>V_6Y_65_6X, N>>V_BURC_1A, N>>V_BURC_1A_SIPS, N>>V_BURC_1B, N>>V_BURC_1B_SIPS, N>>V_DDWO+63_65_66, N>>V_DDWO+63_66_65, N>>V_X3_65_66, N>>V_X3_66_65, N>>V_X5_65_66, N>>V_X5_66_65, N>>WGYS_051_67_OPEN, N>>WGYS_07_1_OPEN, N>>WGYS_07_3_OPEN, N>>WGYS_1_07_OPEN, N>>WGYS_1_6X_OPEN, N>>WGYS_65_07_OPEN, N>>WGYS_65_2_OPEN, N>>WGYS_65_3_OPEN, N>>WGYS_65_64_OPEN, N>>WGYS_65_66_OPEN, N>>WGYS_66_65_OPEN, N>>WGYS_9_2_OPEN, N>>WGYS_9_3_OPEN, N>>WOMP_BYMP_11_17, N>>WOMP_BYMP_17_11, N>>WOMP_BYMP_23_22, N>>WOMP_BYMP_39_11, N>>WOMP_BYMP_81_31, N>>WOMP_BYMP_81_82, N>>WOMP_BYMP_82_81, N>>X-14+32_82_31, N>>X-14+38_13_17, N>>X-14+38_13_37, N>>X-14+38_33_34, N>>X-14+38_70_71, N>>X-14+38_81_32, N>>X-14+38_81_5A4, N>>X-14+38_81_82, N>>X-14+38_81_NIL, N>>X-14+38_82_32, N>>X-14+38_82_81, N>>X-14+38_82_NIL, N>>X-17+76_11_77, N>>X-17+76_13_14, N>>X-17+76_13_77, N>>X-17+76_30_13, N>>X-17+76_39_11, N>>X-17+76_70_71, N>>X-30+38_33_34, N>>X-30+38_70_71, N>>X-30+38_81_32, N>>X-30+38_81_5A4, N>>X-30+38_82_32, N>>X-64+65_051_66, N>>X-64+65_07_3, N>>X-64+65_3_07, N>>X-64+65_66_051_N, N>>X-64+65_66_DDWO, N>>X-64+65_66_NIL_N, N>>X-64+65_66_NIL_S, N>>X-76+77_11_NIL, N>>X-76+77_13_30, N>>X-76+77_16_8, N>>X-76+77_35_36, N>>X-76+77_39_11, N>>X-76+77_81_82, N>>X-76+77_82_81, N>>X-76+77_8_10, N>>X-76+77_8_16, N>>X-76+77_8_18, N>>X-76+77_MPTX1_TX2, N>>X_10+76_39_11, N>>X_10+76_77_39, N>>X_10+76_81_32, N>>X_10+76_82_32, N>>X_11+31_23_22, N>>X_11+31_23_32, N>>X_11+31_33_34, N>>X_11+31_39_17, N>>X_11+31_39_37, N>>X_11+31_70_71, N>>X_11+31_77_76, N>>X_11+31_81_32, N>>X_11+31_81_5A3, N>>X_11+31_82_32, N>>X_11+31_8_10, N>>X_11+32_23_22, N>>X_11+32_23_31, N>>X_11+32_33_34, N>>X_11+32_39_17, N>>X_11+32_39_37, N>>X_11+32_70_71, N>>X_11+32_77_76, N>>X_11+32_81_31, N>>X_11+32_81_5A3, N>>X_11+32_82_31, N>>X_11+32_8_10, N>>X_12+70_71_11, N>>X_12+70_71_16, N>>X_12+70_71_8, N>>X_17+KCTX_11_39, N>>X_17+KCTX_13_14, N>>X_17+KCTX_13_30, N>>X_17+KCTX_23_KCTX, N>>X_17+KCTX_30_13, N>>X_17+KCTX_39_11, N>>X_17+KCTX_70_71, N>>X_17+KCTX_KCTX, N>>X_17+KCTX_KCTX_22, N>>X_17+KCTX_KCTX_23, N>>X_17+KCTX_KCTX_25, N>>X_2+8_16_18, N>>X_31+ERTX_23_22, N>>X_31+ERTX_23_25, N>>X_31+ERTX_23_32, N>>X_32+ERTX_23_22, N>>X_32+ERTX_23_25, N>>X_32+ERTX_23_31, N>>X_65+67/68_051_66, N>>X_65+67/68_051_68, N>>X_65+67/68_66_NIL, N>>YS-CB4102_TX1_051, N>>YS132B1_051_67, N>>YSTX_TX_NIL, N>>YS_CB3L2_3L_18, N>>YS_CB3L2_3L_3J, N>>YS_CB3L2_3L_3P, N>>YS_CB3L2_3L_3W, N>>YS_CB3L2_3L_5, N>>YS_CB3L2_4_18, N>>YS_CB3L2_4_5, N>>YS_CB3L2_4_6, N>>YS_CB3L2_4_61, N>>YW_CS_970_051_S, N>>YW_CS_990_051_S, N>>YW_CS_99M_051_S | Modified | NSW Generation + Interconnectors | ​NSW - Updated constraints for CFG threshold update | Constraint Equation
2/022026 | C-V_GPWFWST_000, C-V_GPWFWST_012, C-V_GPWFWST_060, C-V_GPWFWST_102, C-V_GPWFWST_192, C-V_GPWFWST_282, C-V_GPWFWST_372, C-V_GPWFWST_462, C-V_GPWFWST_557 | C_V_GPWFWST_000, C_V_GPWFWST_012, C_V_GPWFWST_060, C_V_GPWFWST_102, C_V_GPWFWST_192, C_V_GPWFWST_282, C_V_GPWFWST_372, C_V_GPWFWST_462, C_V_GPWFWST_557 | New Set(s), New Constraint(s) | Victorian Generation | VIC - New commissioning constraints for Golden Plains Wind Farm West | Constraint Equation
2026-02-02 |  | NSW_SW_0, NSW_SW_100, NSW_SW_1000, NSW_SW_200, NSW_SW_300, NSW_SW_400, NSW_SW_500, NSW_SW_600, NSW_SW_700, NSW_SW_800, NSW_SW_900 | Modified | NSW Generation | ​NSW - Added generators to NSW south west generation discretionary limits | Constraint Equation
2026-02-02 | I-BDBU_ONE | N::N_BDBU_63, N>>BDBU_060, N>>BDBU_060_051, N>>BDBU_6M_66, N>>BDBU_990, N>>BDBU_991, N>>BDBU_996_62, N>>BDBU_DPTX_HV, N>>BDBU_DPTX_LV, N>>BDBU_X3_060, N>>V_BDBU_65, N>>V_BDBU_65_66, N>>V_BDBU_66, N>>V_BDBU_66_65, N>BDBU_051, N>BDBU_64_S, N>BDBU_6M_N, N>BDBU_994, N>BDBU_99F, N>BDBU_YSTX_LV, N^^N_BDBU_X5_BEKG, N^^N_BDBU_X5_BESH, V>>N_BDBU_65, V>>N_BDBU_65_66, V>>N_BDBU_66, V>>N_BDBU_66_65 | Modified | NSW Generation + Interconnectors | NSW - update 6F outage for CFG changes and Culcairn, Glenellen, Limondale BESS, Quorn Park PV and BES | Constraint Equation
2026-02-02 |  | N>>BDBU_64_66, N>>BDBU_64_N, N>>BDBU_64_S, N>>BDBU_994, N>>BDBU_996_6Y, N>>BDBU_YSTX_LV | Marked for Archival | NSW Generation + Interconnectors | ​NSW - update 6F outage for CFG changes and Culcairn, Glenellen, Limondale BESS, Quorn Park PV and BES | Constraint Equation
2026-02-02 |  | N>>MPWW_16_8, N>>MPWW_71_11, N>>MPWW_71_16, N>>MPWW_71_17, N>>MPWW_71_8, N>MPWW_945_71, N>MPWW_94T_71 | Modified | NSW Generation + Interconnectors | ​NSW - 70 or 71 outages - update for Quorn Park PV and BESS and added headroom calc | Constraint Equation
2026-02-02 | Q-X_MRGB_MRGB | Q>>MRGB2_MRTR_BRTX1 | New | Qld Generation + Interconnectors | ​QLD - New thermal O/L 831 trip Braemar 1T | Constraint Equation
2026-02-02 | N-BABU, N-BADP | V>>X3_KOKG_NIL, V>>X5_KOKG_NIL | New | Victorian Generation + Interconnectors |  | Constraint Equation
2026-02-02 |  | V^^S_6727_MG_PS_1, V^^S_CNLK_MAXG_1, V^^S_DVCN_MG_1, V^^S_DVRB_MG_1, V^^S_DVRB_MG_2, V^^S_KHKN_MAXG, V^^S_KHKN_MAXG_2, V^^S_KHTB2_MAXG, V^^S_KNPW_MAXG_2, V^^S_PAVC1_MAXG, V^^S_RBTU_MAXG, V^^S_RBTU_MAXG_2, V^^S_SECP2_MAXG_1, V^^S_SEVC+KNPW_MAXG, V^^S_SEVC+KW_MAXG_2, V^^S_SEVC_MAXG, V^^S_TBTX_MAXG, V^^S_WIMK_MG_1, V^^S_XPAVC_MAXG, V^^S_XSEVC_MAXG | Modified | SA Generation + Interconnectors | ​SA: Updated stability constraints for CFG threshold update | Constraint Equation
2026-02-02 |  | V::S_6727_MG_PS_1, V::S_6727_MG_PS_2, V::S_6727_MG_PS_3, V::S_CNLK_MAXG_1, V::S_CNLK_MAXG_2, V::S_DVCN_MG_1, V::S_DVCN_MG_2, V::S_DVRB_MG_1, V::S_DVRB_MG_2, V::S_KHKN_MAXG, V::S_KHKN_MAXG_2, V::S_KHKN_SETB, V::S_KHKN_SETB_2, V::S_KHTB2_MAXG, V::S_KHTB2_MAXG_2, V::S_KHTB2_SETB, V::S_KHTB2_SETB_2, V::S_KNPW_MAXG_2, V::S_KNPW_SETB_2, V::S_MOTB_MAXG, V::S_MOTB_MAXG_2, V::S_MOTB_SETB, V::S_MOTB_SETB_2, V::S_NIL_MG_PP_N-2_1, V::S_NIL_MG_TB_N-2_1, V::S_PATU_MAXG, V::S_PATU_MAXG_2, V::S_PATU_SETB, V::S_PAVC1_MAXG, V::S_PAVC1_SETB, V::S_RBTU_MAXG, V::S_RBTU_MAXG_2, V::S_RBTU_SETB, V::S_RBTU_SETB_2, V::S_SECP2_MAXG_1, V::S_SECP2_MAXG_2, V::S_SECP2_SETB_1, V::S_SECP2_SETB_2, V::S_SEVC+KNPW_MAXG, V::S_SEVC+KNPW_SETB, V::S_SEVC+KW_MAXG_2, V::S_SEVC+KW_SETB_2, V::S_SEVC_MAXG, V::S_TB35_SETB_2, V::S_TBCB94_35_SETB, V::S_TBTX_MAXG, V::S_TBTX_MAXG_2, V::S_TBTX_SETB, V::S_TBTX_SETB_2, V::S_WIMK_MG_1, V::S_WIMK_MG_2, V::S_XPAVC_MAXG, V::S_XPAVC_SETB, V::S_XSEVC_MAXG, V::S_XSEVC_MAXG_2, V::S_XSEVC_SETB, V::S_XSEVC_SETB_2, V:S_XPAVC_525, V:S_XPAVC_700 | Modified | SA Generation + Interconnectors | ​SA: Updated stability constraints for CFG threshold update | Constraint Equation
2026-02-02 |  | S::V_KHKN_TBSE, S::V_KHKN_TBSE_2, S::V_KHTB2_TBSE_2, S::V_MAMO_TBSE, S::V_MSTU_TBSE, S::V_PATU_TBSE, S::V_PAVC1_TBSE, S::V_SEVC+KNPW_TBSE, S::V_TB35_TBSE, S::V_TB35_TBSE_2, S:V_XPAVC_230, S:V_XPAVC_310 | Modified | SA Generation + Interconnectors | ​SA: Updated stability constraints for CFG threshold update | Constraint Equation
2026-02-02 | V-MLB01_BDU_ZERO | V_MLB01_GE_ZERO, V_MLB01_LE_ZERO | New Set(s), New Constraint(s) | Victorian Generation | ​VIC - Added EMS master entry and unit zero constraint for Mortalke BESS | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines