## Constraint Changes
NEM Constraint Library Changes Report for the week 6 April 2026 to 12 April 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-04-10 |  | Q:N_760 | Modified | NSW - Qld (QNI) Interconnector | NSW - update CVP for oscillatory stability constraint | Constraint Equation
2026-04-10 | Q-WIDEBAY_RAMP_ZERO | Q-BUSF_MVAR, Q-CHLDSF_MVAR, Q-MUKSF_MVAR, Q-SRSF_MVAR, Q-WLGSF_MVAR, Q_STR_BUSF_I, Q_STR_CHLDSF_I, Q_STR_MUKSF_I, Q_STR_SRSF_I, Q_STR_WLGSF_I, Q_WIDEBAY_RAMP_ZERO | New Set(s), New Constraint(s)Qld Generation |  | QLD - Create new ramping set for Woolooga, Susan Rivers, Childers, Munna Creek, Bundaberg Solar farms | Constraint Equation
2026-04-09 | Q-X_TRME_TRME_TRCB | Q^^TR_CLHA_-300, Q^^TR_TRBK_-450 | New Set(s) | Qld Generation | ​QLD - Created new set for feeder 837 and 8812 and H18 Tarong CB8312 | Constraint Equation
2026-04-09 | Q-X_TRME_TRBK | Q^^TR_CLHA_-150, Q^^TR_TRBK_-350 | New Set(s) | Qld Generation | ​QLD - Created new set for 837+827 outage | Constraint Equation
2026-04-10 | C-Q_WAMBOWF2_006, C-Q_WAMBOWF2_051, C-Q_WAMBOWF2_099, C-Q_WAMBOWF2_186, C-Q_WAMBOWF2_247 | C_Q_WAMBOWF2_16INV, C_Q_WAMBOWF2_1INV, C_Q_WAMBOWF2_30INV, C_Q_WAMBOWF2_41INV, C_Q_WAMBOWF2_8INV, Q_STR_WAMBO2WF_16_I, Q_STR_WAMBO2WF_1_I, Q_STR_WAMBO2WF_30_I, Q_STR_WAMBO2WF_41_I, Q_STR_WAMBO2WF_8_I | New | Qld Generation | QLD - Wambo 2 wind farm commissioning contraints with inverter limits | Constraint Equation
2026-04-08 | Q-NIL | Q:NIL_CS, Q>>NIL_MRTX1_MRGB, Q>>NIL_MRTX4_MRTX5, Q>N-NIL_8L_8M, Q>NIL_757_758_ECS, Q>NIL_BCCP_CLWU, Q>NIL_BCCP_LCCP, Q>NIL_BCRG_BCCP, Q>NIL_BCRG_CLWU, Q>NIL_BCST_BCST, Q>NIL_CLBTX_CLBTX, Q>NIL_CLWU_BCRG, Q>NIL_CLWU_LCCP, Q>NIL_CPWU_CLWU, Q>NIL_DRLCLB_NIL, Q>NIL_EMBW_EMLV_DS, Q>NIL_EMCM_6056, Q>NIL_EMLV_EMBW_DS, Q>NIL_LCCP_BCCP, Q>NIL_LCCP_CLWU, Q>NIL_MRTA_A, Q>NIL_MRTA_B, Q>NIL_MRTA_C, Q>NIL_MUTE_757, Q>NIL_MUTE_758, Q>NIL_MUTX_MUTX, Q>NIL_PWSP_WOSP, Q>NIL_RGLC_BCCP, Q>NIL_RGLC_CLWU, Q>NIL_SRMB_M020/1, Q>NIL_SRTQY_M020/2, Q>NIL_TV66, Q>NIL_WOPW_WOSP, Q>NIL_WOSP_PWSP, Q>NIL_WOSP_WOPW, Q>NIL_YLMR, Q>YLTX_DS, QNTE_ROC, Q^NIL_CN_FDR, Q^NIL_CN_GT, Q^NIL_CS, Q^NIL_FNQ_8905, Q^NIL_GC, Q^^NIL_TR_CLHA, Q^^NIL_TR_TRBK, Q^^N_NIL_SRAR, Q_MARYRSF1_RB, Q_NIL_STRGTH_CKWF, Q_NIL_STRGTH_CKWF_I, Q_NIL_STRGTH_CLRSF, Q_NIL_STRGTH_CLRSF_I, Q_NIL_STRGTH_COLSF, Q_NIL_STRGTH_COLSF_I, Q_NIL_STRGTH_DAYSF, Q_NIL_STRGTH_DAYSF_I, Q_NIL_STRGTH_HAMSF, Q_NIL_STRGTH_HAMSF_I, Q_NIL_STRGTH_HAUSF, Q_NIL_STRGTH_HAUSF_I, Q_NIL_STRGTH_HAYSF, Q_NIL_STRGTH_HAYSF_I, Q_NIL_STRGTH_KBWF, Q_NIL_STRGTH_KBWF_I, Q_NIL_STRGTH_KEP, Q_NIL_STRGTH_KEP_I, Q_NIL_STRGTH_KIDSF, Q_NIL_STRGTH_KIDSF_I, Q_NIL_STRGTH_MEWF, Q_NIL_STRGTH_MEWF_I, Q_NIL_STRGTH_RRSF, Q_NIL_STRGTH_RRSF_I, Q_NIL_STRGTH_RUGSF, Q_NIL_STRGTH_RUGSF_I, Q_NIL_STRGTH_SMSF, Q_NIL_STRGTH_SMSF_I, Q_NIL_STRGTH_SSNRV, Q_NIL_STRGTH_WHTSF, Q_NIL_STRGTH_WHTSF_I, Q_YARANSF1_37MW_N-1, Q_YARANSF1_RB | Modified | Qld Generation | QLD - Updated Q-Nil set with new thermal equations to prevent 807 OL on trip of 808 or 810 | Constraint Equation
2026-04-08 | C-N_UWF1_ZERO, C-N_WILLBES1_ZERO, N-UWF1_ZERO, N-WILL_BESS_BDU_ZERO | C_N_UWF1_ZERO, C_N_WILLBES1_ZERO_G, C_N_WILLBES1_ZERO_L, N_UWF1_ZERO, N_WILLBES1_GE_ZERO, N_WILLBES1_LE_ZERO | New Set(s), New Constraint(s)Qld Generation | NSW Generation | ​NSW - Added new units Uungula WF, Williamsdale BESS zero commissionning constraint, zero discretionary constraint. | Constraint Equation
2026-04-07 |  | X_DLINK_ECS | Modified | Terranora Interconnector | ​NSW - Upadated function X_DLINK_ECS | Constraint Function
2026-04-07 |  | X-CHK_MVAR_BUSF, X-CHK_MVAR_CHLDSF, X-CHK_MVAR_MUKSF, X-CHK_MVAR_SRSF, X-CHK_MVAR_WLGSF | Modified | Qld Generation | QLD - Create new set for Any two 275kV feeders (814/2,813/2,8850) OS | Constraint Function
2026-04-07 | Q-X_WIDEBAY_TWO | Q^^TR_CLHA_-1300, Q^^TR_TRBK_-1300, Q_CS_0700, Q_STR_7C2K_CLRSF_6, Q_STR_7C2K_CLRSF_6_I, Q_STR_7C2K_COLSF_6, Q_STR_7C2K_COLSF_6_I, Q_STR_7C2K_DAYSF_6, Q_STR_7C2K_DAYSF_6_I, Q_STR_7C2K_HAMSF_6, Q_STR_7C2K_HAMSF_6_I, Q_STR_7C2K_HASF_5, Q_STR_7C2K_HASF_5_I, Q_STR_7C2K_HAYSF_6, Q_STR_7C2K_HAYSF_6_I, Q_STR_7C2K_KEP_6, Q_STR_7C2K_KEP_6_I, Q_STR_7C2K_KIDSF_6, Q_STR_7C2K_KIDSF_6_I, Q_STR_7C2K_RRSF_6, Q_STR_7C2K_RRSF_6_I, Q_STR_7C2K_RUGSF_6, Q_STR_7C2K_RUGSF_6_I, Q_STR_7C2K_SMSF_6, Q_STR_7C2K_SMSF_6_I, Q_STR_7C2K_WHTSF_6, Q_STR_7C2K_WHTSF_6_I, Q_STR_A37_BUSF, Q_STR_A37_BUSF_I, Q_STR_A37_CHLDSF, Q_STR_A37_CHLDSF_I, Q_STR_A37_KBWF, Q_STR_A37_KBWF_I, Q_STR_A37_MEWF, Q_STR_A37_MEWF_I, Q_STR_A37_MUKSF, Q_STR_A37_MUKSF_I, Q_STR_A37_SRSF, Q_STR_A37_SRSF_I, Q_STR_A37_WLGSF, Q_STR_A37_WLGSF_I | Modified | Qld Generation | QLD - Create new set for Any two 275kV feeders (814/2,813/2,8850) OS | Constraint Equation
2026-04-07 | Q-X_WIDEBAY_TWO | Q_STR_A37_BUSF, Q_STR_A37_BUSF_I, Q_STR_A37_CHLDSF, Q_STR_A37_CHLDSF_I, Q_STR_A37_KBWF, Q_STR_A37_KBWF_I, Q_STR_A37_MEWF, Q_STR_A37_MEWF_I, Q_STR_A37_MUKSF, Q_STR_A37_MUKSF_I, Q_STR_A37_SRSF, Q_STR_A37_SRSF_I, Q_STR_A37_WLGSF, Q_STR_A37_WLGSF_I | New Set(s), New Constraint(s) | Qld Generation | QLD - Create new set for Any two 275kV feeders (814/2,813/2,8850) OS | Constraint Equation
2026-04-07 |  | F_NVS++85_L5, F_NVS++85_L6, F_NVS++85_L60, F_NVS++85_R5, F_NVS++85_R6, F_NVS++85_R60, F_NVS++86_R5, F_NVS++86_R6, F_NVS++86_R60, F_NVS++LDMU_L5, F_NVS++LDMU_L6, F_NVS++LDMU_L60, F_NVS++LDMU_R5, F_NVS++LDMU_R6, F_NVS++LDMU_R60, F_NVS++LDTW_L5, F_NVS++LDTW_L6, F_NVS++LDTW_L60, F_NVS++LDTW_R5, F_NVS++LDTW_R6, F_NVS++LDTW_R60, F_NVS++MUTW_L5, F_NVS++MUTW_L6, F_NVS++MUTW_L60, F_NVS++MUTW_R5, F_NVS++MUTW_R6, F_NVS++MUTW_R60, F_NVS+85_L5, F_NVS+85_L6, F_NVS+85_L60, F_NVS+85_R5, F_NVS+85_R6, F_NVS+85_R60, F_NVS+86_R5, F_NVS+86_R6, F_NVS+86_R60, F_NVS+LDMU_L5, F_NVS+LDMU_L6, F_NVS+LDMU_L60, F_NVS+LDMU_R5, F_NVS+LDMU_R6, F_NVS+LDMU_R60, F_NVS+LDTW_L5, F_NVS+LDTW_L6, F_NVS+LDTW_L60, F_NVS+LDTW_R5, F_NVS+LDTW_R6, F_NVS+LDTW_R60, F_NVS+MUTW_L5, F_NVS+MUTW_L6, F_NVS+MUTW_L60, F_NVS+MUTW_R5, F_NVS+MUTW_R6, F_NVS+MUTW_R60, F_Q++85_L5, F_Q++85_L6, F_Q++85_L60, F_Q++85_R5, F_Q++85_R6, F_Q++85_R60, F_Q++86_L5, F_Q++86_L6, F_Q++86_L60, F_Q++LDMU_L5, F_Q++LDMU_L6, F_Q++LDMU_L60, F_Q++LDMU_R5, F_Q++LDMU_R6, F_Q++LDMU_R60, F_Q++LDTW_L5, F_Q++LDTW_L6, F_Q++LDTW_L60, F_Q++LDTW_R5, F_Q++LDTW_R6, F_Q++LDTW_R60, F_Q++MUTW_L5, F_Q++MUTW_L6, F_Q++MUTW_L60, F_Q++MUTW_R5, F_Q++MUTW_R6, F_Q++MUTW_R60, F_Q+85_L1, F_Q+85_R1, F_Q+86_L1, F_Q+LDMU_L1, F_Q+LDMU_R1, F_Q+LDTW_L1, F_Q+LDTW_R1, F_Q+MUTW_L1, F_Q+MUTW_R1, F_STHN++85_L5, F_STHN++85_L6, F_STHN++85_L60, F_STHN++85_R5, F_STHN++85_R6, F_STHN++85_R60, F_STHN++86_R5, F_STHN++86_R6, F_STHN++86_R60, F_STHN++LDMU_L5, F_STHN++LDMU_L6, F_STHN++LDMU_L60, F_STHN++LDMU_R5, F_STHN++LDMU_R6, F_STHN++LDMU_R60, F_STHN++LDTW_L5, F_STHN++LDTW_L6, F_STHN++LDTW_L60, F_STHN++LDTW_R5, F_STHN++LDTW_R6, F_STHN++LDTW_R60, F_STHN++MUTW_L5, F_STHN++MUTW_L6, F_STHN++MUTW_L60, F_STHN++MUTW_R5, F_STHN++MUTW_R6, F_STHN++MUTW_R60 | Modified | NSW Generation | ​NSW - Add New England BESS 1 and New England BESS 2 | Constraint Equation
2026-04-07 |  | N::N_BYMP_TWO_1, N::N_BYMP_TWO_2, N>17_13_14, N>3L_998_18, N>3L_998_18_OPEN, N>3L_998_5, N>3L_998_5_OPEN, N>3L_998_61, N>3L_998_61_OPEN, N>4+5_35_36, N>4_998_18_OPEN, N>4_998_3H_OPEN, N>4_998_5_OPEN, N>4_998_61_OPEN, N>5A3+5A4/5A5_81_82, N>5A3+5A4/5A5_82_81, N>5_998_18, N>5_998_18_OPEN, N>5_998_3L, N>5_998_3L_OPEN, N>5_998_4, N>5_998_4_OPEN, N>5_998_61, N>5_998_61_OPEN, N>7_998_18, N>7_998_3L, N>7_998_4, N>7_998_61, N>947+998_94T, N>947+998_94T_949, N>94P+94T_947_72, N>94P+94T_947_NIL, N>966+KK_96C_87_CB, N>966+KK_96C_87_CB_S, N>966_96C_87_CB892A, N>9ML+94X_947_94T, N>9ML+94X_94T_947, N>9ML_947_94T, N>9ML_94T_947, N>>060_9_03, N>>060_9_2, N>>10+13_30_17, N>>10+13_30_37, N>>10+13_30_77, N>>10+13_33_34, N>>10+13_70_71, N>>10+13_8_18, N>>10_39_11, N>>10_8_18, N>>11_17_13_30, N>>11_17_30_13, N>>11_17_39_31, N>>11_17_39_32, N>>11_17_39_76, N>>11_17_39_77, N>>11_17_39_NIL_N, N>>11_17_39_NIL_S, N>>12+76_11_17, N>>12+76_11_77, N>>12+76_13_37, N>>12+76_39_11, N>>12+76_39_14, N>>12+76_39_77, N>>12+76_81_31, N>>12+76_82_31, N>>12+76_8_16, N>>12+77_11_76, N>>12+77_39_76, N>>13+31/38_23_22, N>>13+31/38_23_25, N>>13+31/38_23_32, N>>13+31/38_34_33, N>>13+31/38_39_32, N>>13+31/38_70_71, N>>13+31/38_76_77, N>>13+31/38_77_76, N>>13+31/38_81_32, N>>13+31/38_81_5A3, N>>13+31/38_81_5A4, N>>13+31/38_81_82, N>>13+31/38_81_NIL, N>>13+31/38_82_32, N>>13+31/38_82_81, N>>13+32_23_22, N>>13+32_23_25, N>>13+32_23_31, N>>13+32_34_33, N>>13+32_39_31, N>>13+32_70_71, N>>13+32_76_77, N>>13+32_77_76, N>>13+32_81_31, N>>13+32_81_5A3, N>>13+32_81_5A4, N>>13+32_81_82, N>>13+32_81_NIL, N>>13+32_82_31, N>>13+32_82_81, N>>14+39_12_ERTX, N>>14+39_13_ERTX, N>>14+39_30_ERTX, N>>14+KCTX_23_22, N>>14+KCTX_23_KCTX, N>>14+KCTX_37_13, N>>14+KCTX_KCTX_22, N>>14+KCTX_KCTX_23, N>>14+KCTX_KCTX_25, N>>14+KCTX_KCTX_NIL, N>>14_13_17, N>>14_13_37, N>>17_11_39, N>>17_13_14, N>>17_13_30, N>>17_30_13, N>>17_39_11, N>>17_70_71, N>>18+30_16_8, N>>18+30_70_71, N>>18+30_8_10, N>>18+30_8_16, N>>18+77_11_17, N>>18+77_11_76, N>>18+77_16_8, N>>18+77_39_11, N>>18+77_39_76, N>>18+77_70_71, N>>18+77_81_31, N>>18+77_81_82, N>>18+77_82_31, N>>18+77_82_81, N>>18+77_8_10, N>>18+77_8_16, N>>22_23_25, N>>22_23_29, N>>22_23_31, N>>22_23_32, N>>23+KCTX_22_25, N>>23+KCTX_KCTX_22, N>>23+KCTX_KCTX_25, N>>23+KCTX_KCTX_NIL, N>>24+38_23_22, N>>25_23_22, N>>25_23_31, N>>29_23_22, N>>30_13_17, N>>30_13_37, N>>30_70_71, N>>31+32_N-2_1, N>>31+32_N-2_2, N>>31+32_N-2_3, N>>31/38+32_23_22, N>>31/38+32_34_33, N>>31/38+32_81_82, N>>31/38+32_82_81, N>>31_23_22, N>>31_23_25, N>>31_23_32, N>>31_33_34, N>>31_39_32, N>>31_70_71, N>>31_81_32, N>>31_81_5A3, N>>31_81_5A4, N>>31_81_82, N>>31_81_NIL, N>>31_82_32, N>>31_82_81, N>>31_82_NIL, N>>32+38_N-2_1, N>>32+38_N-2_2, N>>32+38_N-2_3, N>>33+34_23_22, N>>33+34_81_82, N>>33+34_82_81, N>>33_34_31, N>>33_34_81, N>>33_34_82, N>>33_34_NIL_N, N>>33_34_NIL_S, N>>33_34_QMAX_N, N>>35+36_11_17, N>>35+36_11_37, N>>35+36_11_61, N>>35+36_17_11, N>>35+36_37_11, N>>35+36_37_61, N>>35+36_3L_18, N>>35+36_3L_39, N>>35+36_5_3L, N>>35+36_61_18, N>>35+36_61_37, N>>35+36_61_4, N>>35+36_61_77, N>>35+36_61_NIL, N>>35+36_70_71, N>>35+36_N-2_1, N>>35+36_N-2_2, N>>39_77_11_76_N, N>>39_77_13_11_S, N>>39_77_13_76_S, N>>39_77_17_11_N, N>>39_77_4_18_N, N>>39_77_4_3W_S, N>>3H+39_11_17, N>>3H+39_16_8, N>>3H+39_35_36, N>>3H+39_36_35, N>>3H+39_3L_5, N>>3H+39_70_71, N>>3H+39_8_16, N>>3L_3J_5_N, N>>3L_3J_5_N_OPEN, N>>3L_3J_5_S, N>>3L_3J_5_S_OPEN, N>>3L_3W_5_N_OPEN, N>>3L_3W_5_S_OPEN, N>>3L_998_18, N>>3L_998_18_OPEN, N>>3L_998_5, N>>3L_998_5_OPEN, N>>3L_998_61, N>>3L_998_61_OPEN, N>>3W_16_8, N>>3W_16_8_OPEN, N>>3W_39_8, N>>3W_39_8_OPEN, N>>3W_3L_5_N, N>>3W_3L_5_S, N>>3W_5_3L_S, N>>3W_5_4_N, N>>3W_70_71, N>>3W_70_71_OPEN, N>>3W_8_10, N>>3W_8_10_OPEN, N>>3W_8_16, N>>3W_8_16_OPEN, N>>4+5_35_36, N>>4+5_N-2_1, N>>4+5_N-2_2, N>>4+5_N-2_3, N>>4_3W_5_N_OPEN, N>>4_3W_5_S_OPEN, N>>4_5_18_N_OPEN, N>>4_5_18_S_OPEN, N>>4_5_6_OPEN, N>>4_998_18_OPEN, N>>4_998_3H_OPEN, N>>4_998_5_OPEN, N>>4_998_61_OPEN, N>>4_9_03_N_OPEN, N>>4_9_03_S_OPEN, N>>4_9_2_OPEN, N>>5A1+5A2_N-2_2, N>>5A6+5A7_11_39, N>>5A6+5A7_11_NIL, N>>5A6+5A7_37_11, N>>5A6+5A7_37_13, N>>5A6+5A7_39_11, N>>5A6+5A7_39_16, N>>5A6+5A7_39_NIL, N>>5A6+5A7_70_71, N>>5A6+5A7_N-2_1, N>>5A6+5A7_N-2_2, N>>5_18_3L, N>>5_18_3L_OPEN, N>>5_18_4, N>>5_18_4_OPEN, N>>5_3L_18, N>>5_3L_18_OPEN, N>>5_3L_6, N>>5_3W_3L, N>>5_3W_3L_OPEN, N>>5_3W_4, N>>5_3W_4_OPEN, N>>5_998_18, N>>5_998_18_OPEN, N>>5_998_3L, N>>5_998_3L_OPEN, N>>5_998_4, N>>5_998_4_OPEN, N>>5_998_61, N>>5_998_61_OPEN, N>>5_9_03_N_OPEN, N>>5_9_03_S_OPEN, N>>5_9_2_OPEN, N>>62_9_2_RADIAL, N>>62_9_3_RADIAL, N>>6Y+X5+63_9_2, N>>6Y+X5+63_9_3, N>>6Y+X5_9_2, N>>6Y+X5_9_3, N>>6Y_9_2_RADIAL, N>>6Y_9_3_RADIAL, N>>6_70_71, N>>6_8_10, N>>6_8_16, N>>76+77_N-2_1, N>>76+77_N-2_2, N>>76+78_N-2_1, N>>76+78_N-2_2, N>>77+81_11_76, N>>77+81_13_76, N>>77+81_31_82, N>>77+81_32_82, N>>77+81_39_11, N>>77+81_70_71, N>>77+81_76_39, N>>77+81_82_31, N>>77+81_82_5A3, N>>77+81_82_76, N>>77+81_82_NIL, N>>77+81_964_82, N>>77_11_17, N>>77_11_76, N>>77_39_11, N>>77_39_76, N>>77_81_31, N>>77_81_82, N>>77_82_31, N>>77_82_81, N>>77_8_16, N>>7_998_18, N>>7_998_3L, N>>7_998_4, N>>7_998_61, N>>81+82_N-2_1_CLOSE, N>>81+82_N-2_1_OPEN, N>>81+82_N-2_2_CLOSE, N>>81+82_N-2_2_OPEN, N>>83_84_NIL_N, N>>83_84_NIL_S, N>>83_84_QGEN_N, N>>84_83_NIL_N, N>>84_83_NIL_S, N>>84_83_QGEN_N, N>>85_86_NIL_N, N>>85_86_NIL_S, N>>85_86_QGEN_N, N>>87_965_96C_BYPASS, N>>87_965_96C_PSTMAN, N>>87_965_NIL_BYPASS, N>>87_965_NIL_PSTMAN, N>>87_966_96C, N>>88_84_NIL_N, N>>88_84_NIL_S, N>>88_84_QGEN_N, N>>89_966_87, N>>90_24_93, N>>90_93_24, N>>964_83_84_N, N>>964_84_83_N, N>>964_84_88_S, N>>964_85_86_S, N>>964_86_85_N, N>>964_86_85_S, N>>964_88_84_S, N>>964_8U_86_N, N>>964_8U_86_S, N>>965_96C_87, N>>966+KK_965_87_BYP, N>>966+KK_965_87_PST, N>>966+KK_96C_87, N>>966+KK_96C_87_S, N>>966_965_87_BYPASS, N>>966_965_87_PSTMAN, N>>966_96C_87, N>>966_96C_87_CB_S, N>>966_96C_87_S, N>>96C_965_87_BYPASS, N>>96C_965_87_PSTMAN, N>>96C_966_87, N>>96L_96R_96C_87, N>>9_03, N>>9_03_6X, N>>9_07_1, N>>9_1_07, N>>9_2_03, N>>9_6X_03, N>>ARTX_ARTX_87, N>>BYMN_36, N>>BYMN_36_3J, N>>BYMN_36_61, N>>BYMN_70_71, N>>BYTX_39_11, N>>BYTX_39_BYTX, N>>BYTX_BYTX_77, N>>CHTX_966_87, N>>ERNC_81_82, N>>ERNC_82_81, N>>KCTX_23_KCTX, N>>KCTX_KCTX_22, N>>KCTX_KCTX_23, N>>KCTX_KCTX_25, N>>KCTX_KCTX_NIL, N>>KS_BS3_96C_87, N>>LDTM_31_81_CL, N>>LDTM_31_81_OPEN, N>>LDTM_32_81_CL, N>>LDTM_32_81_OPEN, N>>LDTM_33_34_CL, N>>LDTM_33_34_OPEN, N>>LDTM_70_71, N>>LDTM_81_31, N>>LDTM_81_32, N>>LDTM_81_38, N>>LDTM_81_5A3, N>>LDTM_81_5A4, N>>LDTM_81_77, N>>LDTM_81_NIL, N>>LDTM_964_81_CL, N>>LDTM_964_81_OPEN, N>>LDTM_964_84_CL, N>>LDTM_964_84_OPEN, N>>MPTX_81_82, N>>MPTX_82_81, N>>N-LDTW_CB5102_1, N>>N-LDTW_CB5102_2, N>>RGSW_23_22, N>>RGSW_23_25, N>>RGSW_23_32, N>>RGSW_33_34, N>>RGSW_70_71, N>>RGSW_81_32, N>>RGSW_81_5A4, N>>RGSW_81_82, N>>RGSW_81_NIL, N>>RGSW_82_32, N>>RGSW_82_81, N>>RGSW_82_NIL, N>>TWCB5102_TX1_85, N>>TWCB5102_TX1_86, N>>WGYS_9_2_OPEN, N>>WGYS_9_3_OPEN, N>>WOMP_BYMP_11_17, N>>WOMP_BYMP_17_11, N>>WOMP_BYMP_23_22, N>>WOMP_BYMP_39_11, N>>WOMP_BYMP_81_31, N>>WOMP_BYMP_81_82, N>>WOMP_BYMP_82_81, N>>X-14+32_23_31, N>>X-14+32_82_31, N>>X-14+38_13_17, N>>X-14+38_13_37, N>>X-14+38_23_22, N>>X-14+38_23_25, N>>X-14+38_23_32, N>>X-14+38_33_34, N>>X-14+38_39_12, N>>X-14+38_70_71, N>>X-14+38_81_32, N>>X-14+38_81_5A4, N>>X-14+38_81_82, N>>X-14+38_81_NIL, N>>X-14+38_82_32, N>>X-14+38_82_81, N>>X-14+38_82_NIL, N>>X-17+76_11_77, N>>X-17+76_13_14, N>>X-17+76_13_77, N>>X-17+76_30_13, N>>X-17+76_39_11, N>>X-17+76_70_71, N>>X-17+76_81_31, N>>X-17+76_81_82, N>>X-17+76_82_31, N>>X-17+76_82_81, N>>X-30+38_13_37, N>>X-30+38_23_22, N>>X-30+38_23_25, N>>X-30+38_23_32, N>>X-30+38_33_34, N>>X-30+38_70_71, N>>X-30+38_81_32, N>>X-30+38_81_5A4, N>>X-30+38_81_82, N>>X-30+38_81_NIL, N>>X-30+38_82_32, N>>X-30+38_82_81, N>>X-30+38_82_NIL, N>>X-76+77_11_13, N>>X-76+77_11_NIL, N>>X-76+77_13_11, N>>X-76+77_13_30, N>>X-76+77_13_NIL, N>>X-76+77_16_8, N>>X-76+77_35_36, N>>X-76+77_39_11, N>>X-76+77_81_82, N>>X-76+77_82_81, N>>X-76+77_8_10, N>>X-76+77_8_16, N>>X-76+77_8_18, N>>X-76+77_MPTX1_TX2, N>>X_10+76_39_11, N>>X_10+76_77_39, N>>X_10+76_81_32, N>>X_10+76_82_32, N>>X_11+31_23_22, N>>X_11+31_23_25, N>>X_11+31_23_32, N>>X_11+31_33_34, N>>X_11+31_39_17, N>>X_11+31_39_37, N>>X_11+31_70_71, N>>X_11+31_77_76, N>>X_11+31_81_32, N>>X_11+31_81_5A3, N>>X_11+31_81_82, N>>X_11+31_81_NIL, N>>X_11+31_82_32, N>>X_11+31_82_81, N>>X_11+32_23_22, N>>X_11+32_23_25, N>>X_11+32_23_31, N>>X_11+32_33_34, N>>X_11+32_39_17, N>>X_11+32_39_37, N>>X_11+32_70_71, N>>X_11+32_77_76, N>>X_11+32_81_31, N>>X_11+32_81_5A3, N>>X_11+32_81_82, N>>X_11+32_81_NIL, N>>X_11+32_82_31, N>>X_11+32_82_81, N>>X_12+70_71_11, N>>X_12+70_71_16, N>>X_12+70_71_8, N>>X_17+KCTX_11_39, N>>X_17+KCTX_13_14, N>>X_17+KCTX_13_30, N>>X_17+KCTX_23_KCTX, N>>X_17+KCTX_30_13, N>>X_17+KCTX_39_11, N>>X_17+KCTX_70_71, N>>X_17+KCTX_KCTX, N>>X_17+KCTX_KCTX_22, N>>X_17+KCTX_KCTX_23, N>>X_17+KCTX_KCTX_25, N>>X_2+8_16_18, N>>X_30+32_23_25, N>>X_30+32_23_31, N>>X_30+32_39_31, N>>X_31+ERTX_23_22, N>>X_31+ERTX_23_25, N>>X_31+ERTX_23_32, N>>X_31+ERTX_81_82, N>>X_31+ERTX_82_81, N>>X_32+ERTX_23_22, N>>X_32+ERTX_23_25, N>>X_32+ERTX_23_31, N>>X_32+ERTX_81_82, N>>X_32+ERTX_82_81, N>KCTX_KCTX_NIL, N>X-76+77_MPTX1_TX2, N>X_17+KCTX_13_14, N>X_9W2+9W7_96C_87 | Modified | NSW Generation | ​NSW - Add New England BESS 1 and New England BESS 2 | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines