## HIOReportOutput
Region | NSP | Start | Finish | Network Asset | Impact | Recall | Status | Status and Market Notice | Project Work? | Unplanned? | DNSP Aware? | Generator Aware? | Inter-Regional | Reason and Duration | Duration
VIC | AusNet | 2022-03-03 06:00 | 2022-03-03 15:00 | Red Cliffs-Wemen 220 kV Line | <<This outage has been WITHDRAWN!>> This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Withdrawn | Withdrawn | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-03-09 07:00 | 2022-03-10 13:59 | Bouldercombe - Nebo (821) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 8 hrs-Night: 8 hrs | Planned - MTLTP | Planned - MTLTP | [5 empty] | Commissioning 1.3 Days | 1.3 Days
NSW | Transgrid | 2022-03-15 05:00 | 2022-03-19 13:00 | Armidale - Tamworth (85) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 8 hrs-Night: 8 hrs | Planned - MTLTP | Planned - MTLTP |  |  | T |  | T | Commissioning 4.3 Days | 4.3 Days
NSW | Transgrid | 2022-03-15 05:00 | 2022-03-15 19:00 | Tamworth No.3 330 kV Bus | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: 2 hrs | Planned - MTLTP | Planned - MTLTP | [5 empty] | Commissioning 14 Hours | 14 Hours
NSW | Transgrid | 2022-03-16 05:00 | 2022-03-16 19:00 | Tamworth No.3 330 kV Bus | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: 2 hrs | Planned - MTLTP | Planned - MTLTP | [5 empty] | Commissioning 14 Hours | 14 Hours
NSW | Transgrid | 2022-03-17 05:00 | 2022-03-17 19:00 | Tamworth No.3 330 kV Bus | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: 2 hrs | Planned - MTLTP | Planned - MTLTP | [5 empty] | Commissioning 14 Hours | 14 Hours
NSW | Transgrid | 2022-03-21 05:00 | 2022-03-21 17:00 | Tamworth No.1 330 kV Bus | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 1 hr-Night: 1 hr | Planned - SUBMIT | Planned - SUBMIT |  |  |  |  | T | Commissioning 12 Hours | 12 Hours
NSW | Transgrid | 2022-03-21 05:00 | 2022-03-21 17:00 | Armidale - Tamworth (86) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 1 hr-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  | T | Maintenance 12 Hours | 12 Hours
NSW | Transgrid | 2022-03-22 05:00 | 2022-03-22 17:00 | Tamworth No.1 330 kV Bus | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 1 hr-Night: 1 hr | Planned - SUBMIT | Planned - SUBMIT |  |  |  |  | T | Commissioning 12 Hours | 12 Hours
NSW | Transgrid | 2022-03-22 05:00 | 2022-03-22 17:00 | Armidale - Tamworth (86) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 1 hr-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  | T | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2022-03-22 06:30 | 2022-03-22 15:00 | Loy Yang Power Station - Basslink 500 kV Line | <<NEW since the last notification>> Tasmania will be separated from the NEM due to this outage. | Day: 2 hrs-Night: NA | Planned - MTLTP | Planned - MTLTP |  |  |  |  | T | Maintenance 8.5 Hours | 8.5 Hours
NSW | Transgrid | 2022-03-23 06:00 | 2022-03-23 16:00 | Armidale - Sapphire WF (8E) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 10 Hours | 10 Hours
VIC | AusNet | 2022-03-23 06:30 | 2022-03-23 15:00 | Loy Yang Power Station - Basslink 500 kV Line | <<NEW since the last notification>> Tasmania will be separated from the NEM due to this outage. | Day: 2 hrs-Night: NA | Planned - MTLTP | Planned - MTLTP |  |  |  |  | T | Maintenance 8.5 Hours | 8.5 Hours
NSW | Transgrid | 2022-03-24 06:00 | 2022-03-24 16:00 | Armidale - Sapphire WF (8E) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T | T | Commissioning 10 Hours | 10 Hours
NSW | Transgrid | 2022-03-25 06:00 | 2022-03-25 17:00 | Armidale - Sapphire WF (8E) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 11 Hours | 11 Hours
NSW | Transgrid | 2022-03-26 06:00 | 2022-03-26 16:00 | Dumaresq - Sapphire WF (8J) 330 kV line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T | T | Commissioning 10 Hours | 10 Hours
NSW | Transgrid | 2022-03-28 06:00 | 2022-03-28 16:00 | Dumaresq - Sapphire WF (8J) 330 kV line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T | T | Commissioning 10 Hours | 10 Hours
NSW | Transgrid | 2022-03-29 06:00 | 2022-03-29 17:00 | Dumaresq - Sapphire WF (8J) 330 kV line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T | T | Commissioning 11 Hours | 11 Hours
NSW | Transgrid | 2022-03-30 06:00 | 2022-03-30 16:00 | Armidale - Dumaresq (8C) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T | T | Commissioning 10 Hours | 10 Hours
NSW | Transgrid | 2022-03-31 06:00 | 2022-03-31 16:00 | Armidale - Dumaresq (8C) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T | T | Commissioning 10 Hours | 10 Hours
NSW | Transgrid | 2022-04-01 06:00 | 2022-04-01 17:00 | Armidale - Dumaresq (8C) 330 kV Line | A credible contingency event during this planned outage could cause: • Synchronous separation of the Queensland region from the rest of the NEM | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T | T | Commissioning 11 Hours | 11 Hours
TAS | TasNetworks | 2022-04-04 08:00 | 2022-04-07 16:00 | Gordon - Chapel St No.1 220 kV Line | A credible contingency event during this planned outage could cause a large reduction in generation in Tasmania. | Day: 48 hrs-Night: 48 hrs | Planned - RESUBMIT | Planned - RESUBMIT |  |  |  | T |  | Commissioning 3.3 Days | 3.3 Days
QLD | Powerlink | 2022-04-04 08:00 | 2022-04-04 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  |  | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-05 08:00 | 2022-04-05 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T | T |  | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-05 10:35 | 2022-04-05 16:00 | Strathmore - Ross (8857) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 1.5 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 5.4 Hours | 5.4 Hours
QLD | Powerlink | 2022-04-06 08:00 | 2022-04-06 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T | T |  | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-07 08:00 | 2022-04-07 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T | T |  | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-08 08:00 | 2022-04-08 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T | T |  | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-09 08:00 | 2022-04-09 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-10 08:00 | 2022-04-10 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-11 08:00 | 2022-04-11 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-12 08:00 | 2022-04-12 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-13 08:00 | 2022-04-13 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-14 08:00 | 2022-04-14 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-19 08:00 | 2022-04-19 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
VIC | AusNet | 2022-04-20 07:00 | 2022-04-20 16:00 | Buronga - Redcliffs (OX1) 220 kV Line. | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-20 08:00 | 2022-04-20 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-21 08:00 | 2022-04-21 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-22 08:00 | 2022-04-22 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-23 08:00 | 2022-04-23 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-24 08:00 | 2022-04-24 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-26 08:00 | 2022-04-26 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-27 08:00 | 2022-04-27 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-28 08:00 | 2022-04-28 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-28 08:30 | 2022-04-28 17:00 | Nebo - Broadsound (8847) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 8.5 Hours | 8.5 Hours
QLD | Powerlink | 2022-04-29 08:00 | 2022-04-29 17:00 | Stanwell - Broadsound (856) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may result in shedding Far North QLD load and Lilyvale local load. Following a credible contingency market intervention through issuing of directions may be required. If market intervention is unsuccessful all of North QLD load would be in a credible risk | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-04-29 08:30 | 2022-04-29 16:00 | Nebo - Broadsound (8846) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 7.5 Hours | 7.5 Hours
QLD | Powerlink | 2022-05-05 08:30 | 2022-05-05 16:30 | Ross No.3 288/138/19 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 3 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 8 Hours | 8 Hours
VIC | AusNet | 2022-05-10 07:00 | 2022-05-10 16:00 | Buronga - Redcliffs (OX1) 220 kV Line. | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-05-10 07:00 | 2022-05-12 17:00 | Bouldercombe - Nebo (821) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 6 hrs-Night: 8 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 2.4 Days | 2.4 Days
VIC | AusNet | 2022-05-11 07:00 | 2022-05-11 16:00 | Buronga - Redcliffs (OX1) 220 kV Line. | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
VIC | AusNet | 2022-05-12 07:00 | 2022-05-12 16:00 | Buronga - Redcliffs (OX1) 220 kV Line. | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
QLD | Powerlink | 2022-05-12 08:00 | 2022-05-12 15:00 | Strathmore No.1 275/132 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  |  | Commissioning 7 Hours | 7 Hours
VIC | AusNet | 2022-05-13 07:00 | 2022-05-13 16:00 | Buronga - Redcliffs (OX1) 220 kV Line. | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
VIC | AusNet | 2022-05-16 07:00 | 2022-05-16 17:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
VIC | AusNet | 2022-05-17 07:00 | 2022-05-17 16:00 | Buronga - Redcliffs (OX1) 220 kV Line. | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
VIC | AusNet | 2022-05-17 07:00 | 2022-05-17 17:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
VIC | AusNet | 2022-05-18 07:00 | 2022-05-18 17:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
VIC | AusNet | 2022-05-19 07:00 | 2022-05-19 17:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
VIC | AusNet | 2022-05-24 06:30 | 2022-05-24 18:00 | Heywood - Mortlake 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 11.5 Hours | 11.5 Hours
QLD | Powerlink | 2022-05-24 07:00 | 2022-06-03 17:00 | Bouldercombe - Broadsound (820) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 120 hrs-Night: 120 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 10.4 Days | 10.4 Days
VIC | AusNet | 2022-05-27 07:00 | 2022-05-27 12:00 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 5 Hours | 5 Hours
QLD | Powerlink | 2022-05-30 07:00 | 2022-06-17 17:00 | Nebo - Broadsound (8846) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: NA-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 18.4 Days | 18.4 Days
VIC | AusNet | 2022-05-30 07:00 | 2022-05-30 17:30 | Heywood - Mortlake 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
VIC | AusNet | 2022-05-31 07:00 | 2022-05-31 16:00 | Buronga - Redcliffs (OX1) 220 kV Line. | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 4 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
VIC | AusNet | 2022-05-31 07:00 | 2022-05-31 17:30 | Heywood - Mortlake 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
SA | ElectraNet | 2022-06-06 12:30 | 2022-06-08 17:30 | Tailem Bend - South East No.2 275 kV Line | A credible contingency event during this planned outage could leave South Australia connected to the NEM only via the South Australian 132 kV network. To maintain system security following this contingency AEMO will need to: • Initiate the orderly separation of SA from the rest of the NEM. • Source increased local regulation FCAS within SA. During this planned outage power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 2.2 Days | 2.2 Days
VIC | AusNet | 2022-06-08 06:30 | 2022-06-08 19:30 | Heywood - Mortlake 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 13 Hours | 13 Hours
QLD | Powerlink | 2022-06-08 07:00 | 2022-06-08 17:00 | Haughton River - Strathmore (879) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 2 hrs-Night: 2 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10 Hours | 10 Hours
VIC | AusNet | 2022-06-09 06:30 | 2022-06-09 19:30 | Heywood - Mortlake 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 13 Hours | 13 Hours
VIC | AusNet | 2022-06-10 06:30 | 2022-06-10 19:30 | Heywood - Mortlake 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 13 Hours | 13 Hours
VIC | AusNet | 2022-06-13 07:00 | 2022-06-13 17:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
VIC | AusNet | 2022-06-14 07:00 | 2022-06-14 17:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10.5 Hours | 10.5 Hours
VIC | AusNet | 2022-06-15 06:30 | 2022-06-16 19:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 1.5 Days | 1.5 Days
SA | ElectraNet | 2022-06-17 08:00 | 2022-06-23 08:15 | Heywood - South East No.1 275 kV Line | A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  |  |  | T | Commissioning 6 Days | 6 Days
SA | ElectraNet | 2022-06-23 08:15 | 2022-06-25 13:30 | Heywood - South East No.1 275 kV Line | A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  |  |  | T | Commissioning 2.2 Days | 2.2 Days
SA | ElectraNet | 2022-07-04 08:00 | 2022-07-08 08:00 | Heywood - South East No.2 275 kV Line | A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  |  |  | T | Commissioning 4 Days | 4 Days
VIC | AusNet | 2022-07-05 06:30 | 2022-07-05 19:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 13 Hours | 13 Hours
VIC | AusNet | 2022-07-06 06:30 | 2022-07-06 19:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 13 Hours | 13 Hours
QLD | Powerlink | 2022-07-06 08:30 | 2022-07-13 14:30 | Ross No.2 288/138/19 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 12 hrs-Night: 16 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 7.3 Days | 7.3 Days
VIC | AusNet | 2022-07-07 06:30 | 2022-07-07 19:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 13 Hours | 13 Hours
VIC | AusNet | 2022-07-08 06:30 | 2022-07-08 19:30 | Heywood - Tarrone 500 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 13 Hours | 13 Hours
SA | ElectraNet | 2022-07-08 08:00 | 2022-07-10 17:30 | Heywood - South East No.2 275 kV Line | A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  |  |  | T | Commissioning 2.4 Days | 2.4 Days
QLD | Powerlink | 2022-07-10 08:30 | 2022-07-10 14:30 | Haughton River - Ross (8911) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 1.5 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 6 Hours | 6 Hours
SA | ElectraNet | 2022-07-12 08:00 | 2022-07-17 08:00 | Tailem Bend - South East No.1 275 kV Line | A credible contingency event during this planned outage could leave South Australia connected to the NEM only via the South Australian 132 kV network. To maintain system security following this contingency AEMO will need to: • Initiate the orderly separation of SA from the rest of the NEM. • Source increased local regulation FCAS within SA. During this planned outage power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  | T | Commissioning 5 Days | 5 Days
QLD | Powerlink | 2022-07-13 07:00 | 2022-07-13 12:00 | Nebo - Strathmore (8845) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 5 Hours | 5 Hours
QLD | Powerlink | 2022-07-13 09:00 | 2022-07-13 17:00 | Ross No.2 288/138/19 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 3 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  |  | Maintenance 8 Hours | 8 Hours
SA | ElectraNet | 2022-07-17 08:00 | 2022-07-19 12:30 | Tailem Bend - South East No.1 275 kV Line | A credible contingency event during this planned outage could leave South Australia connected to the NEM only via the South Australian 132 kV network. To maintain system security following this contingency AEMO will need to: • Initiate the orderly separation of SA from the rest of the NEM. • Source increased local regulation FCAS within SA. During this planned outage power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  | T | Commissioning 2.2 Days | 2.2 Days
SA | ElectraNet | 2022-07-19 12:30 | 2022-07-21 17:30 | Tailem Bend - South East No.1 275 kV Line | A credible contingency event during this planned outage could leave South Australia connected to the NEM only via the South Australian 132 kV network. To maintain system security following this contingency AEMO will need to: • Initiate the orderly separation of SA from the rest of the NEM. • Source increased local regulation FCAS within SA. During this planned outage power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 159 hrs-Night: 159 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  |  | Commissioning 2.2 Days | 2.2 Days
SA | ElectraNet | 2022-08-01 08:00 | 2022-08-12 17:30 | Heywood - South East No.1 275 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could cause synchronous separation of the South Australia region from the rest of the NEM. During this planned outage: • Power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). • Post contingent FCAS will be sourced within SA following Separation event. | Day: 120 hrs-Night: 120 hrs | Planned - SUBMIT | Planned - SUBMIT |  |  | T |  |  | Maintenance 11.4 Days | 11.4 Days
QLD | Powerlink | 2022-08-02 07:00 | 2022-08-22 17:00 | Nebo - Strathmore (8845) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: NA-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 20.4 Days | 20.4 Days
SA | ElectraNet | 2022-08-15 08:00 | 2022-08-26 17:30 | Tailem Bend - Tungkillo 275 kV Line | <<NEW since the last notification>> A credible contingency event during this planned outage could leave South Australia connected to the NEM only via the South Australian 132 kV network. To maintain system security following this contingency AEMO will need to: • Initiate the orderly separation of SA from the rest of the NEM. • Source increased local regulation FCAS within SA. During this planned outage power transfer will be restricted across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 120 hrs-Night: 120 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 11.4 Days | 11.4 Days
VIC | AusNet | 2022-08-17 07:00 | 2022-08-17 17:00 | Jindera - Wodonga (060) 330 kV Line | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C This outage offloads the Buronga to Darlington Point X5 220 kV line and restricts power transfer • Between Victoria and New South Wales. • Between South Australia and Victoria on Murraylink A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 3 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10 Hours | 10 Hours
VIC | AusNet | 2022-08-18 07:00 | 2022-08-18 17:00 | Jindera - Wodonga (060) 330 kV Line | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C This outage offloads the Buronga to Darlington Point X5 220 kV line and restricts power transfer • Between Victoria and New South Wales. • Between South Australia and Victoria on Murraylink A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 3 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10 Hours | 10 Hours
QLD | Powerlink | 2022-08-29 07:00 | 2022-09-16 17:00 | Nebo - Strathmore (878) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: NA-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 18.4 Days | 18.4 Days
QLD | Powerlink | 2022-08-31 08:30 | 2022-08-31 12:30 | Ross No.4 288/138/19 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 1 hr-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 4 Hours | 4 Hours
QLD | Powerlink | 2022-09-13 07:00 | 2022-09-23 17:00 | Bouldercombe - Broadsound (820) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 120 hrs-Night: 120 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 10.4 Days | 10.4 Days
VIC | AusNet | 2022-09-15 07:00 | 2022-09-15 17:00 | Keilor - South Morang 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10 Hours | 10 Hours
VIC | AusNet | 2022-10-03 05:30 | 2022-10-03 15:00 | Rowville - South Morang 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9.5 Hours | 9.5 Hours
VIC | AusNet | 2022-10-06 06:00 | 2022-10-06 15:00 | Hazelwood - Cranbourne 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9 Hours | 9 Hours
VIC | AusNet | 2022-10-13 06:00 | 2022-10-13 16:00 | Hazelwood - Loy Yang Power Station No.3 500 kV Line | A credible contingency event during this planned outage could cause: • A large reduction in generation in Victoria • Load shedding in Victoria | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10 Hours | 10 Hours
VIC | AusNet | 2022-10-14 06:00 | 2022-10-14 16:00 | Hazelwood - Loy Yang Power Station No.3 500 kV Line | A credible contingency event during this planned outage could cause: • A large reduction in generation in Victoria • Load shedding in Victoria | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 10 Hours | 10 Hours
QLD | Powerlink | 2022-10-17 07:00 | 2022-11-03 17:00 | Nebo - Strathmore (8845) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 24 hrs-Night: 48 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 17.4 Days | 17.4 Days
TAS | TasNetworks | 2022-10-18 07:00 | 2022-10-18 15:30 | Gordon - Chapel St 220 kV Line | A credible contingency event during this planned outage could cause a large reduction in generation in Tasmania. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T |  | Maintenance 8.5 Hours | 8.5 Hours
TAS | TasNetworks | 2022-10-19 07:00 | 2022-10-19 15:00 | Gordon - Chapel St No.2 220 kV Line | A credible contingency event during this planned outage could cause a large reduction in generation in Tasmania. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT |  |  |  | T |  | Maintenance 8 Hours | 8 Hours
VIC | AusNet | 2022-10-29 05:00 | 2022-11-01 17:00 | Keilor - South Morang 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 3.5 Days | 3.5 Days
VIC | AusNet | 2022-11-01 05:00 | 2022-11-01 17:00 | Bendigo - Kerang 220 kV Line | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2022-11-02 05:00 | 2022-11-02 17:00 | Keilor - South Morang 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 8 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2022-11-03 05:00 | 2022-11-03 17:00 | Keilor - South Morang 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 8 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2022-11-03 06:00 | 2022-11-03 15:30 | Moorabool–Sydenham No.1 500 kV Line | A credible contingency event during this planned outage may require market intervention through issuing of directions | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 9.5 Hours | 9.5 Hours
VIC | AusNet | 2022-11-04 05:00 | 2022-11-04 17:00 | Keilor - South Morang 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 8 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2022-11-05 05:00 | 2022-11-05 17:00 | Keilor - South Morang 500 kV Line | This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 8 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2022-11-15 05:00 | 2022-11-15 17:00 | Bendigo - Kerang 220 kV Line | This is a high-impact outage only if the forecast temperature at Red Cliffs is greater than 30 °C A credible contingency event during this planned outage may require: • Load shedding in the Victorian outer grid • Market intervention through issuing of directions. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
QLD | Powerlink | 2023-02-06 17:01 | 2023-03-03 17:00 | Strathmore No.1 275/132 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: NA-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 25 Days | 25 Days
VIC | AusNet | 2023-03-18 05:00 | 2023-03-21 17:00 | Keilor - South Morang 500 kV Line | <<NEW since the last notification>> This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 3.5 Days | 3.5 Days
VIC | AusNet | 2023-03-22 05:00 | 2023-03-22 17:00 | Keilor - South Morang 500 kV Line | <<NEW since the last notification>> This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 6 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2023-03-23 05:00 | 2023-03-23 17:00 | Keilor - South Morang 500 kV Line | <<NEW since the last notification>> This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 6 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2023-03-24 05:00 | 2023-03-24 17:00 | Keilor - South Morang 500 kV Line | <<NEW since the last notification>> This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 6 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
VIC | AusNet | 2023-03-25 05:00 | 2023-03-25 17:00 | Keilor - South Morang 500 kV Line | <<NEW since the last notification>> This is a high impact outage only if the Forecast Operational Demand in Victoria region is greater than 7,000 MW A credible contingency event during this planned outage could: • Cause a large reduction in generation in Victoria • Restrict power transfer across the Victoria - South Australia interconnector (Heywood interconnector). | Day: 6 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Maintenance 12 Hours | 12 Hours
QLD | Powerlink | 2023-04-04 07:00 | 2023-04-05 17:00 | Bouldercombe - Nebo (821) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 6 hrs-Night: 8 hrs | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 1.4 Days | 1.4 Days
QLD | Powerlink | 2023-04-05 08:00 | 2023-04-19 17:00 | Strathmore - Ross (8857) 275 kV Line | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 72 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 14.4 Days | 14.4 Days
QLD | Powerlink | 2023-04-06 07:00 | 2023-04-19 16:00 | Ross No.4 288/138/19 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 0 mins-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 13.4 Days | 13.4 Days
QLD | Powerlink | 2023-04-20 08:00 | 2023-04-21 17:00 | Ross No.4 288/138/19 kV Transformer | This is a high impact outage because the recall time is greater than 30 minutes. A credible contingency event during this planned outage may require market intervention through issuing of directions. | Day: 2 hrs-Night: NA | Planned - SUBMIT | Planned - SUBMIT | [5 empty] | Commissioning 1.4 Days | 1.4 Days