## Constraint Changes
NEM Constraint Library Changes Report for the week 13 April 2026 to 19 April 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
4/16/2026 | C-S_SMFBESS1_005, C-S_SMFBESS1_040, C-S_SMFBESS1_080, C-S_SMFBESS1_120, C-S_SMFBESS1_ZERO | C_S_SMFBESS1_005_G, C_S_SMFBESS1_005_L, C_S_SMFBESS1_040_G, C_S_SMFBESS1_040_L, C_S_SMFBESS1_080_G, C_S_SMFBESS1_080_L, C_S_SMFBESS1_120_G, C_S_SMFBESS1_120_L, C_S_SMFBESS1_ZERO_G, C_S_SMFBESS1_ZERO_L | New Set(s), New Constraint(s) | SA Generation | SA - Commissioning constraints incl. zero for Summerfield BESS 1 | Constraint Equation
4/16/2026 | C-N_MULWASF1_005, C-N_MULWASF1_012, C-N_MULWASF1_025 | C_N_MULWASF1_005, C_N_MULWASF1_012, C_N_MULWASF1_025 | New Set(s), New Constraint(s) | NSW Generation | NSW - Commissioning constraints for Mulwala solar farm | Constraint Equation
4/16/2026 | Q-BSLV_1, Q-BSLV_2, Q-LV_275_BUS_TX_1, Q-LV_275_BUS_TX_2 | Q_STR_A19A_CLRSF, Q_STR_A19A_CLRSF_I, Q_STR_A19A_CMSF, Q_STR_A19A_CMSF_I, Q_STR_A19A_COLSF, Q_STR_A19A_COLSF_I, Q_STR_A19A_DAYSF, Q_STR_A19A_DAYSF_I, Q_STR_A19A_EMSF, Q_STR_A19A_EMSF_I, Q_STR_A19A_HAMSF, Q_STR_A19A_HAMSF_I, Q_STR_A19A_HASF, Q_STR_A19A_HASF_I, Q_STR_A19A_HAYSF, Q_STR_A19A_HAYSF_I, Q_STR_A19A_KBWF, Q_STR_A19A_KBWF_I, Q_STR_A19A_KEP, Q_STR_A19A_KEP_I, Q_STR_A19A_KIDSF, Q_STR_A19A_KIDSF_I, Q_STR_A19A_LVSF, Q_STR_A19A_LVSF_I, Q_STR_A19A_MEWF, Q_STR_A19A_MEWF_I, Q_STR_A19A_MIDSF, Q_STR_A19A_MIDSF_I, Q_STR_A19A_RRSF, Q_STR_A19A_RRSF_I, Q_STR_A19A_RUGSF, Q_STR_A19A_RUGSF_I, Q_STR_A19A_SMSF, Q_STR_A19A_SMSF_I, Q_STR_A19A_WHTSF, Q_STR_A19A_WHTSF_I, Q_STR_A19B_CLRSF, Q_STR_A19B_CLRSF_I, Q_STR_A19B_CMSF, Q_STR_A19B_CMSF_I, Q_STR_A19B_COLSF, Q_STR_A19B_COLSF_I, Q_STR_A19B_DAYSF, Q_STR_A19B_DAYSF_I, Q_STR_A19B_EMSF, Q_STR_A19B_EMSF_I, Q_STR_A19B_HAMSF, Q_STR_A19B_HAMSF_I, Q_STR_A19B_HASF, Q_STR_A19B_HASF_I, Q_STR_A19B_HAYSF, Q_STR_A19B_HAYSF_I, Q_STR_A19B_KBWF, Q_STR_A19B_KBWF_I, Q_STR_A19B_KEP, Q_STR_A19B_KEP_I, Q_STR_A19B_KIDSF, Q_STR_A19B_KIDSF_I, Q_STR_A19B_LVSF, Q_STR_A19B_LVSF_I, Q_STR_A19B_MEWF, Q_STR_A19B_MEWF_I, Q_STR_A19B_MIDSF, Q_STR_A19B_MIDSF_I, Q_STR_A19B_RRSF, Q_STR_A19B_RRSF_I, Q_STR_A19B_RUGSF, Q_STR_A19B_RUGSF_I, Q_STR_A19B_SMSF, Q_STR_A19B_SMSF_I, Q_STR_A19B_WHTSF, Q_STR_A19B_WHTSF_I | Modified | Qld Generation | ​QLD - Create new sets for 833 or 850 or Lilyvale TX or bus outage for PLQ limit advice A19a and fix typo error in Q-BSLV_2 and Q-LV_275_BUS_TX_2 set description | Constraint Equation
4/16/2026 | Q-BSLV_1, Q-LV_275_BUS_TX_1 | Q_STR_A19A_CLRSF, Q_STR_A19A_CLRSF_I, Q_STR_A19A_CMSF, Q_STR_A19A_CMSF_I, Q_STR_A19A_COLSF, Q_STR_A19A_COLSF_I, Q_STR_A19A_DAYSF, Q_STR_A19A_DAYSF_I, Q_STR_A19A_EMSF, Q_STR_A19A_EMSF_I, Q_STR_A19A_HAMSF, Q_STR_A19A_HAMSF_I, Q_STR_A19A_HASF, Q_STR_A19A_HASF_I, Q_STR_A19A_HAYSF, Q_STR_A19A_HAYSF_I, Q_STR_A19A_KBWF, Q_STR_A19A_KBWF_I, Q_STR_A19A_KEP, Q_STR_A19A_KEP_I, Q_STR_A19A_KIDSF, Q_STR_A19A_KIDSF_I, Q_STR_A19A_LVSF, Q_STR_A19A_LVSF_I, Q_STR_A19A_MEWF, Q_STR_A19A_MEWF_I, Q_STR_A19A_MIDSF, Q_STR_A19A_MIDSF_I, Q_STR_A19A_RRSF, Q_STR_A19A_RRSF_I, Q_STR_A19A_RUGSF, Q_STR_A19A_RUGSF_I, Q_STR_A19A_SMSF, Q_STR_A19A_SMSF_I, Q_STR_A19A_WHTSF, Q_STR_A19A_WHTSF_I | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Create new sets for 833 or 850 or Lilyvale TX or bus outage for PLQ limit advice A19a and fix typo error in Q-BSLV_2 and Q-LV_275_BUS_TX_2 set description | Constraint Equation
4/15/2026 | Q-LV_275_BUS_TX_2 | Q_STR_A19B_CLRSF, Q_STR_A19B_CLRSF_I, Q_STR_A19B_CMSF, Q_STR_A19B_CMSF_I, Q_STR_A19B_COLSF, Q_STR_A19B_COLSF_I, Q_STR_A19B_DAYSF, Q_STR_A19B_DAYSF_I, Q_STR_A19B_EMSF, Q_STR_A19B_EMSF_I, Q_STR_A19B_HAMSF, Q_STR_A19B_HAMSF_I, Q_STR_A19B_HASF, Q_STR_A19B_HASF_I, Q_STR_A19B_HAYSF, Q_STR_A19B_HAYSF_I, Q_STR_A19B_KBWF, Q_STR_A19B_KBWF_I, Q_STR_A19B_KEP, Q_STR_A19B_KEP_I, Q_STR_A19B_KIDSF, Q_STR_A19B_KIDSF_I, Q_STR_A19B_LVSF, Q_STR_A19B_LVSF_I, Q_STR_A19B_MEWF, Q_STR_A19B_MEWF_I, Q_STR_A19B_MIDSF, Q_STR_A19B_MIDSF_I, Q_STR_A19B_RRSF, Q_STR_A19B_RRSF_I, Q_STR_A19B_RUGSF, Q_STR_A19B_RUGSF_I, Q_STR_A19B_SMSF, Q_STR_A19B_SMSF_I, Q_STR_A19B_WHTSF, Q_STR_A19B_WHTSF_I | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Create new set for 833 or 850 or Lilyvale TX or bus outage for PLQ limit advice A19b. | Constraint Equation
4/15/2026 | Q-BSLV_2 | Q_STR_A19b_CLRSF, Q_STR_A19b_CLRSF_I, Q_STR_A19b_CMSF, Q_STR_A19b_CMSF_I, Q_STR_A19b_COLSF, Q_STR_A19b_COLSF_I, Q_STR_A19b_DAYSF, Q_STR_A19b_DAYSF_I, Q_STR_A19b_EMSF, Q_STR_A19b_EMSF_I, Q_STR_A19b_HAMSF, Q_STR_A19b_HAMSF_I, Q_STR_A19b_HASF, Q_STR_A19b_HASF_I, Q_STR_A19b_HAYSF, Q_STR_A19b_HAYSF_I, Q_STR_A19b_KBWF, Q_STR_A19b_KBWF_I, Q_STR_A19b_KEP, Q_STR_A19b_KEP_I, Q_STR_A19b_KIDSF, Q_STR_A19b_KIDSF_I, Q_STR_A19b_LVSF, Q_STR_A19b_LVSF_I, Q_STR_A19b_MEWF, Q_STR_A19b_MEWF_I, Q_STR_A19b_MIDSF, Q_STR_A19b_MIDSF_I, Q_STR_A19b_RRSF, Q_STR_A19b_RRSF_I, Q_STR_A19b_RUGSF, Q_STR_A19b_RUGSF_I, Q_STR_A19b_SMSF, Q_STR_A19b_SMSF_I, Q_STR_A19b_WHTSF, Q_STR_A19b_WHTSF_I | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Create new set for 833 or 850 or Lilyvale TX or bus outage for PLQ limit advice A19b. | Constraint Equation
4/14/2026 |  | N>17_13_14, N>4+5_35_36, N>5A3+5A4/5A5_81_82, N>5A3+5A4/5A5_82_81, N>966+KK_96C_87_CB, N>966+KK_96C_87_CB_S, N>966_96C_87_CB892A, N>>10+13_30_17, N>>10+13_30_37, N>>10+13_30_77, N>>10+13_33_34, N>>10+13_70_71, N>>10+13_8_18, N>>10_39_11, N>>10_8_18, N>>11_17_13_30, N>>11_17_30_13, N>>11_17_39_31, N>>11_17_39_32, N>>11_17_39_76, N>>11_17_39_77, N>>11_17_39_NIL_N, N>>11_17_39_NIL_S, N>>12+76_11_17, N>>12+76_11_77, N>>12+76_13_37, N>>12+76_39_11, N>>12+76_39_14, N>>12+76_39_77, N>>12+76_81_31, N>>12+76_82_31, N>>12+76_8_16, N>>12+77_11_76, N>>12+77_39_76, N>>13+31/38_23_22, N>>13+31/38_23_25, N>>13+31/38_23_32, N>>13+31/38_34_33, N>>13+31/38_39_32, N>>13+31/38_70_71, N>>13+31/38_76_77, N>>13+31/38_77_76, N>>13+31/38_81_32, N>>13+31/38_81_5A3, N>>13+31/38_81_5A4, N>>13+31/38_81_82, N>>13+31/38_81_NIL, N>>13+31/38_82_32, N>>13+31/38_82_81, N>>13+32_23_22, N>>13+32_23_25, N>>13+32_23_31, N>>13+32_34_33, N>>13+32_39_31, N>>13+32_70_71, N>>13+32_76_77, N>>13+32_77_76, N>>13+32_81_31, N>>13+32_81_5A3, N>>13+32_81_5A4, N>>13+32_81_82, N>>13+32_81_NIL, N>>13+32_82_31, N>>13+32_82_81, N>>14+39_12_ERTX, N>>14+39_13_ERTX, N>>14+39_30_ERTX, N>>14+KCTX_23_22, N>>14+KCTX_23_KCTX, N>>14+KCTX_37_13, N>>14+KCTX_KCTX_22, N>>14+KCTX_KCTX_23, N>>14+KCTX_KCTX_25, N>>14+KCTX_KCTX_NIL, N>>14_13_17, N>>14_13_37, N>>17_11_39, N>>17_13_14, N>>17_13_30, N>>17_30_13, N>>17_39_11, N>>17_70_71, N>>18+30_16_8, N>>18+30_70_71, N>>18+30_8_10, N>>18+30_8_16, N>>18+77_11_76, N>>18+77_16_8, N>>18+77_39_11, N>>18+77_39_76, N>>18+77_70_71, N>>18+77_81_31, N>>18+77_81_82, N>>18+77_82_31, N>>18+77_82_81, N>>18+77_8_10, N>>18+77_8_16, N>>22_23_25, N>>22_23_29, N>>22_23_31, N>>22_23_32, N>>23+KCTX_22_25, N>>23+KCTX_KCTX_22, N>>23+KCTX_KCTX_25, N>>23+KCTX_KCTX_NIL, N>>24+38_23_22, N>>25_23_22, N>>25_23_31, N>>29_23_22, N>>30_13_17, N>>30_13_37, N>>30_70_71, N>>31+32_N-2_1, N>>31+32_N-2_2, N>>31+32_N-2_3, N>>31/38+32_23_22, N>>31/38+32_34_33, N>>31/38+32_81_82, N>>31/38+32_82_81, N>>31_23_22, N>>31_23_25, N>>31_23_32, N>>31_33_34, N>>31_39_32, N>>31_70_71, N>>31_81_32, N>>31_81_5A3, N>>31_81_5A4, N>>31_81_82, N>>31_81_NIL, N>>31_82_32, N>>31_82_81, N>>31_82_NIL, N>>32+38_N-2_1, N>>32+38_N-2_2, N>>32+38_N-2_3, N>>33+34_23_22, N>>33_34_31, N>>33_34_81, N>>33_34_82, N>>33_34_NIL_N, N>>33_34_NIL_S, N>>33_34_QMAX_N, N>>35+36_11_61, N>>35+36_17_11, N>>35+36_37_11, N>>35+36_37_61, N>>35+36_3L_18, N>>35+36_5_3L, N>>35+36_61_18, N>>35+36_61_4, N>>35+36_61_77, N>>35+36_61_NIL, N>>35+36_70_71, N>>35+36_N-2_1, N>>35+36_N-2_2, N>>39_77_11_76_N, N>>39_77_13_11_S, N>>39_77_13_76_S, N>>39_77_17_11_N, N>>3H+39_11_17, N>>3H+39_16_8, N>>3H+39_35_36, N>>3H+39_36_35, N>>3H+39_70_71, N>>3H+39_8_16, N>>3W_16_8, N>>3W_16_8_OPEN, N>>3W_39_8, N>>3W_39_8_OPEN, N>>3W_70_71, N>>3W_70_71_OPEN, N>>3W_8_10, N>>3W_8_10_OPEN, N>>3W_8_16, N>>3W_8_16_OPEN, N>>4+5_35_36, N>>5A1+5A2_N-2_2, N>>5A6+5A7_11_39, N>>5A6+5A7_11_NIL, N>>5A6+5A7_37_11, N>>5A6+5A7_37_13, N>>5A6+5A7_37_39, N>>5A6+5A7_39_11, N>>5A6+5A7_39_16, N>>5A6+5A7_39_NIL, N>>5A6+5A7_70_71, N>>5A6+5A7_N-2_1, N>>5A6+5A7_N-2_2, N>>6_70_71, N>>6_8_10, N>>6_8_16, N>>76+77_N-2_1, N>>76+77_N-2_2, N>>76+78_N-2_1, N>>76+78_N-2_2, N>>77+81_11_76, N>>77+81_13_76, N>>77+81_31_82, N>>77+81_32_82, N>>77+81_39_11, N>>77+81_70_71, N>>77+81_76_39, N>>77+81_82_31, N>>77+81_82_5A3, N>>77+81_82_76, N>>77+81_82_NIL, N>>77+81_964_82, N>>77_11_76, N>>77_39_11, N>>77_39_76, N>>77_81_31, N>>77_81_82, N>>77_82_31, N>>77_82_81, N>>77_8_16, N>>81+82_N-2_1_CLOSE, N>>81+82_N-2_1_OPEN, N>>81+82_N-2_2_CLOSE, N>>81+82_N-2_2_OPEN, N>>83_84_NIL_N, N>>83_84_NIL_S, N>>83_84_QGEN_N, N>>84_83_NIL_N, N>>84_83_NIL_S, N>>84_83_QGEN_N, N>>87_965_96C_BYPASS, N>>87_965_96C_PSTMAN, N>>87_965_NIL_BYPASS, N>>87_965_NIL_PSTMAN, N>>90_24_93, N>>90_93_24, N>>965_96C_87, N>>966+KK_965_87_BYP, N>>966+KK_965_87_PST, N>>966+KK_96C_87, N>>966+KK_96C_87_S, N>>966_965_87_BYPASS, N>>966_965_87_PSTMAN, N>>966_96C_87, N>>966_96C_87_CB_S, N>>966_96C_87_S, N>>96C_965_87_BYPASS, N>>96C_965_87_PSTMAN, N>>96L_96R_96C_87, N>>9W2_965_9W8_BPASS, N>>9W2_965_9W8_PSMAN, N>>9W5_965_9W3_BPASS, N>>9W5_965_9W3_PSMAN, N>>ARTX_ARTX_87, N>>BYMN_36, N>>BYMN_36_3J, N>>BYMN_36_61, N>>BYMN_70_71, N>>BYTX_39_11, N>>BYTX_39_BYTX, N>>BYTX_BYTX_77, N>>ERNC_81_82, N>>ERNC_82_81, N>>KCTX_23_KCTX, N>>KCTX_KCTX_22, N>>KCTX_KCTX_23, N>>KCTX_KCTX_25, N>>KCTX_KCTX_NIL, N>>KS_BS3_96C_87, N>>LDTM_31_81_CL, N>>LDTM_31_81_OPEN, N>>LDTM_32_81_CL, N>>LDTM_32_81_OPEN, N>>LDTM_33_34_CL, N>>LDTM_33_34_OPEN, N>>LDTM_70_71, N>>LDTM_81_31, N>>LDTM_81_32, N>>LDTM_81_38, N>>LDTM_81_5A3, N>>LDTM_81_5A4, N>>LDTM_81_77, N>>LDTM_81_NIL, N>>LDTM_964_81_CL, N>>LDTM_964_81_OPEN, N>>LDTM_964_84_CL, N>>LDTM_964_84_OPEN, N>>MPTX_81_82, N>>MPTX_82_81, N>>N-LDTW_CB5102_1, N>>N-LDTW_CB5102_2, N>>RGSW_23_22, N>>RGSW_23_25, N>>RGSW_23_32, N>>RGSW_33_34, N>>RGSW_70_71, N>>RGSW_81_32, N>>RGSW_81_5A4, N>>RGSW_81_82, N>>RGSW_81_NIL, N>>RGSW_82_32, N>>RGSW_82_81, N>>RGSW_82_NIL, N>>WOMP_BYMP_11_17, N>>WOMP_BYMP_17_11, N>>WOMP_BYMP_23_22, N>>WOMP_BYMP_39_11, N>>WOMP_BYMP_81_31, N>>WOMP_BYMP_81_82, N>>WOMP_BYMP_82_81, N>>X-14+32_23_31, N>>X-14+32_82_31, N>>X-14+38_13_17, N>>X-14+38_13_37, N>>X-14+38_23_22, N>>X-14+38_23_25, N>>X-14+38_23_32, N>>X-14+38_33_34, N>>X-14+38_39_12, N>>X-14+38_70_71, N>>X-14+38_81_32, N>>X-14+38_81_5A4, N>>X-14+38_81_82, N>>X-14+38_81_NIL, N>>X-14+38_82_32, N>>X-14+38_82_81, N>>X-14+38_82_NIL, N>>X-17+76_11_77, N>>X-17+76_13_14, N>>X-17+76_13_77, N>>X-17+76_30_13, N>>X-17+76_39_11, N>>X-17+76_70_71, N>>X-17+76_81_31, N>>X-17+76_81_82, N>>X-17+76_82_31, N>>X-17+76_82_81, N>>X-30+38_13_37, N>>X-30+38_23_22, N>>X-30+38_23_25, N>>X-30+38_23_32, N>>X-30+38_33_34, N>>X-30+38_70_71, N>>X-30+38_81_32, N>>X-30+38_81_5A4, N>>X-30+38_81_82, N>>X-30+38_81_NIL, N>>X-30+38_82_32, N>>X-30+38_82_81, N>>X-30+38_82_NIL, N>>X-76+77_11_13, N>>X-76+77_11_NIL, N>>X-76+77_13_11, N>>X-76+77_13_30, N>>X-76+77_13_NIL, N>>X-76+77_16_8, N>>X-76+77_35_36, N>>X-76+77_39_11, N>>X-76+77_81_82, N>>X-76+77_82_81, N>>X-76+77_8_10, N>>X-76+77_8_16, N>>X-76+77_8_18, N>>X_10+76_39_11, N>>X_10+76_77_39, N>>X_10+76_81_32, N>>X_10+76_82_32, N>>X_11+31_23_22, N>>X_11+31_23_25, N>>X_11+31_23_32, N>>X_11+31_33_34, N>>X_11+31_39_17, N>>X_11+31_39_37, N>>X_11+31_70_71, N>>X_11+31_77_76, N>>X_11+31_81_32, N>>X_11+31_81_5A3, N>>X_11+31_81_82, N>>X_11+31_81_NIL, N>>X_11+31_82_32, N>>X_11+31_82_81, N>>X_11+32_23_22, N>>X_11+32_23_25, N>>X_11+32_23_31, N>>X_11+32_33_34, N>>X_11+32_39_17, N>>X_11+32_39_37, N>>X_11+32_70_71, N>>X_11+32_77_76, N>>X_11+32_81_31, N>>X_11+32_81_5A3, N>>X_11+32_81_82, N>>X_11+32_81_NIL, N>>X_11+32_82_31, N>>X_11+32_82_81, N>>X_17+KCTX_11_39, N>>X_17+KCTX_13_14, N>>X_17+KCTX_13_30, N>>X_17+KCTX_23_KCTX, N>>X_17+KCTX_30_13, N>>X_17+KCTX_39_11, N>>X_17+KCTX_70_71, N>>X_17+KCTX_KCTX, N>>X_17+KCTX_KCTX_22, N>>X_17+KCTX_KCTX_23, N>>X_17+KCTX_KCTX_25, N>>X_2+8_16_18, N>>X_30+32_23_25, N>>X_30+32_23_31, N>>X_30+32_39_31, N>>X_31+ERTX_23_22, N>>X_31+ERTX_23_25, N>>X_31+ERTX_23_32, N>>X_31+ERTX_81_82, N>>X_31+ERTX_82_81, N>>X_32+ERTX_23_22, N>>X_32+ERTX_23_25, N>>X_32+ERTX_23_31, N>>X_32+ERTX_81_82, N>>X_32+ERTX_82_81, N>KCTX_KCTX_NIL, N>N_AR_330_BS5_TE, N>X_17+KCTX_13_14, N>X_9W2+9W7_96C_87 | Modified | NSW Generation | ​NSW - Added Eraring BESS | Constraint Equation
4/14/2026 | Q-NE_275BUS_CB, Q-RS_275BUS_CB, Q-ST_275BUS_CB | Q_STR_7C0K_CLRSF_3, Q_STR_7C0K_CLRSF_3_I, Q_STR_7C0K_COLSF_3, Q_STR_7C0K_COLSF_3_I, Q_STR_7C0K_DAYSF_3, Q_STR_7C0K_DAYSF_3_I, Q_STR_7C0K_HAMSF_3, Q_STR_7C0K_HAMSF_3_I, Q_STR_7C0K_HASF_2, Q_STR_7C0K_HASF_2_I, Q_STR_7C0K_HAYSF_3, Q_STR_7C0K_HAYSF_3_I, Q_STR_7C0K_KBWF_3, Q_STR_7C0K_KBWF_3_I, Q_STR_7C0K_KEP_3, Q_STR_7C0K_KEP_3_I, Q_STR_7C0K_KIDSF_3, Q_STR_7C0K_KIDSF_3_I, Q_STR_7C0K_MEWF_2, Q_STR_7C0K_MEWF_2_I, Q_STR_7C0K_RRSF_3, Q_STR_7C0K_RRSF_3_I, Q_STR_7C0K_RUGSF_3, Q_STR_7C0K_RUGSF_3_I, Q_STR_7C0K_SMSF_3, Q_STR_7C0K_SMSF_3_I, Q_STR_7C0K_WHTSF_3, Q_STR_7C0K_WHTSF_3_I, Q_STR_7C2K_BRDSF_1, Q_STR_7C2K_BRDSF_1_I, Q_STR_7C0K_CLRSF_2, Q_STR_7C0K_CLRSF_2_I, Q_STR_7C0K_COLSF_2, Q_STR_7C0K_COLSF_2_I, Q_STR_7C0K_DAYSF_2, Q_STR_7C0K_DAYSF_2_I, Q_STR_7C0K_HAMSF_2, Q_STR_7C0K_HAMSF_2_I, Q_STR_7C0K_HAYSF_2, Q_STR_7C0K_HAYSF_2_I, Q_STR_7C0K_KBWF_4, Q_STR_7C0K_KBWF_4_I, Q_STR_7C0K_KEP_2, Q_STR_7C0K_KEP_2_I, Q_STR_7C0K_KIDSF_2, Q_STR_7C0K_KIDSF_2_I, Q_STR_7C0K_MEWF_4, Q_STR_7C0K_MEWF_4_I, Q_STR_7C0K_RRSF_2, Q_STR_7C0K_RRSF_2_I, Q_STR_7C0K_RUGSF_2, Q_STR_7C0K_RUGSF_2_I, Q_STR_7C0K_SMSF_2, Q_STR_7C0K_SMSF_2_I, Q_STR_7C0K_WHTSF_2, Q_STR_7C0K_WHTSF_2_I | Modified | Qld Generation | ​QLD - updated Nebo, Ross and Stanwell bus/CB set | Constraint Equation
4/14/2026 | N-BU_SYNC2_3 |  | Marked for Archival | NSW Generation | ​NSW - Archived N-BU_SYNC2_3 as per OM525 14/04/2026 | Constraint Equation
4/13/2026 | Q-CPWO_813/2, Q-CPWO_814/2, Q-X_WOSP_CPWO1_CL, Q-X_WOSP_CPWO1_O | Q>CPSP_WOPW_WOGP_1, Q>CPSP_WOPW_WOGP_2, Q>GGWO1_GGGT1_WUTB, Q>GGWO1_GGWO2_WUTB, Q>GGWO2_GGGT2_WUTB, Q>GGWO_CPBI_CPWU, Q>GGWO_GGWO_WOTB | New | Qld Generation | QLD - updated outage sets for 813/2, 814/2 and 814+807 with new gens and CFG change | Constraint Equation
4/13/2026 | Q-CPWO_813/2, Q-CPWO_814/2, Q-X_WOSP_CPWO1_CL, Q-X_WOSP_CPWO1_O | Q>GGWO1_GGGT1_WUTB, Q>GGWO1_GGWO2_WUTB, Q>GGWO_CPBI_CPWU, Q>GGWO_GGWO_WOTB, Q^CS_-240, Q_CS_1850, Q>GGWO2_GGGT2_WUTB, Q>CPSP_WOPW_WOGP_1, Q>CPSP_WOPW_WOGP_2, Q^CS_-080, Q^WOPW_CS_WOSP_O | New | Qld Generation | QLD - updated outage sets for 813/2, 814/2 and 814+807 with new gens and CFG change | Constraint Equation
4/13/2026 | I-X_BABU_BURC | N::V_BUDP_BWSW, N::V_BUDP_MSDD, N::V_BUDP_UTMS, N:V_BUDP_BWRG, N:V_BUDP_BYYS, N>>V_X3_65_66, N>>V_X3_66_65, N^^V_BADP_1, N_BROKENH1_0INV, N_COLEASF1_FLT_50, N_DARLSF_FLT_100, N_FINLYSF_FLT_50, N_LIMOSF1_0INV, N_STR_BROKENH1_0_I, N_STR_LIMOSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STWF1_0WT, N_SUNRSF1_0INV, SVML_FLT_130, V>>N_X3_65_66, V>>N_X3_66_65, V>>X3_BABE_SHBE, V>>X3_BEKG_CWBUHO, V>>X3_BUHO_BEKG, V>>X3_KGWE_CWBUHO, V>>X3_KOKG_NIL, V>>X3_MSDD1_MSDD2, V>>X3_MSDD1_MSDD2_S, V>>X3_MSDD2_MSDD1, V>>X3_MSDD2_MSDD1_S, V>>X3_SHBE_NIL, V>>X3_WBBA_KGBE, V>>X3_WERC_CWBUHO, V>>X9_WBBA_RCX1, V^SML_BUDP_3, V^^N_BADP_1, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_CRWARP_FLT_75, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | New Set(s) | NSW Generation + Interconnectors | ​NSW - Added a new set for upcoming X3+X9 outage | Constraint Equation
4/13/2026 | S-CNLK_BC-2CP, S-DVLK_BC-2CP, S-LK_CB8020_CB8018, S-LK_CB_BC-2CP, S-PPT_CB6727, S-PPT_CB6727_BC-2CP, S-WIMK_BC-2CP, S-X_DVLK_LKCN_BC-2CP | S>>CNLK_BLDV_RBMWP4, S>>CNLK_BLDV_WEWT, S>>CNLK_BWMP_MKRB, S>>CNLK_BWMP_TWPA, S>>CNLK_BWMP_WEMWP4, S>>CNLK_BWMP_WTTP, S>>CNLK_MKRB_WEMWP4, S>>CNLK_NIL_WEMWP4, S>>CNLK_NIL_WTTP, S>>CNLK_RBTU_WEWT, S>>CNLK_TWPA_TPRS, S>>CNLK_WTTP_WEMWP4, S_CNLK_270, V::S_CNLK_MAXG_2, V^^S_CNLK_MAXG_2, S>>X_DVLK+LKCN_01, S>>X_DVLK+LKCN_02, S>>X_DVLK+LKCN_03, S>>X_DVLK+LKCN_04, S>>X_DVLK+LKCN_05, S>>X_DVLK+LKCN_07, S>>X_DVLK+LKCN_08, S>>X_DVLK+LKCN_09, S>>X_DVLK+LKCN_10, S>>X_DVLK+LKCN_11, S>>X_DVLK+LKCN_14, S>>X_DVLK+LKCN_15, S>>X_DVLK+LKCN_16, S_DVRB2_270, S_OUT_STRENGTH_2200, V::S_DVRB2_MG_2, V^^S_DVRB2_MG_2, S_DVCN_270, V::S_DVCN_MG_1, V^^S_DVCN_MG_1, V::S_DVCN_MG_2, V^^S_DVCN_MG_2, S_PPST18+SNPT_270, V::S_6727_MG_PS_1, V^^S_6727_MG_PS_1, V::S_6727_MG_PS_2, V^^S_6727_MG_PS_2, S>>WIMK_BWPA_BRTW, S>>WIMK_BWPA_WEMWP4, S>>WIMK_CNRB_BWMP, S>>WIMK_CNRB_DVBR, S>>WIMK_CNRB_TWPA, S>>WIMK_CNRB_WEMWP4, S>>WIMK_CNRB_WTWE, S>>WIMK_DVBG_DVBR, S>>WIMK_DVBR_CNRB, S>>WIMK_LKDV_WEWT, S>>WIMK_NIL_WEMWP4, S>>WIMK_RBTU_WEWT, S>WIMK_BWPA_CNRB, S>WIMK_BWPA_HUWT, S>WIMK_BWPA_RHBR-T, S>WIMK_BWPA_TWPA, S>WIMK_BWPA_WTTP, S>WIMK_RBTU_WTTP, S_OUT_STRENGTH_2000, S_WIMK_270, V::S_WIMK_MG_2, V^^S_WIMK_MG_2, F_S_HPR1_L1, F_S_HPR1_L5, F_S_HPR1_L6, F_S_HPR1_L60, F_S_HPR1_LREG, F_S_HPR1_R1, F_S_HPR1_R5, F_S_HPR1_R6, F_S_HPR1_R60, F_S_HPR1_RREG, S-HDWF2_0, S_HDWF1_0, S_HDWF3_0, S_HPR1_GE_ZERO, S_HPR1_LE_ZERO | Modified | SA Generation | ​SA:Archive constraint eqautions no longer needed. Updated set contents | Constraint Equation
4/13/2026 |  | S>NIL_HUWT_STBG2, S>NIL_HUWT_STBG3, V::S_6727_MG_PS_3, V::S_6727_MG_PS_CP_2, V::S_CNLK_MG_CP_2, V::S_DVCN_MG-CP_1, V::S_DVCN_MG_2-DS, V::S_DVCN_MG_CP_2, V::S_DVRB2_MG_CP_2, V::S_WIMK_MG_CP_2, V^^S_6727_MG_PS_3, V^^S_6727_MG_PS_CP_2, V^^S_CNLK_MG_CP_2, V^^S_DVCN_MG-CP_1, V^^S_DVCN_MG_2-DS, V^^S_DVCN_MG_CP_2, V^^S_DVRB2_MG_CP_2, V^^S_WIMK_MG_CP_2 | Marked for Archival | SA Generation | ​SA:Archive constraint eqautions no longer needed. Updated set contents | Constraint Equation
4/13/2026 | F-T-JB_MC_TI_N-2, T-JB_MC_TI_250 | F-T++JBMCTIN-2TG_R60, F-T++JBMCTIN-2_TG_R5, F-T++JBMCTIN-2_TG_R6, F-T+JBMCTIN-2_RREG, F-T+JBMCTIN-2_TG_R5, F-T+JBMCTIN-2_TG_R6, F-T+JBMCTIN-2_TG_R60, T_T_JBMCTI_250 | New Set(s), New Constraint(s) | Tasmanian Generation + Interconnectors | TAS - FCAS constraints for reclassification of John Butters, Mackintosh and Tribute generation as credible | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines