## Constraint Changes
NEM Constraint Library Changes Report for the week 20 May 2024 to 26 May 2024
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2024-05-24 | Q-MR_275_CB | Q>MRCB_MRTX_MRTX | Modified | Qld Generation | QLD - renamed Middle Ridge bus outage set and equation to Middle Ridge CB outage set and equation | Constraint Equation
2024-05-24 | S-BGDV | S>>DVBG_BLMK_DVBR, S>>DVBG_BRTW_WEMWP4, S>>DVBG_BRTW_WTTP, S>>DVBG_CNRB_DVBR, S>>DVBG_CNRB_MKRB, S>>DVBG_MKRB_CNRB, S>>DVBG_MKRB_DVBR, S>>DVBG_MKRB_WEMWP4, S>>DVBG_NIL_WEMWP4, S>>DVBG_RBTU_RBTU, S>>DVBG_RBTU_TWPA, S>>DVBG_RBTU_WEWT, S>>DVBG_RBTU_WTTP | Modified | SA Generation + Interconnectors | Added Goyder WF1A, 1B, Mannum SF 2, RB-PA 275 kV decommissioned | Constraint Equation
2024-05-24 | V-MLMO, V-X_HY_MO_ML | V::N_MLMO_O1, V::N_MLMO_O2, V::N_MLMO_V1, V::N_MLMO_V2 | New & Modified | Victorian Generation + Interconnectors | ​VIC - Updated transient stability constraints for Moorabool - Mortlake outage as per latest limit advice | Constraint Equation
2024-05-24 |  | N::Q_AR_VC_KC, N::Q_AR_VC_LDMU, N::Q_AR_VC_LDTW, N::Q_AR_VC_TNT, N^^Q_AR_VC_CPP_3, N^^Q_AR_VC_CPP_4, N^^Q_AR_VC_KPP_1, N^^Q_AR_VC_MAXGEN, N^^Q_AR_VC_MPP_1, N^^Q_AR_VC_MPP_2, N^^Q_AR_VC_TNPS1 | Modified | NSW - Qld (QNI) Interconnector + Terranora | ​NSW - Updated offsets for transient and voltage stability constraints for Armidale SVC outage as per latest limit advice OM525 | Constraint Equation
2024-05-24 |  | V_VS_LB_HY_250 | Modified | Basslink |  | Constraint Equation
2024-05-24 | I-HYSE, I-HYSE_BC-2CP, I-HYSE_N-2, V-HGML, V-HGTR, V-HY_500BUS, V-HYMO, V-HYTR, V-X_HG_ML_TR, V-X_HYCB_210_211, V-X_HYCB_212_213, V-X_HYTX_TWO, V-X_ML_BUSTIE_500 | F_ESTN++HYSE_L5, F_ESTN++HYSE_L6, F_ESTN++HYSE_L60, F_ESTN++HYSE_R5, F_ESTN++HYSE_R6, F_ESTN++HYSE_R60, F_QNV++HYSE_L5, F_QNV++HYSE_L6, F_QNV++HYSE_L60, F_QNV++HYSE_R5, F_QNV++HYSE_R6, F_QNV++HYSE_R60, F_QNV+HYSE_L5, F_QNV+HYSE_L6, F_QNV+HYSE_L60, F_QNV+HYSE_R5, F_QNV+HYSE_R6, F_QNV+HYSE_R60, F_S++HYSE_L5, F_S++HYSE_L6, F_S++HYSE_L60, Q:N_1078, S:V_420_OSC_AUTO, S:V_580, S_ISLE_CANUNDA_35, S_ISLE_CRK_60, S_ISLE_LKB1+2+3_60, S_V_ROCOF, S>V_460, S>V_460_DYN, SA_ISLE_STRENGTH, SA_ISLE_STRENGTH_BU, SA_ISLE_STRGTH_1300, SV_250, SV_250_DYN, V::N_HYSE_S1, V::N_HYSE_S2, V::N_HYSE_V1, V::N_HYSE_V2, V::S_HYSE_MAXG, V::S_HYSE_MAXG_2-DS, V::S_HYSE_MG_BIPS, V::S_HYSE_MG_PPGT1, V::S_HYSE_MG_PPGT2, V::S_HYSE_MG_PPST, V::S_HYSE_MG_SNPT, V::S_HYSE_MG_TIBG1, V::S_HYSE_MG_TPSB1, V::S_HYSE_MG_TPSB2, V::S_HYSE_MG_TPSB3, V::S_HYSE_MG_TPSB4, V^^S_HYSE_MAXG, V^^S_HYSE_MAXG_2-DS, V_S_ROCOF, V_VS_LB_CAN_50, V_VS_LB_HY_250, V>S_460, V>S_460_DYN, VS_250, VS_250_DYN, V::S_HYSE_MAXG_2, V::S_HYSE_MG_BIPS_2, V::S_HYSE_MG_PPGT1_2, V::S_HYSE_MG_PPGT2_2, V::S_HYSE_MG_PPST_2, V::S_HYSE_MG_SNPT_2, V::S_HYSE_MG_TIBG1_2, V::S_HYSE_MG_TPSB1_2, V::S_HYSE_MG_TPSB2_2, V::S_HYSE_MG_TPSB3_2, V::S_HYSE_MG_TPSB4_2, V^^S_HYSE_MAXG_2, F_ESTN++HGML_L5, F_ESTN++HGML_L6, F_ESTN++HGML_L60, F_ESTN++HGML_R5, F_ESTN++HGML_R6, F_ESTN++HGML_R60, F_ESTN+MCSH_TG_R5, F_ESTN+MCSH_TG_R6, F_ESTN+MCSH_TG_R60, F_QNV++HGML_L5, F_QNV++HGML_L6, F_QNV++HGML_L60, F_QNV++HGML_R5, F_QNV++HGML_R6, F_QNV++HGML_R60, F_QNV++MCSH_TG_R5, F_QNV++MCSH_TG_R6, F_QNV++MCSH_TG_R60, F_QNV+HGML_L5, F_QNV+HGML_L6, F_QNV+HGML_L60, F_QNV+HGML_R5, F_QNV+HGML_R6, F_QNV+HGML_R60, F_QNV+MCSH_TG_R5, F_QNV+MCSH_TG_R6, F_QNV+MCSH_TG_R60, F_V_APD01_L5, F_V_APD01_L6, F_V_APD01_L60, F_V_APD01_R5, F_V_APD01_R6, F_V_APD01_R60, N^^V_HGML_1, N^^V_MC_SH_WF_1, V::N_MLTR_V1, V::N_MLTR_V2, V_MC_SH_WF_600, V_MOPS_SH_NETT_600, V_V_HGML_1, V_V_HGML_2, V_V_HYAPD1_1, F_ESTN++HGTR_L5, F_ESTN++HGTR_L6, F_ESTN++HGTR_L60, F_ESTN++HGTR_R5, F_ESTN++HGTR_R6, F_ESTN++HGTR_R60, F_ESTN+MC_TG_R5, F_ESTN+MC_TG_R6, F_ESTN+MC_TG_R60, F_ESTN+SH_TG_R5, F_ESTN+SH_TG_R6, F_ESTN+SH_TG_R60, F_QNV++HGTR_L5, F_QNV++HGTR_L6, F_QNV++HGTR_L60, F_QNV++HGTR_R5, F_QNV++HGTR_R6, F_QNV++HGTR_R60, F_QNV++MC_TG_R5, F_QNV++MC_TG_R6, F_QNV++MC_TG_R60, F_QNV++SH_TG_R5, F_QNV++SH_TG_R6, F_QNV++SH_TG_R60, F_QNV+HGTR_L5, F_QNV+HGTR_L6, F_QNV+HGTR_L60, F_QNV+HGTR_R5, F_QNV+HGTR_R6, F_QNV+HGTR_R60, F_QNV+MC_TG_R5, F_QNV+MC_TG_R6, F_QNV+MC_TG_R60, F_QNV+SH_TG_R5, F_QNV+SH_TG_R6, F_QNV+SH_TG_R60, N^^V_HGTR_1, V_MOPS_MAC_NETT_600, V_V_HGTR_1, V_V_HGTR_2, F_ESTN++HYMO_L5, F_ESTN++HYMO_L6, F_ESTN++HYMO_L60, F_ESTN++HYMO_R5, F_ESTN++HYMO_R6, F_ESTN++HYMO_R60, F_ESTN+MO_TG_R5, F_ESTN+MO_TG_R6, F_ESTN+MO_TG_R60, F_QNV++HYMO_L5, F_QNV++HYMO_L6, F_QNV++HYMO_L60, F_QNV++HYMO_R5, F_QNV++HYMO_R6, F_QNV++HYMO_R60, F_QNV++MO_TG_R5, F_QNV++MO_TG_R6, F_QNV++MO_TG_R60, F_QNV+HYMO_L5, F_QNV+HYMO_L6, F_QNV+HYMO_L60, F_QNV+HYMO_R5, F_QNV+HYMO_R6, F_QNV+HYMO_R60, F_QNV+MO_TG_R5, F_QNV+MO_TG_R6, F_QNV+MO_TG_R60, N^^V_HY_MO_ML_1, N^^V_HYMO_1, V::N_HYMO_O1, V::N_HYMO_O2, V::N_HYMO_V1, V::N_HYMO_V2, V_DDWF_MOPS_600, V_MAC_NETT_600, V_MACARTHUR_ZERO, V_V_HYMO_1, F_ESTN++HYTR_L5, F_ESTN++HYTR_L6, F_ESTN++HYTR_L60, F_ESTN++HYTR_R5, F_ESTN++HYTR_R6, F_ESTN++HYTR_R60, F_QNV++HYTR_L5, F_QNV++HYTR_L6, F_QNV++HYTR_L60, F_QNV++HYTR_R5, F_QNV++HYTR_R6, F_QNV++HYTR_R60, F_QNV+HYTR_L5, F_QNV+HYTR_L6, F_QNV+HYTR_L60, F_QNV+HYTR_R5, F_QNV+HYTR_R6, F_QNV+HYTR_R60, N^^V_HY_TR_HG_ML_1, V::N_HYTR_O1, V::N_HYTR_O2, V::N_HYTR_V1, V::N_HYTR_V2, V_MOPS_NETT_600, V_STOCKYH_ZERO, V>>S_HYML_3, V>>S_HYML_4 | Modified | Basslink |  | Constraint Equation
2024-05-21 |  | N>N-X_9U6_9G2_1, N>N-X_9U6_9G2_2 | Modified | Terranora Interconnector | ​NSW - Update constraint to include adjustment offset to clear real time violation | Constraint Equation
2024-05-21 | N-WLMP_72, N-WLWO_79 | N_WELLNSF1_0INV, N_WELLNSF1_100, N_WELLNSF1_32INV | New & Modified | NSW Generation | ​NSW - Added system strength equations for Wellington Nth Solar Farm | Constraint Equation
2024-05-21 |  | N>N-X_9U6_9G2_1 | Modified | Terranora Interconnector | ​NSW - Update constraint to include adjustment offset to clear real time violation | Constraint Equation
2024-05-20 | S-LFTI_1, S-LFTI_2, S-PGPP | S_PP+SN+OB+QPS+DC | New & Modified | SA Generation | ​SA: Updated outage sets to include constraint equation as per ElectraNet's OI A6.4. | Constraint Equation
2024-05-20 | N-WELLNSF1_ZERO | N_WELLNSF1_ZERO | New & Modified | NSW Generation | ​NSW - Discretionary upper limit of 0 MW on Wellington North SF | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines