## Constraint Changes
NEM Constraint Library Changes Report for the week 30 March 2026 to 5 April 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-04-02 | V-X_DDSM_DDMS | N^^V_X_SMDDMS_1, N^^V_X_SMDDMS_2, V::N_X_SMDDMS_S1, V::N_X_SMDDMS_S2, V::N_X_SMDDMS_V1, V::N_X_SMDDMS_V2, V^^N_X_SMDDMS_1 | Marked for Archival | Victorian Generation + Interconnectors | ​VIC - Archive constraint set and dictionary for multiple outage which no longer required | Constraint Equation
2026-04-02 |  | S>>HUBG_BGDV_WEMWP4, S>>HUBG_BGDV_WTWE, S>>HUBG_BLDV_WEWT, S>>HUBG_BLDV_WTTP, S>>HUBG_BWMP_WEWT, S>>HUBG_LKDV_WEWT, S>>HUBG_LKDV_WTTP, S>>HUBG_MNCLN_WEMWP4, S>>HUBG_MNCLN_WTWE, S>>HUBG_RBTU_WEWT, S>>HUBG_RBTU_WTTP, S>>HUBG_RBTX1_WEWT, S>>HUBG_WTTP_WEMWP4, S>>HUBG_WTTP_WTWE | Modified | SA Generation + Interconnectors | ​SA: Added Bungama BESS and Templers BESS in the prior outage sets | Constraint Equation
2026-04-02 |  | S>>HUWT_BWPA_BRTW, S>>HUWT_BWPA_TWPA, S>>HUWT_RBTU_WEWT, S>HUWT_BWPA_RHBR-T | Modified | SA Generation + Interconnectors | ​SA: Added Bungama BESS and Templers BESS in the prior outage sets | Constraint Equation
2026-04-02 |  | S>>V_MGPA_TICG_TIMG, S>>V_MGPA_TIMG_TICG | Modified | SA Generation + Interconnectors | ​SA: Added Bungama BESS and Templers BESS in the prior outage sets | Constraint Equation
2026-04-02 |  | S>>MPPA_BGBR_HUWT, S>>MPPA_BRTW_WEMWP4, S>>MPPA_BRTW_WTTP, S>>MPPA_CNRB_MKRB, S>>MPPA_CNRB_TWPA, S>>MPPA_CNRB_WEMWP4, S>>MPPA_DVBG_BRTW, S>>MPPA_DVBG_HUWT, S>>MPPA_DVBG_TWPA, S>>MPPA_DVBG_WEMP4, S>>MPPA_DVBG_WTTP, S>>MPPA_DVBR_RHBG-T, S>>MPPA_MKRB_BRTW, S>>MPPA_MKRB_WEMWP4, S>>MPPA_NIL_WEMWP4, S>>MPPA_NIL_WTTP, S>>MPPA_RBTU_RBTU, S>>MPPA_RBTU_TWPA, S>>MPPA_RBTU_WTTP, S>>MPPA_TPDR_TPRS, S>>MPPA_TPRS_TWPA, S>>MPPA_TPRS_WEMP4, S>>MPPA_TWPA_TPRS, S>>MPPA_TWPA_WEMWP4, S>>MPPA_WEMWP4_WTTP, S>MPPA_DVBG_RHBR-T, S>MPPA_HUWT_RHBR-T, S>MPPA_MKRB_CNRB | Modified | SA Generation + Interconnectors | ​SA: Added Bungama BESS and Templers BESS in the prior outage sets | Constraint Equation
2026-04-02 | C-N_MULWASF1_ZERO | C_N_MULWASF1_ZERO | New Set(s), New Constraint(s) | NSW Generation | NSW - Added new Mulwala SF EMSmaster with dummy ID, zero commissionning constraint, zero discretionary constraint. | Constraint Equation
2026-04-02 | N-MULWASF1_ZERO | N_MULWASF1_ZERO | New Set(s), New Constraint(s) | NSW Generation | NSW - Added new Mulwala SF EMSmaster with dummy ID, zero commissionning constraint, zero discretionary constraint. | Constraint Equation
2026-04-02 | N-BU_CB7012 | N>>BU7012_TX6_TX8_HV, N>>BU7012_TX6_TX8_LV, N>>BU7012_TX7_TX8_HV, N>>BU7012_TX7_TX8_LV | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - Added new constraint set for Buronga 220kV CB7012 | Constraint Equation
2026-04-02 | C-Q_BRDDBES1_005, C-Q_BRDDBES1_040, C-Q_BRDDBES1_091, C-Q_BRDDBES1_181 | C_Q_BRDDBES1_005_G, C_Q_BRDDBES1_005_L, C_Q_BRDDBES_G_001INV, C_Q_BRDDBES_L_001INV, Q_STR_BRDDBES1_001_I, C_Q_BRDDBES1_040_G, C_Q_BRDDBES1_040_L, C_Q_BRDDBES_G_050INV, C_Q_BRDDBES_L_050INV, Q_STR_BRDDBES1_050_I, C_Q_BRDDBES1_091_G, C_Q_BRDDBES1_091_L, C_Q_BRDDBES1_181_G, C_Q_BRDDBES1_181_L, C_Q_BRDDBES_G_100INV, C_Q_BRDDBES_L_100INV, Q_STR_BRDDBES1_100_I | New | Qld Generation | ​QLD - Add inverter requirement to Broadsound BESS commissioning constraints
2026-04-02 |  | Q>NIL_BCCP_CLWU, Q>NIL_BCCP_LCCP, Q>NIL_BCRG_BCCP, Q>NIL_BCRG_CLWU, Q>NIL_BCST_BCST, Q>NIL_CLWU_BCRG, Q>NIL_CLWU_LCCP, Q>NIL_CPWU_CLWU, Q>NIL_LCCP_BCCP, Q>NIL_LCCP_CLWU, Q>NIL_PWSP_WOSP, Q>NIL_RGLC_BCCP, Q>NIL_RGLC_CLWU, Q>NIL_WOPW_WOSP | Modified | Qld Generation | ​QLD - Add Broadsound BESS, Stanwell BESS. Woolooga BESS, Bluegrass BESS, Wambo WF2 | Constraint Equation
2026-04-01 | V-VBB_BESS_MSL_A, V-VBB_BESS_MSL_B | V_VBB_A_NOGEN, V_VBB_CHARGE, V_VBB_DISCHARGE, V_VBB_B_NOGEN, V_VBB_NOCHARGE | Modified | Victorian Generation | ​VIC - Update MSL direction constraints for VBB for end of SIPS period (Nov-Mar) | Constraint Equation
2026-04-01 | Q-X_H35SM_TX_TWO | Q-CLRSF_MVAR, Q-HAMSF_MVAR, Q-SMSF_MVAR, Q-WHTSF_MVAR, Q_CLARESF1_ZERO, Q_HAMISF1_ZERO, Q_SMCSF1_ZERO, Q_STR_CLRSF_I, Q_STR_HAMSF_I, Q_STR_SMSF_I, Q_STR_WHTSF_I, Q_WHITSF1_ZERO | New Set(s) | Qld Generation | ​QLD - New multiple outage set for 2 transformers OS at H35 Strathmore | Constraint Equation
2026-03-31 | N-SOWL_79, N-WLMP_72 | N>72_94T_7J, N>72_998_79, N>79_94T_72, N>79_998_72, N>>79_944_72, N>>79_949_72, N>>79_94X_72 | New | NSW Generation | ​NSW - Updated constraints for Uungala cut into line 79 | Constraint Equation
2026-03-31 | N-CRDMP-9ML, N-X_9ML_94X | N>9ML_947_94T, N>9ML_94B_NIL, N>9ML_94T, N>9ML_94T_75, N>9ML_94T_7J, N>9ML_94T_947, N_CRWF1_69_DAY, N>9ML+94X_947_94T, N>9ML+94X_94T, N>9ML+94X_94T_75, N>9ML+94X_94T_7J, N>9ML+94X_94T_947 | Modified | NSW Generation | ​NSW - Updated constraints for Uungala cut into line 79 | Constraint Equation
2026-03-31 | N-CRDMP-9ML, N-X_9ML_94X | N>9ML+94X_94T_7J, N>9ML_94T_7J | New | NSW Generation | ​NSW - Updated constraints for Uungala cut into line 79 | Constraint Equation
2026-03-31 | N-NIL | F_Q++NIL_R1, F_Q++NIL_R5, F_Q++NIL_R6, F_Q++NIL_R60, I_6F_NS_150, I_6F_SN_150, N::N_NIL_63, N::Q_NIL_KC, N::Q_NIL_LDMU, N::Q_NIL_LDTW, N::Q_NIL_TNT, N::V_NIL_BWSW, N::V_NIL_MSDD, N::V_NIL_UTMS, N:V_NIL_BWRG, N:V_NIL_BYYS, N>>NIL_01_62, N>>NIL_060, N>>NIL_060_051, N>>NIL_07, N>>NIL_1, N>>NIL_16_18, N>>NIL_16_39, N>>NIL_16_3W, N>>NIL_16_76, N>>NIL_16_8, N>>NIL_18_16, N>>NIL_18_4_N, N>>NIL_18_4_S, N>>NIL_18_5_N, N>>NIL_18_5_S, N>>NIL_18_61, N>>NIL_18_8, N>>NIL_1_3, N>>NIL_1_3_LSC1_ON, N>>NIL_1_6X, N>>NIL_1_6X_LSC1_ON, N>>NIL_1_7, N>>NIL_1_7_LSC1_ON, N>>NIL_23_22, N>>NIL_23_25, N>>NIL_3, N>>NIL_33_34, N>>NIL_39, N>>NIL_39_11, N>>NIL_39_17, N>>NIL_3G, N>>NIL_3L, N>>NIL_3L_18_N, N>>NIL_3L_3J_N, N>>NIL_3L_3P_N, N>>NIL_3L_3W, N>>NIL_3L_5_N, N>>NIL_3_7, N>>NIL_3_7_LSC1_ON, N>>NIL_3_7_LSC2_ON, N>>NIL_4, N>>NIL_4_18_S, N>>NIL_4_5_N, N>>NIL_4_5_S, N>>NIL_4_61_N, N>>NIL_4_61_S, N>>NIL_4_6_S, N>>NIL_5_18_N, N>>NIL_5_18_S, N>>NIL_5_3J_N, N>>NIL_5_3L_N, N>>NIL_5_3P_N, N>>NIL_5_3W, N>>NIL_5_4_S, N>>NIL_5_61_N, N>>NIL_5_61_S, N>>NIL_5_6_S, N>>NIL_61_18, N>>NIL_61_3L, N>>NIL_61_3W, N>>NIL_61_4, N>>NIL_61_5, N>>NIL_64_65, N>>NIL_6M_66, N>>NIL_6X, N>>NIL_6X_1, N>>NIL_6X_3, N>>NIL_6X_9, N>>NIL_70_71, N>>NIL_76_77, N>>NIL_77_76, N>>NIL_7_1, N>>NIL_7_1_LSC1_ON, N>>NIL_7_3, N>>NIL_7_3_LSC1_ON, N>>NIL_7_3_LSC2_ON, N>>NIL_81, N>>NIL_81_31, N>>NIL_81_82_CLOSE, N>>NIL_81_82_OPEN, N>>NIL_82, N>>NIL_82_81_CLOSE, N>>NIL_82_81_OPEN, N>>NIL_83_84_CLOSE, N>>NIL_83_84_OPEN, N>>NIL_84_83_CLOSE, N>>NIL_84_83_OPEN, N>>NIL_84_88_S, N>>NIL_85_86_S, N>>NIL_86_85_N, N>>NIL_86_85_S, N>>NIL_86_8U_S, N>>NIL_86_N, N>>NIL_86_NIL_S, N>>NIL_88_84_N, N>>NIL_88_84_S, N>>NIL_8E_8C_S, N>>NIL_8U_86_S, N>>NIL_8_16, N>>NIL_8_18, N>>NIL_8_3W, N>>NIL_964_84_S, N>>NIL_964_88_S, N>>NIL_966/1_87_S, N>>NIL_967_89_S, N>>NIL_990, N>>NIL_991, N>>NIL_994, N>>NIL_996_62, N>>NIL_9W2_9W8, N>>NIL_9_18_N, N>>NIL_9_18_S, N>>NIL_9_6, N>>NIL_DPTX_HV, N>>NIL_DPTX_LV, N>>NIL_X3_060, N>>V_NIL_65, N>>V_NIL_65_66, N>>V_NIL_65_LTWG, N>>V_NIL_66, N>>V_NIL_66_65, N>>V_NIL_66_LTWG, N>N-NIL_JUTX_LV, N>N-NIL_TE_LOAD, N>NIL_051, N>NIL_64_S, N>NIL_6M_N, N>NIL_8J_8C, N>NIL_901, N>NIL_945_947, N>NIL_947_94T, N>NIL_94B, N>NIL_94B_94M, N>NIL_94B_9ML, N>NIL_94K_1, N>NIL_94M, N>NIL_94T, N>NIL_94T_75, N>NIL_94T_7J, N>NIL_94T_947, N>NIL_966/1, N>NIL_967_89, N>NIL_969, N>NIL_96C_87, N>NIL_973, N>NIL_977_976, N>NIL_983_987, N>NIL_993, N>NIL_997/1_3G, N>NIL_997/2_3G, N>NIL_997/2_99A, N>NIL_997_99A, N>NIL_998, N>NIL_998_18, N>NIL_999, N>NIL_999_9GL, N>NIL_999_S, N>NIL_99F, N>NIL_99U, N>NIL_9GL, N>NIL_9GM, N>NIL_9J5/1, N>NIL_9J5/2, N>NIL_9J6, N>NIL_9ML, N>NIL_9R1, N>NIL_9R4, N>NIL_9R4_62, N>NIL_9R4_99A, N>NIL_9R4_9R3, N>NIL_9R5, N>NIL_9R5_9R6, N>NIL_9R6, N>NIL_9R6_991, N>NIL_9R6_9R5, N>NIL_9U3, N>NIL_9U9_9U8, N>NIL_BHTX_HV, N>NIL_BHTX_LV, N>NIL_CLDP, N>NIL_COTX_LV, N>NIL_LSDU, N>NIL_MBDU, N>NIL_PKTX_LV, N>NIL_X2, N>NIL_YSTX_LV, N>Q-NIL_757_758, NQTE_ROC, N^^N_NIL_1, N^^N_NIL_WGLT, N^^N_NIL_X5_BEKG, N^^N_NIL_X5_BESH, N^^Q_NIL_CPP_3, N^^Q_NIL_CPP_4, N^^Q_NIL_KPP_1, N^^Q_NIL_MAXGEN, N^^Q_NIL_MPP_1, N^^Q_NIL_MPP_2, N^^Q_NIL_TNPS1, N_NIL_TE_A, N_NIL_TE_B, N_WDR_NO_SCADA, V>>N_NIL_65, V>>N_NIL_65_051, V>>N_NIL_65_66, V>>N_NIL_66, V>>N_NIL_66_051, V>>N_NIL_66_65 | Modified | NSW Generation | ​NSW - Updated constraints for Uungala cut into line 79 | Constraint Equation
2026-03-31 | N-NIL | N>NIL_94T_7J | New | NSW Generation | ​NSW - Updated constraints for Uungala cut into line 79 | Constraint Equation
2026-03-31 |  | N>72_94T_79, N>9ML+94X_94T_79, N>9ML_94T_79, N>NIL_94T_79 | Marked for Archival | NSW Generation | ​NSW - Updated constraints for Uungala cut into line 79 | Constraint Equation
2026-03-30 |  | V_NWVIC_GFT1_750 | Modified | Victorian Generation | ​VIC - Updated NW VIC 750 MW limit to include Bulgana BESS | Constraint Equation
2026-03-30 | N-BWWO_5A4, N-MPWO_5A5 | N::Q_BWMP_KC, N::Q_BWMP_LDMU, N::Q_BWMP_LDTW, N::Q_BWMP_TNT | Modified | NSW Generation | ​NSW - Update 5A4 and 5A5 outage set as per OM 521 19/03/2026 | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines